Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Joseph W. Broughton, P.E., on behalf of Burgess Engineering, Inc. on March 14, 2007. The following is a summary of the agency’s disposition of the petition:

The Commission determined that sections 13-415.1.ABC.1.1 and 13-415.ABC.1.2, Florida Building Code, Building Volume (2004, as amended 12/05 and 12/06), do not require the installation of occupancy sensors to turn off the lighting within 30 minutes of the occupants leaving the various rooms and offices in a proposed series of bank buildings containing less than 5,000 square feet each.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.