Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT The Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Cindy Poltrock, on behalf of CSP Roof Consultants (Petitioner) on August 8, 2007. The following is a summary of the agency's disposition of the petition:

It was assigned the number DCA06-DEC-270. The Commission determined that section 507.2.2, Florida Building Code, Existing Building Volume (2004, as amended 12/05 and 12/06) requires that the wood roof deck attachments be checked when 50% of the roof or of an area of roof is removed and that additional fastening be installed if the roof deck attachments are found to be deficient.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.