Notice of Change/Withdrawal

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal

RULE NO: RULE TITLE
69A-60.006: Manufactured and Prototype Buildings

NOTICE OF CHANGE

Notice is hereby given that the following changes have been made to the proposed rule in accordance with subparagraph 120.54(3)(d)1., F.S., published in Vol. 33 No. 9, March 2, 2007 issue of the Florida Administrative Weekly.

69A-60.006 Manufactured and Prototype Buildings

(1) through (3) No change.

(4)(a) The Manufacturer’s Modular Data Plate shall state that the manufactured building is, or is not, in compliance with Chapter 633, F.S., and the rules of the Department.

(b) If the Manufacturer’s Modular Data Plate indicates that the building is in compliance with Chapter 633, F.S., and the rules of the Department, the local fire official shall recognize and approve such manufactured building, subject to acceptable performance testing of life safety systems in accordance with Chapter 69A-60 F.A.C., and site conditions in accordance with Section 18.01, NFPA 1, adopted by reference in Rule 69A-3.012, F.A.C.

(5) No change.