Notice of Variances and Waivers

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal

RULE NO: RULE TITLE
69A-3.012: Standards of the National Fire Protection Association and Other Standards Adopted

NOTICE IS HEREBY GIVEN THAT on August 7, 2007, the Department of Financial Services, Division of State Fire Marshal, received a petition for a waiver or variance of subsection 69A-3.012(1), F.A.C., that adopts Section 2.3.2.3.3 of NFPA 30, filed by Robert D. Fingar, Esq, on behalf of Combs Oil Company, with respect to the following boiler requirement: Where a secondary containment tank is used to provide spill control, the tank shall not exceed 12,000 gal (45,420 L).

A copy of the Petition for Variance or Waiver may be obtained by contacting Lesley Mendelson, Assistant General Counsel at (850)413-3640.