Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO: RULE TITLE
62-761.500: Performance Standards for Category C Storage Tank Systems

NOTICE IS HEREBY GIVEN THAT on July 31, 2007, the Department of Environmental Protection, Storage Tank Regulation Section, received a petition for a temporary waiver under Section 120.542, Florida Statutes, from the requirement that underground piping installed after June 30, 1992 have secondary containment under subparagraph 62-761.500(8)(e)1., Florida Administrative Code. Florida Citrus Center, Inc (Petitioner), requests to be allowed to operate failed double-walled piping until October 31, 2008, and perform pressure tests every 30 days to demonstrate the piping system is tight. The petition has been assigned OGC # 07-1436.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Storage Tank Regulation Section, Mail Station 4525, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, Attn: John Svec, telephone (850)245-8845.