62-699.200 Definitions.

For the purposes of this chapter, the following words, phrases, or terms shall have the following meaning.

(1) “APPROVED COUNTY HEALTH DEPARTMENT” means Broward, Hillsborough, Lee, Manatee, Miami-Dade, Palm Beach, Polk, Sarasota, or Volusia County Health Department pursuant to Section 403.862(1)(c), F.S.

(2) “AUtomatic Control SYSTEM” means an on-site computerized system with sensors and programs that can adjust and control domestic wastewater or water treatment plant equipment and processes over the normal range of expected operating conditions without operator assistance.

(3) “Community Water System” or “CWS” means a public water system that serves at least 15 service connections used by year-round residents or regularly serves at least 25 year-round residents.

(4) “CONSECUTIVE SYSTEM” means a public water system that receives some or all of its finished water from one or more wholesale systems. Delivery may be through a direct connection or through the distribution system of one or more consecutive systems.

(5) “DELEGATED LOCAL PROGRAM” means Broward County (collection systems only), Miami-Dade County, Hillsborough County, Palm Beach County, or Sarasota County pursuant to Section 403.182, F.S.

(6) “Department” means the Department of Environmental Protection, any of the approved county health departments, or any of the delegated local programs.

(7) “Domestic Wastewater Treatment Plant” means any plant or other works used for the purpose of treating, stabilizing, or holding domestic wastes.

(8) “ELECTRONIC CONTROL SYSTEM” means a comprehensive automatic control system plus electronic surveillance system along with capability for manual adjustment and control of domestic wastewater or water treatment plant equipment and processes via a computerized system at a central or off-site location that is staffed by a Class C or higher treatment plant operator 24 hours per day and seven days per week.

(9) “Electronic Surveillance SYSTEM” means a system that monitors operation of a domestic wastewater or water treatment plant and transmits the results of such monitoring by electronic means to a central or off-site location. The use of a telephone for communication between the lead/chief operator and plant personnel is not considered electronic surveillance.

(10) “Lead OR Chief Operator” means the licensed operator who is in responsible charge of a domestic wastewater or water treatment plant or water distribution system and whose responsibilities include supervising all other persons who are employed to operate the plant or distribution system, performing on-site plant or distribution system operation, performing electronic control system operation, and making decisions that relate to the daily operational activities of the plant or distribution system and that directly impact the quality or quantity of effluent, reclaimed water, or drinking water.

(11) “Non-Community Water System” means a public water system that is not a community water system. A non-community water system is either a transient non-community water system or a non-transient non-community water system.

(12) “NON-TRANSIENT NON-COMMUNITY WATER SYSTEM” or “NTNCWS” means a public water system that is not a community water system and that regularly serves at least 25 of the same persons over 6 months per year.

(13) “ON-SITE,” when referring to operating, staffing, visiting, or checking a domestic wastewater or water treatment plant, means at the location of the plant; and when referring to operating or staffing a water distribution system, means at the location of the distribution system pipe, pumps, or tanks where operation or maintenance activities that may affect water quality or quantity are taking place.

(14) “OPERATOR” means any person who is in on-site charge of the actual operation, supervision, and maintenance of a domestic wastewater or water treatment plant or water distribution system and includes the person in on-site charge of a shift or period of operation during any part of the day. Operator also means any person operating an electronic control system. Such persons shall be licensed in accordance with Chapter 62-602, F.A.C.

(15) “Permittee” means the person or entity to which a permit for a domestic wastewater facility is issued by the Department.

(16) “PUBLIC WATER SYSTEM” or “PWS” means a system for the provision to the public of water for human consumption through pipes or other constructed conveyances if such system has at least 15 service connections or regularly serves an average of at least 25 individuals daily at least 60 days out of the year. A PWS includes: any collection, treatment, storage, or distribution facilities under control of the operator of such system and used primarily in connection with such system; and any collection or pretreatment storage facilities not under control of the operator of such system but used primarily in connection with such system. A PWS does not include any special irrigation district. A PWS is either a community water system or a non-community water system.

(17) “RESIDUALS MANAGEMENT FACILITY” means a domestic wastewater treatment plant, such as a composting or blending facility, that treats residuals from other domestic wastewater treatment plants, residuals management facilities, or septage management facilities for the purpose of meeting the requirements of Chapter 62-640, F.A.C., before use or land application. Residuals management facilities may also treat domestic septage and combinations of residuals, domestic septage, food establishment sludges, wastewater removed from portable toilets, and wastes removed from holding tanks associated with boats, marinas, or on-site sewage treatment and disposal systems, before use or land application.

(18) “Supplier of Water” means any person who owns or operates a public water system (PWS). This does not include the licensed operator unless the licensed operator is also the owner of the PWS.

(19) “Transient Non-Community Water System” or “TWS” means a non-community water system that does not regularly serve at least 25 of the same persons over six months per year.

(20) “Visit” means an on-site examination of a domestic wastewater or water treatment plant to ensure that equipment is functioning properly, to ensure that chemical supplies are sufficient, and to record the quantity or quality of wastewater or drinking water being treated and other relevant information.

(21) “Water Distribution System” means those components of a regulated public water system used in conveying water for human consumption from the water treatment plant to the consumer’s property, including pipes, tanks, pumps, and other constructed conveyances.

(22) “Water Treatment Plant” means those components of a public water system used in collection, treatment, and storage of water for human consumption, whether or not such components are under the control of the operator of such system.

(23) “WHOLESALE SYSTEM” means a public water system that treats source water as necessary to produce finished water and then delivers some or all of that finished water to another public water system. Delivery may be through a direct connection or through the distribution system of one or more consecutive systems.

Specific Authority 403.869, 403.88(4) FS. Law Implemented 403.182, 403.852, 403.862, 403.866 FS. History–New 10-15-07.