Notice of Declaratory Statement

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal

NOTICE IS HEREBY GIVEN THAT the Department of Financial Services, Division of State Fire Marshal has issued an order disposing of the petition for declaratory statement filed by Lily Obrenovic on October 25, 2007. The following is a summary of the agency’s disposition of the petition:

The subject of the Petition is whether Rule Chapter 69A-57, Florida Administrative Code, requires the installation of a fire alarm system with three pull stations and monitoring in an adult family care home. The Declaratory Statement concludes that a fire alarm system with three pull stations and monitoring is not required by Rule Chapter 69A-57, Florida Administrative Code, in an adult family care home.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Lesley Mendelson, Assistant General Counsel, 200 East Gaines Street, Tallahassee, FL 32399-0340, or by e-mailing your request to Lesley.Mendelson@fldfs.com.