Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Mr. Kelly Carman, on behalf of the Leo Daly Company (Petitioner) on June 22, 2007. The following is a summary of the agency’s disposition of the petition:

The Commission determined that section 13-415.1.ABC.1.3, paragraph 3 of the Florida Building Code, Building Volume (2004, as amended 12/05, 12/06 and 7/07) requires the master lighting switch at the main entry to motel and hotel guest rooms to include the bathroom lights.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.