Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by John Leedy, P.E., on behalf of Leedy Electronic Corp. on July 17, 2007. The following is a summary of the agency’s disposition of the petition:

The Commission determined that on a commercial project valued at $35,000 in which the Petitioner is installing an electrical service with 600 ampere/480 volt capacity, project plans must be certified by a Professional Engineer pursuant to section 105.3.1.2, Florida Building Code, Building Volume (2004 as amended 12/05 and 12/06) and section 471.003 (2), Florida Statutes (2006).

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.