62-770.900 Forms.

The forms used by the Department or by the FDEP local program in the Petroleum Contamination Cleanup Program are adopted and incorporated by reference in this rule. Each form is listed by rule number, which is also the form number, and with the subject, title, and effective date. Copies of forms may be obtained by writing to the Department of Environmental Protection, Bureau of Petroleum Storage Systems, MS 4575, 2600 Blair Stone Road, Tallahassee, FL 32399-2400.

(1) Form 62-770.900(1), Free Product Removal Notification Form for Petroleum or Petroleum Products (effective April 17, 2005).

(2) Form 62-770.900(2), Chain of Custody Record (effective April 17, 2005).

(3) Form 62-770.900(3), Initial Notice of Contamination Beyond Property Boundaries (effective December 27, 2007).

(4) Form 62-770.900(4), Remedial Action Plan Summary (effective September 23, 1997).

(5) Form 62-770.900(5), Active Remediation Annual Status Report Summary (effective September 23, 1997).

Specific Authority 376.303, 376.30702, 376.3071 FS. Law Implemented 376.30702, 376.3071 FS. History–New 2-21-90, Formerly 17-770.900, Amended 9-23-97, 8-5-99, 4-17-05, 12-27-07.

TABLE A

Petroleum Products’ Contaminants of Concern

Acenaphthene

Acenaphthylene

Anthracene

Arsenic

Benzene

Benzo(a)anthracene

Benzo(a)pyrene

Benzo(b)fluoranthene

Benzo(g,h,i)perylene

Benzo(k)fluoranthene

Cadmium

Chloride

Chromium

Chrysene

Dibenz(a,h)anthracene

Dibromoethane, 1,2- (EDB)

Dichloroethane, 1,2-

Ethylbenzene

Fluoranthene

Fluorene

Indeno(1,2,3-cd)pyrene

Lead

Methyl tert-butyl ether (MTBE)

Methylnaphthalene, 1-

Methylnaphthalene, 2-

Naphthalene

Phenanthrene

Pyrene

Sulfate

Toluene

Total Dissolved Solids (TDS)

TRPHs

Xylenes, total

| TABLE B |
| --- |
| For Gasoline and Kerosene Analytical Groups |
| Contaminants of Concern | Groundwater and Surface Water | Soil and Sediment |
| Benzene, Ethylbenzene, Toluene, total Xylenes, and MTBE | 602, 624, 8021, or 8260 | 8021 or 8260 |
| 1methylnaphthalene, 2methylnaphthalene, and the 16 method-listed PAHs included in Table A | 610, 625, 8100, 8270, or 8310 | 8100, 8270, or 8310 |
| 1,2-dichloroethane and other listed Priority Pollutant Volatile Organic Halocarbons | 601, 624, 8021, or 8260 | NOT REQUIRED |
| 1,2-dibromoethane (EDB) | 601 with electron capture detector substituted for electrolytic conductivity detector and 2-column confirmation, or 504 or 8011 | NOT REQUIRED |
| Total Lead | 200.7, 200.8, 200.9, 239.2, 6010, 6020, or 7421 | NOT REQUIRED |
| TRPHs | FL-PRO | FL-PRO |
| NOTE 1: All methods listed (except for FL-PRO) are USEPA methods and the detection limits shall meet the specified cleanup target levels. |
| NOTE 2: Appropriate sample preparation and cleanup methods (e.g., extraction, digestion) shall be performed prior to analysis. |
| NOTE 3: Equivalent methods may be used if approved through protocols described in Chapter 62-160, F.A.C. |

| TABLE C For used oil, for identified products not listed in the Gasoline or Kerosene Analytical Groups, and for products for which the specific identity is unknown |
| --- |
| Contaminants of Concern | Groundwater and Surface Water | Soil and Sediment |  |
| Total Arsenic | 200.7, 200.8, 200.9, 206.2, 206.3, 6010, 6020, 7060, or 7061 | 6010, 6020, 7060, or 7061 |  |
| Total Cadmium | [for groundwater, and Class II and Class III (marine) surface water] 200.7, 200.8, 200.9, 213.1, 213.2, 6010, 6020, 7130, or 7131 [for Class I and Class III (fresh) surface water] 213.2 or 7131 | 6010, 6020, 7130, or 7131 |  |
| Total Chromium | 200.7, 200.8, 200.9, 218.2, 6010, 6020, or 7191 | 6010, 6020, 7190, or 7191 |  |
| Total Lead | 200.7, 200.8, 200.9, 239.2, 6010, 6020, or 7421 | 6010, 6020, or 7421 |  |
| Priority Pollutant Volatile Organics | 624 or 8260 | 8260 |  |
| Priority Pollutant Extractable Organics | 625 or 8270 | 8270 |  |
| Non-priority Pollutant Organics (with GC/MS peaks greater than 10 ug/L) | 624 or 8260, and 625 or 8270 601, 624, 8021, or 8260 | NOT REQUIRED 8021 or 8260 |  |
| Priority Pollutant Volatile Organic | 610, 625, 8100, 8270, or 8310 | 8100, 8270, or 8310 |  |
| Halocarbons 1methylnaphthalene, 2methylnaphthalene, and the 16 method-listed PAHs included in Table A |  |  |  |
| Polychlorinated Biphenyls | 8082 or 8270 | 8082 or 8270 |  |
| TRPHs | FL-PRO | FL-PRO |  |
| Toxicity Characteristic Leaching Procedure (TCLP) and the subsequent analyses for metals shall be performed on soil samples to determine if the soil is a hazardous waste and to evaluate leaching potential when the total concentration of any contaminant of concern in the samples meets the following conditions (the applicable analytical method shall be used following sample preparation by USEPA Method 1311 and any appropriate digestion procedure): |
| If: | Exceeds: | Use: | Test Criteria: |
| Total Arsenic | 100 mg/kg | 6010, 6020, 7060, or 7061 | 5.0 mg/L |
| Total Cadmium | 20 mg/kg | 6010, 6020, 7130, or 7131 | 1.0 mg/L |
| Total Chromium | 100 mg/kg | 6010, 6020, or 7191 | 5.0 mg/L |
| Total Lead | 100 mg/kg | 7421 | 5.0 mg/L |
| NOTE 1: All methods listed (except for FL-PRO) are USEPA methods and the detection limits shall meet the specified cleanup target levels. |
| NOTE 2: Appropriate sample preparation and cleanup methods (e.g., extraction, digestion) shall be performed prior to analysis. |
| NOTE 3: Equivalent methods may be used if approved through protocols described in Chapter 62-160, F.A.C. |

| TABLE D |
| --- |
| For petroleum as defined in Section 376.301, F.S. |
| Contaminants of Concern | Groundwater and Surface Water | Soil and Sediment |
| Benzene, Ethylbenzene, Toluene, total Xylenes, and MTBE | 602, 624, 8021, or 8260 | 8021 or 8260 |
| 1methylnaphthalene, 2methylnaphthalene, and the 16 method-listed PAHs included in Table A | 610, 625, 8100, 8270, or 8310 | 8100, 8270, or 8310 |
| 1,2-dichloroethane and other listed Priority Pollutant Volatile Organic Halocarbons | 601, 624, 8021, or 8260 | 8021 or 8260 |
| 1,2-dibromoethane (EDB) | 601 with electron capture detector substituted for electrolytic conductivity detector and 2column confirmation, or 504 or 8011 | NOT REQUIRED |
| Total Arsenic | 200.7, 200.8, 200.9, 206.2, 206.3, 6010, 6020, 7060, or 7061 | 6010, 6020, 7060, or 7061 |
| Total Cadmium | [for groundwater, and Class II and Class III (marine) surface water] 200.7, 200.8, 200.9, 213.1, 213.2, 6010, 6020, 7130, or 7131 [for Class I and Class III (fresh) surface water] 213.2 or 7131 | 6010, 6020, 7130, or 7131 |
| Total Chromium | 200.7, 200.8, 200.9, 218.2, 6010, 6020, or 7191 | 6010, 6020, 7190, or 7191 |
| Total Lead | 200.7, 200.8, 200.9, 239.2, 6010, 6020, or 7421 | 6010, 6020, or 7421 |
| TRPHs | FL-PRO | FL-PRO |
| Chloride | 300.0, 325.1, 325.2, 325.3, 9056, 9250, 9251, or 9253 | NOT REQUIRED |
| Sulfate | 375.1, 375.3, 375.4, 9035, 9038, or 9056 | NOT REQUIRED |
| Total Dissolved Solids (TDS) | 160.1 | NOT APPLICABLE |
| NOTE 1: All methods listed (except for FL-PRO) are USEPA methods and the detection limits shall meet the specified cleanup target levels. |
| NOTE 2: Appropriate sample preparation and cleanup methods (e.g., extraction, digestion) shall be performed prior to analysis. |
| NOTE 3: Equivalent methods may be used if approved through protocols described in Chapter 62-160, F.A.C. |