Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO: RULE TITLE
62-762.501: Performance Standards for Category-C Storage Tank Systems

NOTICE IS HEREBY GIVEN THAT on February 14, 2008, the Department of Environmental Protection has issued an order.

Petitioner withdrew the petition for variance under Section 120.542, F.S., received from Motiva Enterprises LLC on January 22, 2008. The notice of receipt of this petition was published in the F.A.W., on February 8, 2008. The petition requested a variance from the requirement to install an impervious dike field area around a new aboveground field-erected tank under subparagraph 62-762.501(2)(c)1., Florida Administrative Code, and requested to install an overfill retention and shell monitoring system on new tank #3 at their Tampa Terminal. On February 14, 2008, Petitioner withdrew its petition for variance and requested an alternate procedure pursuant to subsection 62-762.851(1), F.A.C.

A copy of the Order may be obtained by contacting: John Svec, Department of Environmental Protection, MS 4525, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, (850)245-8845, e-mail: john.svec@dep.state.fl.us.