Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

The Bureau of Elevator Safety hereby gives notice that it Issued an Order Granting Emergency Variance Request on June 23, 2006 in response to a petition filed on May 30, 2006, by Lee Rigby of Vertical Assessment Associates regarding Dunes IV in Naples, Florida (VW 2006-149) and advertised in Vol. 32, No. 24 of the F.A.W. The petition sought a waiver from Rule 2.7.4.1, A.S.M.E. A17.1, 2000 Edition, as adopted by the 2004 Florida Building Code and requested to have less than the required 84 inch clearance in the machine room. The petition was granted as the clearance provided was 80 inches and the owner agreed to post sufficient warnings of the reduced clearance.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.