Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Mr. Mark S. Speckin., on behalf of SPX Cooling Technologies, Inc. on September 12, 2007. The following is a summary of the agency’s disposition of the petition:

It was assigned the number DCA07-DEC-182. The Commission determined that the Florida Building Code (2007 as amended) requires the structure and anchorage of exterior mounted cooling towers that are subject to the forces of wind to be designed to withstand the applied wind force; and the wind design date for those towers must be included within the construction documents submitted to the local authority having jurisdiction.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.