Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Karen Wallace Oliver, on behalf of Wallen Service Corp., (Petitioner). on January 8, 2008. The following is a summary of the agency’s disposition of the petition: It was assigned the number DCA08-DEC-004.

The Commission determined that the Florida Building Code (2004 as amended) allows, but does not require, the use of the Air Conditioning Contractors of America (ACCA) Manual S in determining the capacity of residential heating and cooling equipment.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.