62-304.520 Indian River Lagoon TMDLs.

(1) Fecal Coliform TMDL for Crane Creek. The Total Maximum Daily Load is an annual median of 1.23 x 1011 colonies/day and is allocated as follows:

(a) The Wasteload Allocation for the Melbourne/Grant Street Wastewater Treatment Facility is 1.21 x 1010 colonies/day. The Wasteload Allocation is only allowed during the maximum five-day Mechanical Integrity Test period, as defined in the Department permit,

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require a 56 percent reduction at sources contributing to exceedances of the criteria,

(c) The Load Allocation for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require a 56 percent reduction at sources contributing to exceedances of the criteria,

(d) The Margin of Safety is implicit,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(2) Fecal Coliform TMDL for Eau Gallie River. The Total Maximum Daily Load for Fecal Coliforms for Eau Gallie River is 400 counts/100 ml and is allocated as follows:

(a) A Wasteload Allocation for wastewater point sources is not applicable,

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require an 81 percent reduction at sources contributing to exceedances of the criteria,

(c) The Load Allocation for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require an 81 percent reduction at sources contributing to exceedances of the criteria,

(d) The Margin of Safety is implicit,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background condition.

Specific Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 6-3-08.