Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Mr. Rubin Fabian Arroyo, on behalf of Arroyo Enterprises, Inc. (Petitioner) on April 3, 2008. The following is a summary of the agency’s disposition of the petition: It was assigned the number DCA08-DEC-108. The Commission determined that the Building Code, Residential Volume (2007) allows a glass roofed sunroom to be built partially enclosed, but requires wind-borne debris protection regardless of the condition of the existing openings of the attached home, because it is not being constructed under an existing roof.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.