40D-2.101 Content of Application.

In order to obtain a Water Use Permit, an applicant shall file with the District the appropriate form entitled “Water Use Permit Application” including the appropriate supplemental forms. The Application shall include the following information:

(1) Information sufficient to demonstrate that the water use meets the criteria and conditions established in Rule 40D-2.301, F.A.C.

(2) Information required on the appropriate Water Use Permit Application and supplemental forms LISTED IN Rule 40D-1.659, F.A.C., GROUND WATER (8)-(15), (21)-(25).

(3) For projects which require both a water use permit and a surface water management permit pursuant to District rules, the Applicant must demonstrate that a completed surface water management permit application has been submitted. If the District determines that a permit application involves an area where the Water Use Permit may not be granted because of water resource problems, the requirement for a complete surface water management permit application may be waived by the District.

(4) The District may require additional information deemed necessary to protect the water resources and existing users.

Specific Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.216, 373.229 FS. History–Readopted 10-5-74, Amended 10-24-76, 1-6-82, 2-14-82, Formerly 16J-2.06, Amended 10-1-89, 10-23-89, 2-10-93, 7-15-99, 1-1-03, 1-1-07, 11-25-07, 9-10-08.