61G15-33.005 Design of Communications Systems.

(1) Communications systems are utilized to convey voice and data. Items to be included in the design documents or analysis of these systems are: Human factors engineering, cabling requirements, installation requirements, performance requirements, backup power requirements, the interrelationship of the various systems and applicable standards and regulatory requirements.

(2) Electrical Engineering documents for communications systems shall, at a minimum, indicate the following:

(a) System riser diagram for each cabling system.

(b) Equipment legend.

(c) Cabling type and performance data of the transmission.

(d) Device type and locations.

(e) Backup power sources where applicable.

(f) Installation, identification and testing requirements.

(g) Characteristics and locations of surge protective devices.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.005, Amended 11-13-08.