61G15-33.008 Design of Grounding Systems.

(1) Grounding Systems are passive systems used to establish an electrical potential reference point in an electrical system for the proper dissipation of energy in case of abnormal or transient conditions.

(2) Electrical Engineering Documents for grounding systems shall indicate at a minimum the following:

(a) Type and location of grounding electrodes.

(b) Bonding requirements.

(c) Testing requirements.

(d) Conductor material type, size and protection requirements.

(e) Connections of separate grounding systems, bonded, and use requirements.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.008, Amended 11-13-08.