61G15-33.010 Certification of Electrical Systems of Public Interest.

(1) The Engineer of Record shall be required, as required by the Authority Having Jurisdiction, to demonstrate compliance.

(2) Verifications from Electrical Engineering Documents warranted by codes and ordinances shall include when applicable:

(a) Energy efficiency and conservation tabulations, statements or calculations.

(b) Lighting levels included in the design that show intrusion, trespass, dark sky, safety or that show/preserve natural habitat tendencies.

(c) Light /noise /product specifications that indicate conformance with community, county, or state standards, codes or ordinances.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.03 FS. History–New 11-13-08.