Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Mr. Chris Shepherd, on behalf of System Component Corporation, on April 30, 2008. The following is a summary of the agency’s disposition of the petition:

It was assigned the number DCA08-DEC-124. The Commission determined that roofing underlayments referenced in Section 201.2, item (c) of the Manual of Hurricane Mitigation Retrofits for Existing Site-Built Single Family Residential Structures, Version 2, adopted by reference in Rule 9B-3.0475, F.A.C., must comply with ASTM D 226, Type I or II, or its equivalent.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.