69A-60.005 Publications Referenced in NFPA 1, the Florida 2006 Edition, and NFPA 101, the Florida 2006 Edition, Added to the Florida Fire Prevention Code.

(1) For purposes of this rule chapter, the following definitions apply:

(a) ANSI means the American National Standards Institute.

(b) ASME means the American Society of Mechanical Engineers.

(c) ASTM means the American Society for Testing and Materials.

(d) BHMA means the Builders Hardware Manufacturers Association.

(e) ICC means the International Code Counsel, American National Standard Accessible and Usable Buildings and Facilities.

(f) UL means Underwriters Laboratories, Inc.

(2) The following publications are hereby adopted and incorporated by reference herein and added to the Florida Fire Prevention Code and shall take effect on the effective date of this rule:

| NFPA 10, 2002 edition, | Standard for Portable Fire Extinguishers |
| --- | --- |
| NFPA 11, 2005 edition, | Standard for Low, Medium and High-Expansion Foam |
| NFPA 11A, 1999 edition, | Standard for Medium- and High-Expansion Foam Systems |
| NFPA 12, 2005 edition, | Standard on Carbon Dioxide Extinguishing Systems |
| NFPA 12A, 2004 edition, | Standard on Halon 1301 Fire Extinguishing Systems |
| NFPA 13, 2002 edition, | Standard for the Installation of Sprinkler Systems |
| NFPA 13D, 2002 edition, | Standard for the Installation of Sprinkler Systems in One- and Two-Family Dwellings and Manufactured Homes |
| NFPA 13R, 2002 edition, | Standard for the Installation of Sprinkler Systems in Residential Occupancies up to and Including Four Stories in Height |
| NFPA 14, 2003 edition, | Standard for the Installation of Standpipe, Private Hydrants, and Hose Systems |
| NFPA 15, 2001 edition, | Standard for Water Spray Fixed Systems for Fire Protection |
| NFPA 16, 2003 edition, | Standard for the Installation of Foam-Water Sprinkler and Foam-Water Spray Systems |
| NFPA 17, 2002 edition, | Standard for Dry Chemical Extinguishing Systems |
| NFPA 17A, 2002 edition, | Standard for Wet Chemical Extinguishing Systems |
| NFPA 20, 2003 edition, | Standard for the Installation of Stationary Pumps for Fire Protection |
| NFPA 22, 2003 edition, | Standard for Water Tanks for Private Fire Protection |
| NFPA 24, 2002 edition, | Standard for the Installation of Private Fire Service Mains and Their Appurtenances |
| NFPA 25, 2002 edition, | Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems |
| NFPA 30, 2003 edition, | Flammable and Combustible Liquids Code |
| NFPA 30A, 2003 edition, | Code for Motor Fuel Dispensing Facilities and Repair Charges |
| NFPA 30B, 2002 edition, | Code for the Manufacture and Storage of Aerosol Products |
| NFPA 31, 2001 edition, | Standard for the Installation of Oil-Burning Equipment |
| NFPA 32, 2004 edition, | Standard for Dry Cleaning Plants |
| NFPA 33, 2003 edition, | Standard for Spray Application Using Flammable and Combustible Materials |
| NFPA 34, 2003 edition, | Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids |
| NFPA 35, 2005 edition, | Standard for the Manufacture of Organic Coatings |
| NFPA 36, 2004 edition, | Standard for Solvent Extraction Plants |
| NFPA 37, 2002 edition, | Combustion Engines and Gas Turbines |
| NFPA 40, 2001 edition, | Standard for the Storage and Handling of Cellulose Nitrate Motion Picture Film |
| NFPA 45, 2004 edition, | Standard on Fire Protection for Laboratories Using Chemicals |
| NFPA 50, 2001 edition, | Standard for Bulk Oxygen Systems at Consumer Sites |
| NFPA 50B, 1999 edition, | Standard for Liquefied Hydrogen Systems at Consumer Sites |
| NFPA 51, 2002 edition, | Standard for the Design and Installation of Oxygen-Fuel Gas Systems for Welding, Cutting and Allied Processes |
| NFPA 51A, 2001 edition, | Standard for Acetylene Cylinder Charging Plants |
| NFPA 51B, 2003 edition, | Standard for Fire Prevention During Welding, Cutting and Other Hot Work |
| NFPA 52, 2006 edition, | Vehicular Fuel Systems Code |
| NFPA 53, 2004 edition, | Recommended Practice on Materials, Equipment, and Systems Used in Oxygen-Enriched Atmospheres |
| NFPA 54, 2006 edition, | National Fuel Gas Code |
| NFPA 55, 2005 edition, | Standard for the Storage, Use, and Handling of Compressed Gases and Cryogenic Fluids in Portable and Stationary Containers, Cylinders, and Tanks |
| NFPA 57, 2002 edition, | Liquefied Natural Gas (LNG) Vehicular Fuel Systems Code |
| NFPA 58, 2004 edition, | Liquefied Petroleum Gas Code |
| NFPA 59, 2004 edition, | Utility LP-Gas Plant Code |
| NFPA 59A, 2006 edition, | Standard for the Production, Storage, and Handling of Liquefied Natural Gas (LNG) |
| NFPA 61, 2002 edition, | Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Processing Facilities |
| NFPA 69, 2002 edition, | Standard on Explosion Prevention Systems |
| NFPA 70, 2005 edition, | National Electrical Code® |
| NFPA 72, 2002 edition, | National Fire Alarm Code® |
| NFPA 75, 2003 edition, | Protection of Information Technology Equipment |
| NFPA 80, 1999 edition, | Standard for Fire Doors and Fire Windows |
| NFPA 80A, 2007 edition, | Recommended Practice for Protection of Buildings from Exterior Fire Exposures |
| NFPA 82, 2004 edition, | Standard on Incinerators and Waste and Linen Handling Systems and Equipment |
| NFPA 86, 2003 edition, | Standard for Ovens and Furnaces |
| NFPA 86C, 1999 edition, | Standard for Industrial Furnaces Using a Special Processing Atmosphere |
| NFPA 86D, 1999 edition, | Standard for Industrial Furnaces Using Vacuum as an Atmosphere |
| NFPA 88A, 2002 edition, | Standard for Parking Structures |
| NFPA 90A, 2002 edition, | Standard for the Installation of Air-Conditioning and Ventilating Systems |
| NFPA 90B, 2006 edition, | Standard for the Installation of Warm Air Heating and Air-Conditioning Systems |
| NFPA 91, 2004 edition, | Standard for Exhaust Systems for Air Conveying of Vapors, Gases, Mists, and Noncombustible Particulate Solids |
| NFPA 92A, 2006 edition, | Standard for Smoke-Control Systems Utilizing Barriers and Pressure Differences |
| NFPA 92B, 2005 edition, | Standard for Smoke Management Systems in Malls, Atria, and Large Spaces |
| NFPA 96, 2004 edition, | Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations. Subdivision 10-2.3 of NFPA 96 applies prospectively only. Existing installations are permitted to remain in place subject to the approval of the authority having jurisdiction. |
| NFPA 99, 2005 edition, | Standard for Health Care Facilities |
| NFPA 99B, 2005 edition, | Standard for Hypobaric Facilities |
| NFPA 101A, 2004 edition, | Guide on Alternative Approaches to Life Safety |
| NFPA 101B, 2002 edition, | Standard on Means of Egress for Buildings and Structures |
| NFPA 102, 1995 edition, | Standard for Grandstands, Folding and Telescoping Seating, Tents and Membrane Structures |
| NFPA 105, 2003 edition, | Standard for the Installation of Smoke-Control Door Assemblies |
| NFPA 110, 2005 edition, | Standard for Emergency and Standby Power Systems |
| NFPA 111, 2005 edition, | Standard on Stored Electrical Energy Emergency and Standby Power Systems |
| NFPA 115, 2003 edition, | Standard for Laser Fire Protection |
| NFPA 120, 2004 edition, | Standard for Fire Prevention and Control in Coal Mines |
| NFPA 130, 2007 edition, | Standard for Fixed Guideway Transit and Passenger Rail Systems |
| NFPA 140, 2004 edition, | Standard on Motion Picture and Television Production Studio Soundstages and Approved Production Facilities |
| NFPA 150, 2007 edition, | Standard on Fire and Life Safety in Animal Housing Facilities |
| NFPA 160, 2006 edition, | Standard for Use of Flame Effects Before an Audience |
| NFPA 211, 2003 edition, | Standard for Chimneys, Fireplaces, Vents, and Solid Fuel-Burning Appliances |
| NFPA 214, 2005 edition, | Standard on Water Cooling Towers |
| NFPA 221, 2006 edition, | Standard for High Challenge Fire Walls, Fire Walls and Fire Barrier Walls |
| NFPA 232, 2000 edition, | Standard for the Protection of Records |
| NFPA 232A-1995 edition, | Guide for Fire Protection for Archives and Record Centers |
| NFPA 241, 2004 edition, | Standard for Safeguarding Construction, Alteration, and Demolition Operations |
| NFPA 251, 2006 edition, | Standard Methods of Tests of Fire Resistance of Building Construction and Materials |
| NFPA 252, 2003 edition, | Standard Methods of Fire Tests of Door Assemblies |
| NFPA 253, 2006 edition, | Standard Method of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source |
| NFPA 255, 2006 edition, | Standard Method of Test of Surface Burning Characteristics of Building Materials |
| NFPA 256, 2003 edition, | Standard Methods of Fire Tests of Roof Coverings |
| NFPA 257, 2000 edition, | Standard on Fire Test for Window and Glass Block Assemblies |
| NFPA 259, 2003 edition, | Standard Test Method for Potential Heat of Building Materials |
| NFPA 260, 2003 edition, | Standard Methods of Tests and Classification System for Cigarette Ignition Resistance of Components of Upholstered Furniture |
| NFPA 261, 2003 edition, | Standard Method of Test for Determining Resistance of Mock-Up Upholstered Furniture Material Assemblies to Ignition by Smoldering Cigarettes |
| NFPA 265, 2002 edition, | Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile Coverings on Full Height Panels and Walls |
| NFPA 267, 1998 edition, | Standard Method of Test for Fire Characteristics of Mattresses and Bedding Assemblies Exposed to Flaming Ignition Source |
| NFPA 286, 2006 edition, | Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth |
| NFPA 291, 2007 edition, | Recommended Practice for Fire Flow Testing and Marking of Hydrants |
| NFPA 303, 2006 edition, | Fire Protection Standard for Marinas and Boatyards |
| NFPA 307, 2006 edition, | Standard for the Construction and Fire Protection of Marine Terminals, Piers, and Wharves |
| NFPA 312, 2006 edition, | Standard for Fire Protection of Vessels During Construction, Repair, and Lay-Up |
| NFPA 318, 2006 edition, | Standard for the Protection of Semiconductor Fabrication Facilities |
| NFPA 385, 2000 edition, | Standard for Tank Vehicles for Flammable and Combustible Liquids |
| NFPA 407, 2001 edition, | Standard for Aircraft Fuel Servicing |
| NFPA 409, 2004 edition, | Standard on Aircraft Hangars |
| NFPA 410, 2004 edition, | Standard on Aircraft Maintenance |
| NFPA 415, 2002 edition, | Standard on Airport Terminal Buildings, Fueling Ramp Drainage, and Loading Walkways |
| NFPA 418, 2001 edition, | Standard for Heliports |
| NFPA 430, 2004 edition, | Code for the Storage of Liquid and Solid Oxidizers |
| NFPA 432, 2002 edition, | Code for the Storage of Organic Peroxide Formulations |
| NFPA 434, 2002 edition, | Code for the Storage of Pesticides |
| NFPA 484, 2006 edition, | Standard for Combustible Metals |
| NFPA 490, 2002 edition, | Code for the Storage of Ammonium Nitrate |
| NFPA 495, 2006 edition, | Explosive Materials Code |
| NFPA 498, 2006 edition, | Standard for Safe Havens and Interchange Lots for Vehicles Transporting Explosives |
| NFPA 501, 2005 edition, | Standard on Manufactured Housing |
| NFPA 501A, 2005 edition, | Standard for Fire Safety Criteria for Manufactured Home Installations, Sites, and Communities |
| NFPA 502, 2008 edition, | Standard for Road Tunnels, Bridges, and Other Limited Access Roadways |
| NFPA 505, 2006 edition, | Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance and Operation |
| NFPA 654, 2006 edition, | Standard for the Prevention of Fire and Dust Explosions from the Manufacturing, Processing, and Handling of Combustible Particulate Solids |
| NFPA 655, 2001 edition, | Standard for Prevention of Sulfur Fires and Explosions |
| NFPA 664, 2002 edition, | Standard for the Prevention of Fires and Explosions in Wood Processing and Woodworking Facilities |
| NFPA 701, 2004 edition, | Standard Methods of Fire Tests for Flame Propagation of Textiles and Films |
| NFPA 703, 2006 edition, | Standard for Fire Retardant-Treated Wood and Fire- Retardant Coatings for Building Materials |
| NFPA 704, 2001 edition, | Standard System for Identification of the Hazards of Materials for Emergency Response |
| NFPA 750, 2006 edition, | Standard on Water Mist Fire Protection Systems |
| NFPA 780, 2004 edition, | Standard for the Installation of Lightning Protection Systems |
| NFPA 820, 2003 edition, | Standard for Fire Protection in Wastewater Treatment and Collection Facilities |
| NFPA 850, 2005 edition, | Recommended Practice for Fire Protection for Electric Generating Plants and High Voltage Direct Current Converter Stations |
| NFPA 909, 2005 edition, | Standard for the Protection of Cultural Resource Properties – Museums, Libraries, and Places of Worship |
| NFPA 1122, 2002 edition, | Code for Model Rocketry |
| NFPA 1123, 2006 edition, | Code for Fireworks Display |
| NFPA 1124, 2006 edition, | Code for the Manufacture, Transportation, Storage and Retail Sales of Fireworks, and Pyrotechnic Articles |
| NFPA 1125, 2001 edition, | Code for the Manufacture of Model Rocket and High Power Rocket Motors |
| NFPA 1126, 2006 edition, | Standard for the Use of Pyrotechnics before a Proximate Audience |
| NFPA 1127, 2002 edition, | Code for High Powered Rocketry |
| NFPA 1142, 2001 edition, | Standard on Water Supplies for Suburban and Rural Fire Fighting |
| NFPA 1194, 2005 edition, | Standard for Recreational Vehicle Parks and Campgrounds |
| NFPA 1221, 2007 edition, | Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems |
| NFPA 1561, 2005 edition, | Standard on Emergency Services Incident Management System |
| NFPA 1962, 2003 edition, | Standard for the Inspection, Care, and the Use of Fire Hose, Couplings, and Nozzles and the Service Testing of Fire Hose |
| NFPA 1963, 2003 edition, | Standard for Fire Hose Connections |
| NFPA 2001, 2004 edition, | Standard on Clean Agent Fire Extinguishing Systems |

Such portions of “The United States Secretary of the Interior’s Standards for Rehabilitation and Guidelines for Rehabilitating Historic Buildings,” which pertain to meeting firesafety requirements without destroying the historical aspects of the building

SFPE Engineering Guide to Performance-Based Fire Protection Analysis and Design of Buildings, Society of Fire Protection Engineers, Bethesda, Maryland 2000 edition

The portions of ANSI A14.3-2002, Safety Code for Fixed Ladders, which pertain to fire escape ladders and which may be obtained at American National Standards Institute, 11 West 42nd Street, New York, NY 10036

Chapter 4, Accessible Routes, ICC/ANSI A117.1-1998, which may be obtained at American National Standard for Accessible and Usable Buildings and Facilities, American National Standards Institute, 11 West 42nd Street, New York, NY 10036

The portions of ANSI A1264.1-1995, Safety Requirements for Workplace Floor and Wall Openings, Stairs and Railing Systems, which pertain to fire escape ladders and which may be obtained at American National Standards Institute, 11 West 42nd Street, New York, NY 10036

ANSI/UL 2079, 1998 edition, Test of Fire Resistance of Building Joint Systems, which may be obtained at Underwriters Laboratories Inc., 333 Pfingsten Rd., Northbrook, IL 60062

The portions of ASME/ANSI A17.1-2000, Safety Code for Elevators and Escalators, which may be obtained at American Society of Mechanical Engineers, Three Park Avenue, New York, NY 10016-5990

The portions of ASME/ANSI A17.3-2002, Safety Code for Existing Elevators and Escalators, which may be obtained at American Society of Mechanical Engineers, Three Park Avenue, New York, NY 10016-5990

ASTM D 2898,-94, (Reapproved 1999), Test Method for Accelerated Weathering of Fire Retardant-Treated Wood for Fire Testing, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959

ASTM E 136-1999, Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750°C, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959

ASTM E 1537, 2001 edition, Standard Test Method for Fire Testing of Upholstered Furniture, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959

ASTM E 1590-01, Standard Test Method for Fire Testing of Mattresses, American Society for Testing and Materials, which may be obtained at 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959

ASTM E 1591-00, Standard Guide for Obtaining Data for Deterministic Fire Models, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959

ASTM F 851-1987 (Reapproved 1991), Standard Test Method for Self-Rising Seat Mechanisms, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959, but only to the extent referenced in Subdivision 12.2.5.5.1 and 12.2.5.5.2 of NFPA 101, 2000 edition

ANSI/BHMA A-156.19-2002, American National Standard for Power Assist and Low Energy Power Operated Doors, which may be obtained at Buildings Hardware Manufacturers Association, 355 Lexington Avenue, 17th Floor, New York, NY 10017-6603

16 Code of Federal Regulations, Part 1632 which may be obtained by contacting the Division of State Fire Marshal, 200 East Gaines Street, Tallahassee, Florida 32399-0342

UL 924, Standard for Safety Emergency Lighting and Power Equipment, Underwriters Laboratories, Inc., which may be obtained at 333 Pfingsten Rd., Northbrook, IL 60062

UL 1975, Standard for Fire Tests for Foamed Plastics Used for Decorative Purposes, Underwriters Laboratories, Inc., which may be obtained at 333 Pfingsten Rd., Northbrook, IL 60062

(3) The codes and standards published by the National Fire Protection Association and the SFPE Engineering Guide to Performance-Based Fire Protection Analysis and Design of Buildings may be obtained by writing to the NFPA at: 1 Batterymarch Park, Quincy, Massachusetts 02269-9101. All standards adopted and incorporated by reference in this rule are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303.

(4) The Secretary of the Interior’s Standards for Rehabilitation and Guidelines for Rehabilitating Historic Buildings may be obtained by writing the Florida Department of State, Division of Historical Resources, R. A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250. All standards adopted and incorporated by reference in this rule are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303.

(5) Only the codes, standards, publications, or other references adopted in this chapter are enforceable as part of the Florida Fire Prevention Code. Any code, standard, publication or other reference not adopted in this chapter is not a part of the Florida Fire Prevention Code and may only be enforced by a local government if it has been adopted as a local amendment of the local government pursuant to Section 633.0215(2), 633.0215(10), or 633.025(4), F.S.

Specific Authority 633.01, 633.0215, 633.025 FS. Law Implemented 633.01, 633.0215, 633.025 FS. History–New 11-15-01, Formerly 4A-60.005, Amended 11-28-04, 5-18-08, 12-31-08.