Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has received the petition for declaratory statement from Glen A. Mathers, on behalf of the Mitchell Elementary School, on October 10, 2008. The petition seeks the agency’s opinion as to the applicability of Section 903.2.2, Florida Building Code, Building Volume, 2004 (as amended), as it applies to the petitioner.

The petition has been assigned the Number: DCA08-DEC-289. The Petitioner asks if a four hour fire wall may be installed in a larger building to reduce the building size to less than 20,000 square feet and thus avoid the requirement that the building be fully sprinklered. If so, the Petitioner asks if penetrations would be allowed in the hour fire wall, and if a parapet wall would be required.

A copy of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.