62-160.320 Approved Laboratory Methods.

(1) Approved laboratory methods are specified in the Department’s program rules, contracts, orders or permits. When methods are specified by a Department program, rule, contract, order or permit, only those methods shall be used. For informational purposes, the Department maintains a list of methods and method compendiums that have been recognized by various Departmental programs. However, this list shall not supersede or limit the use of other methods that are required by contract, order, permit or Chapter 62 rule. Upon request, this list will be provided by the Department, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400.

(a) On March 12, 2007, and March 26, 2007, the Environmental Protection Agency published updated lists of methods to be used by laboratories reporting data under the Clean Water Act and Safe Drinking Water Act (Federal Register, Vol. 72, No. 47 and Vol. 72, No. 57, respectively), which are incorporated by reference in Rule 62-160.800, F.A.C. These lists withdrew many older methods.

(b) Laboratories that are certified under the withdrawn method(s) shall apply for and receive certification for a method to take the place of the withdrawn method(s). Laboratories shall be certified for the replacement method(s) within six (6) months after the effective date of this rule.

(2) Laboratories performing taxonomic identification for periphyton or macrobenthic invertebrates shall use DEP-SOP-002/01, Method LQ 7000 (found in LQ 1000), which is incorporated by reference in Rule 62-160.800, F.A.C.

(3) Laboratories calculating the Stream Condition Index (SCI), the Lake Condition Index, the Lake Vegetation Index or making a Biorecon determination shall follow DEP-SOP-002/01, Methods LD 7000 and LT 7000 found in LD 1000 and LT 1000 respectively, which are incorporated by reference in Rule 62-160.800, F.A.C.

Specific Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 12-3-08.