62-160.330 Approval of New and Alternative Laboratory Methods.

(1) Any party may apply for use of a laboratory method other than those specified in the Department’s contracts, orders, permits, or Title 62 rules. Laboratory methods that have been approved for use in a contract, order, permit or Title 62 rule before the effective date of this chapter shall remain approved. The documentation that approved the use of the procedure must be retained for at least five years after the last use of the procedure.

(2) All laboratory methods that support a Department contract, order, permit or Title 62 rule must be approved by the Department prior to use. These methods fall into one of two categories:

(a) New – an analytical laboratory method that tests for an analyte (chemical compound, component, microorganism, etc.) in a specified matrix where a Department-approved method does not exist;

(b) Alternative – an analytical laboratory method that tests for an analyte (chemical compound, component, microorganism, etc.) in a specified matrix where a Department-approved method does exist. An alternative method is one intended to be used in place of an existing Department-approved method. Alternative procedures cannot be approved for:

1. Alternatives to methods that the United States Environmental Protection Agency has designated as “method-defined analyte”; and

2. The following methods from DEP-SOP-002/01, LT 1000:

a. LT 7100, Biorecon Determination;

b. LT 7200, Stream Condition Index (SCI) Determination;

c. LT 7300, Lake Condition Index (LCI) Determination; and

d. LT 7500, Lake Vegetation Index (LVI) Determination.

(3) A method modification is any modification to an approved analytical laboratory method that is specifically allowed by the approved method. Method modifications are not considered alternative methods and do not require approval by the Department prior to use. However, the laboratory shall retain all data that demonstrate that the modification produces equivalent results to the unmodified method. These records shall be retained for at least five years after the last use of the modification.

(4) New and alternative methods shall be demonstrated as appropriate for use according to the requirements in New and Alternative Analytical Laboratory Methods, DEP-QA-001/01 (February 1, 2004) unless otherwise specified in a Department contract, order, permit or Title 62 rule. A new or alternative laboratory method shall be evaluated based on its intended use:

(a) Limited-Use Method – the laboratory method is intended only for testing environmental samples from a particular site, waste stream (e.g., facility location) or sample matrix (e.g., effluent, groundwater or drinking water). A limited-use method is validated by a single laboratory and shall only be used by that laboratory.

(b) Statewide-Use Method – the laboratory method is intended for testing environmental samples from similar sites or waste streams within the state of Florida by multiple laboratories. For a statewide method, the Department requires an interlaboratory collaborative study following the specifications in Appendix D of the Official Methods of Analysis of the Association of Official Analytical Chemists (1995), incorporated by reference in Rule 62-160.800, F.A.C. Alternatively, an interlaboratory collaborative study that is designed based on procedures published by a nationally recognized consensus-based standards organization (e.g., American Society for Testing and Materials) may be used. Specifications for these studies are provided in DEP-QA-001/01 (February 1, 2004).

(5) Research methods shall be submitted for review and approval according to the requirements provided in Rule 62-160.600, F.A.C. If a method is initially developed for research purposes but will subsequently be used for compliance or other regulatory activities, the method shall be submitted for review and approval according to subsections 62-160.330(1), (2) and (4), F.A.C.

(6) The approval or disapproval of any submitted new or alternative method shall be noticed as follows:

(a) For methods that are submitted for limited use, the Department shall issue an order of approval or disapproval of the new or alternative method to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the approval or disapproval of the method shall be included or incorporated by reference in the order. On the date of its issuance, the order and the new or alternative method shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the approval or disapproval of the submitted method via the designated listserve.

(b) For methods that are submitted for statewide use, the Department shall issue an order to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the approval or disapproval of the method shall be included or incorporated by reference in the order. A notice of the order approving or disapproving the method shall be published in the Florida Administrative Weekly. On the date of its issuance, the order and the new or alternative method shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the approval or disapproval of the submitted method via the designated listserve.

(c) Any substantially affected party may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of the date of the order for limited use or within 21 days of the date publication of the order in the Florida Administrative Weekly for state-wide use.

(7) Applicants who are analyzing discharges regulated under the National Pollutant Discharge Elimination System (NPDES) permit system shall comply with applicable provisions of the United States Environmental Protection Agency regulations in 40 CFR Part 136 paragraphs 136.4, 136.5 and 136.6 (2008). Applicants shall submit the application to the Department, which shall forward the application to the United States Environmental Protection Agency Administrator of Region 4 for review and approval. The determination for approval or rejection shall be made by the United States Environmental Protection Agency.

(8) Applicants who are analyzing compliance samples under the Safe Drinking Water Act shall comply with the applicable provisions of the United States Environmental Protection Agency regulations (40 CFR Part 141 paragraph 127) and Department Rule 62-550.550, F.A.C. Use of an alternative analytical technique requires written permission from the Department and United States Environmental Protection Agency.

(9) Except for methods promulgated by the United States Environmental Protection Agency in the Federal Register, a new or alternative laboratory method approved by the Department shall be removed from approval if new technical, scientific or regulatory information justifies its removal. The Department shall use the best scientific and technical information, methods and data in its possession in making the determination to remove a laboratory method from approval.

(a) For a new or alternative laboratory method that was approved for limited use, the Department shall issue an order of rescission of approval of the new or alternative laboratory method to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the rescission of approval of the method shall be included or incorporated by reference in the order. On the date of its issuance, the order shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the rescission of approval of the method via the designated listserve. Any person substantially affected by the rescission of approval of the new or alternative laboratory method may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of the date of the order.

(b) For a new or alternative laboratory method that was approved for statewide use, the Department shall issue an order of rescission of approval of the new or alternative laboratory method to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the rescission of approval of the method shall be included or incorporated by reference in the order. A notice of the order rescinding approval of the method shall be published in the Florida Administrative Weekly. On the date of its issuance, the order shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the rescission of approval of the method via the designated listserve. Any person substantially affected by the rescission of approval of the new or alternative laboratory method may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of the date of publication of the order in the Florida Administrative Weekly.

Specific Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08.