- 57-40.005 Hazardous Materials Storage and Handling.

Equipment for handling and/or storing of hazardous materials and chemicals shall be designed by qualified engineers using industry standards to prevent hazardous chemicals from spilling or leaking, and, thereby, injuring personnel, damaging property, or contaminating the environment.

Rulemaking Authority 331.310(1)(j), (2)(a), (d), 331.305(18), 331.350(3) FS. Law Implemented 331.310(1)(j), (2)(a), (d), 331.305(18), 331.350(3) FS. History–New 1-25-09.