40E-2.011 Policy and Purpose.

(1) It is the policy of the District to control all water uses within its boundaries, pursuant to the provisions of Chapter 373, Florida Statutes, and Chapter 62-40 and Title 40E, F.A.C.

(2) The rules in this chapter implement the comprehensive water use permit system contemplated in Part II of Chapter 373, Florida Statutes.

(3) Additional rules relating to water use are found in Chapter 40E-5, F.A.C., (Artificial Recharge), Chapter 40E-8, F.A.C., (Minimum Flows and Levels), Chapter 40E-10, F.A.C., (Water Reservations), Chapters 40E-20, F.A.C., (General Water Use Permits), 40E-21, F.A.C., (The Water Shortage Plan), 40E-22, F.A.C., (Regional Water Shortage Plans) and 40E-23, F.A.C., (Water Resource Caution Areas).

(4) Standards for the construction, repair and abandonment of water wells are found in Chapters 40E-3 (Water Wells) and 40E-30 (General Permits for Water Wells), F.A.C.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.103(1), 373.203, 373.216, 373.249 FS. History–New 9-3-81, Formerly 16K-2.01, Amended 7-4-82, 2-24-85, 11-18-91, 8-1-02, 8-31-03, 7-2-09.