- 62-520.510 Water Quality Criteria Exemptions for Installations Discharging Into Class G-III and G-IV Ground Water.

The procedures of Rule 62-520.500, F.A.C., apply, except that the six findings in paragraphs 62-520.500(1)(a)-(f), F.A.C., are replaced with the four findings below.

(1) The exemption is for disposal of domestic effluent or reuse of reclaimed water or industrial effluent and such discharge is clearly in the public interest;

(2) The economic, social and environmental costs of compliance with the existing criteria outweigh the economic, social and environmental benefits of compliance;

(3) Suitable technology is used for the disposal system; and,

(4) The discharge will not cause a violation of the standards for adjacent Class G-I or G-II ground water or surface waters affected by the ground water.

Rulemaking Authority 403.061, 403.087 FS. Law Implemented 403.021, 403.061, 403.087, 403.088 FS. History–New 9-8-92, Amended 4-14-94, Formerly 17-520.510, Amended 7-12-09.