Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

The Bureau of Elevator Safety hereby gives notice that on July 18, 2006 it Issued an Order Granting Emergency Variance Request in response to a petition filed on June 28, 2006 and advertised in the F.A.W. Vol. 32, No. 29, by Lee Rigby of Vertical Assessment Associates, Inc., regarding the Key Estero Shops (VW 2006-170). The petition sought a waiver from Rule 2.27.3.2.1, A.S.M.E. A17.1, 2000 Edition as adopted by the 2004 Florida Building Code and requested to be exempted from providing smoke detectors at each exterior elevator lobby. The petition was granted because the petitioner provided written approval for not installing the detectors from the local fire authority having jurisdiction.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.