Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

The Bureau of Elevator Safety hereby gives notice that on July 14, 2006, it Issued an Order Granting Emergency Variance Request in response to a petition filed on June 28, 2006 by Lee Rigby of Vertical Assessment Associates, Inc., regarding the Grand Phoenician Dunes VI. The petition sought a waiver from Rule 2.7.4.1, A.S.M.E. A17.1, 2000 Edition as adopted by the 2004 Florida Building Code and requested to be exempted from providing 84 inches of clearance in the elevator machine room. The petition was granted because the petitioner agreed to provide caution markings and because the clearance provided was 82 inches.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.