59A-7.034 Alternate-Site Testing.

Alternate-site testing shall include laboratory tests performed in a hospital facility licensed under Chapter 395, F.S., out of the physical or administrative confines of the central laboratory which is licensed under Chapter 483, Part I, F.S. A clinical laboratory licensed under Chapter 483, Part I, F.S., may establish satellite locations under its administrative confines on the same or adjoining grounds of a hospital licensed under Chapter 395, F.S., that is not an alternate-site. Clinical laboratory testing within the satellite locations  shall be performed by clinical laboratory personnel licensed under Chapter 483, Part Ill, F.S., or exempt from  licensure under that part, whereas testing at an alternate-site location shall be performed by personnel  permitted under paragraph 59A-7.034(5)(a). F.A.C. Alternate-site testing allows specific personnel, who are not licensed clinical laboratory personnel, and are listed under subparagraphs 59A-7.034(5)(a)1.-7. and 9., F.A.C., to perform limited laboratory tests identified under paragraphs 59A-7.034(7)(a)-(e), F.A.C. Locations of alternate-site testing include, patients’ bedsides, nurses’ stations as well as locations  determined appropriate by the laboratory director in a written plan that meets the requirements of Rule 59A-7.034, F.A.C.

(1) All alternate-site testing must be performed on the same or adjoining grounds, and on the physical premises of, the hospital facility referenced in Rule 59A-7.034, F.A.C.

(2) A hospital laboratory licensed under Chapter 483, Part I, F.S., located in a hospital licensed under Chapter 395, F.S., shall be permitted to maintain under its supervision, one or more testing sites as authorized under this section provided the laboratory submits written notification of such testing to the agency. Such notification shall specify the categories of personnel as provided in subsection 59A-7.034(5), F.A.C., that perform alternate-site testing in that hospital facility. The laboratory director must maintain a current listing of all personnel authorized to perform alternate-site testing as required under subsection 59A-7.034(4), F.A.C.

(a) Alternate-sites for testing authorized under Rule 59A-7.034, F.A.C., shall be noted on all laboratory licensure applications submitted to the agency.

(b) The laboratory must be licensed in all specialties or subspecialties in which testing is performed at the sites referenced in paragraph (a), above. Testing at these sites shall be limited to those tests for which the supervising director and laboratory personnel are qualified pursuant to Rule 64B3 and authorized under Chapter 59A-7, F.A.C.

(3) Testing shall be the responsibility of the clinical laboratory director and shall be performed under the director’s supervision and administrative control as specified under subsection 59A-7.035(1), F.A.C. The director shall be responsible for selecting the tests to be performed in accordance with Rule 59A-7.034, F.A.C. All such testing is subject to requirements specified in Chapter 59A-7, F.A.C. The laboratory director has the authority and responsibility to determine corrective action to be taken to maintain an equivalent standard of care for the entire hospital facility up to and including termination of alternate-site testing where there is documentation of noncompliance with Chapter 59A-7, F.A.C.

(a) A written protocol shall be established by the director and implemented by the service(s) performing alternate-site testing as required under subsection 59A-7.029(3), F.A.C., applicable to tests performed.

1. There shall be a procedure manual at each site where alternate-site testing is performed.

2. The procedure manual located at the alternate-test site shall specifically address the alternate-site testing done at that location.

3. The procedure manual shall be reviewed biennially by the laboratory director.

(b) The director is responsible for developing a quality assurance program that is appropriate for the test methods used at the alternate-testing site as required under Rule 59A-7.031, F.A.C. Criteria for repeating a result or obtaining a sample for assay in the hospital laboratory must be outlined by the director and included in the quality assurance program.

1. The laboratory must maintain the capability of verifying the validity of test results obtained at the alternate-test site as specified in Rule 59A-7.029, F.A.C.

2. Subparagraph 59A-7.034(3)(b)1., F.A.C., shall not be construed to prohibit the performance of Activated Clotting Time tests or referral of infrequently performed tests to another laboratory licensed under Chapter 483, Part I, F.S., for analysis.

(c) The director in consultation with the appropriate medical staff shall prepare an internal needs assessment for alternate-site testing for each testing site which shall include evaluation of patient benefits and criteria for such testing. The internal needs assessment shall also include an evaluation of proposed methodologies for tests to be performed at the alternate-sites composed, at a minimum, of evaluation of accuracy, precision, comparison of test results with the hospital laboratory, instrument performance, maintenance requirements, reagent preparation, if applicable, and storage and availability of supplies such as reagents, controls and proficiency samples for the testing site.

1. The selection of alternate-site test methods shall assure that their performance and operational characteristics meet the clinical requirements for the intended alternate-site testing location.

2. A written procedure for validating alternate-site test methods shall be developed which outlines the process and criteria used to conduct the required validation to maintain an equivalent standard of care for the entire facility.

3. The validation process shall ensure that all alternate-site test methods chosen demonstrate accuracy, precision, reliability, correlation, ease of operation, and maintenance capabilities given the environment in which each will be used.

4. In addition to requirements set forth in Rule 59A-7.029, F.A.C., each alternate-site test method shall be evaluated relative to reporting time and error.

5. Alternate-site testing shall only be conducted at sites where the director has established and documented in the internal needs assessment that such testing is necessary for the proper care and treatment of patients.

6. The internal needs assessment must be reviewed and approved by the laboratory director prior to initiation of testing at any alternate-test site and biennially thereafter.

7. Documentation of the initial and each biennial review and approval of the internal needs assessment must be maintained in the laboratory and available for review by the agency for each site for a minimum of two years after testing is discontinued.

(d) The director shall designate in writing, for each test site, a director, supervisor or technologist qualified under Chapter 483, Part III, F.S., who in the absence of the director, monitors the performance of testing personnel, reporting of results and compliance with established policies.

(4) Records.

(a) All records of personnel authorized to perform alternate-site testing must be readily available for inspection by the agency for at least two years. These records shall include the name of each person performing such testing and documentation that each individual performing alternate-site testing is licensed by the state or certified by a national organization in a health care profession as required in subsection 59A-7.034(5), F.A.C., competency evaluations, patient results, quality control, corrective actions, proficiency surveys, and instrument maintenance.

(b) Results of all testing performed shall be made a part of the patient’s permanent medical record and shall meet the requirements specified in Rule 59A-7.028, F.A.C.

(5) Alternate-site testing personnel requirements.

(a) Testing personnel shall have a high school diploma, or its equivalent, and have met the HIV/AIDS educational requirements pursuant to Section 381.0035, F.S. In addition, all testing personnel in the alternate-test site locations shall meet one of the following requirements:

1. Is licensed as an advanced registered nurse practitioner, a registered nurse or licensed practical nurse pursuant to Chapter 464, F.S.,

2. Is licensed as a radiologic technologist pursuant to Chapter 468, Part IV, F.S.,

3. Is licensed as a respiratory care practitioner certified in critical care services or a respiratory therapist pursuant to Chapter 468, Part V, F.S.,

4. Is a phlebotomist certified by the American Society of Clinical Pathologists (ASCP), National Certification Agency for Medical Laboratory Personnel (NCA), American Society of Phlebotomy Technicians (ASPT) or American Medical Technologists (AMT),

5. Is licensed as a physician assistant pursuant to Chapter 458 and 459, F.S.,

6. Is a perfusionist certified by the American Board of Cardiovascular Perfusionists,

7. Is a cardiovascular technician certified by the Cardiovascular Credentialing International (CCI),

8. Is licensed as a director, supervisor, technologist or technician under Chapter 483, Part IV, F.S., or exempt from such licensure as provided in that chapter, or

9. Is a licensed Emergency Medical Technician (EMT) or Paramedic pursuant to Chapter 401, F.S.

(b) The laboratory director shall, in consultation with medical staff designated by the hospital, establish the training needs for the test methods used at each site. This training at a minimum must ensure that alternate-site testing personnel have had instruction in the following areas:

1. Specimen collection, handling and storage including infection control procedures.

2. Instrument procedures including skills required to perform preventive maintenance, calibration and troubleshooting.

3. Skills required to implement quality control procedures and evaluate quality control results.

4. Skills required to perform specific test procedures.

5. Result reporting and documentation techniques including knowledge of reporting procedures for life threatening results.

6. Awareness of the factors that influence test results including the skills required to assess and verify the validity of patient test results through the assessment and correlation of pre-analytical and post-analytical phases of testing with laboratory data generated during the analytical phase of testing as they relate to common physiological conditions and quality control, and

7. Monitoring of systems and results for errors including instruction on corrective action including whether or not results can be reported.

(c) Successful completion of a training program approved by the Board of Clinical Laboratory Personnel provided under Section 483.811, F.S., shall meet the minimum training requirements specified in paragraph (b), above.

(6) Responsibilities of the laboratory director pertaining to the alternate-test site.

(a) The laboratory director shall:

1. Ensure that testing personnel are limited to those who meet the requirements of paragraph 59A-7.034(5)(a), F.A.C.; and

2. Establish methods for the evaluation of competency to verify that alternate-site testing personnel perform procedures and report test results promptly and accurately. Evaluation of competency shall include:

a. Sample handling skills;

b. Skills required to perform the test method;

c. Skills required to perform preventive maintenance, troubleshooting, and calibration procedures, applicable to the test methodologies;

d. Demonstration of knowledge of reagent stability and storage applicable to the test system in use;

e. Skills required to implement quality control policies and procedures and evaluate quality control results;

f. An awareness of the factors that influence test results;

g. Skills required to assess and verify the validity of patient test results through the assessment of quality control results;

h. Demonstration of knowledge of patient preparation for each test performed;

i. Demonstration of knowledge of infection control procedures; and

j. Demonstration of knowledge of reporting procedures for life threatening results.

(b) Validation of personnel competency shall include review of test results, quality control records, proficiency testing results and preventive maintenance records; direct observation of test performance and instrument maintenance; and assessment of performance through testing previously analyzed specimens, internal blind samples, or proficiency testing samples.

(c) Evaluation of competency for alternate-site testing personnel must be performed prior to initiation of patient testing and at least annually thereafter.

(d) Documentation of licensure or certification, as applicable, pursuant to subsection 59A-7.034(5), F.A.C., and competency evaluations must be maintained during the tenure of all testing personnel and for a minimum of two years thereafter and made available to the agency at the time of inspection.

(7) Tests performed. Only test procedures approved by the laboratory director and documented in the internal needs assessment in accordance with Rule 59A-7.034, F.A.C., shall be performed at the alternate-test site.

(a) Tests performed at these sites shall not exceed moderately complex test procedures and must:

1. Employ whole blood specimens that require no specimen or reagent manipulation, treatment, extraction, separation or any other processing of any kind; and

2. Utilize automated test systems in which a specimen is directly introduced into the system. Such instrumentation shall automatically provide for instrument calibration without access by the operator to modify or adjust calibration limits.

(b) Alternate-test sites are also permitted to perform waived tests, activated clotting times, gastric occult blood, gastric pH and urine specific gravity by refractometer.

(c) Data output must be directly reportable in the final units of measurement needed for patient care without need for data conversion or other manipulation.

(d) Electronic instrumentation must have a mechanism whereby the operator is alerted when patient results exceed the reportable operating range of the test method and when calibration is not acceptable; such results shall not be used for the diagnosis, treatment, management or monitoring of patients as required under Rule 59A-7.029, F.A.C., and shall be validated through the central laboratory.

(e) Waived tests are permitted to be performed by hospital staff designated to provide the testing under the hospital’s policies and procedures.

(8) The agency shall take administrative action pursuant to Sections 483.201, 483.221, and 483.23, F.S., up to and including revocation of the approval for operation of any or all alternate-testing sites where the agency determines that said sites have operated in violation of Chapter 483, Part I, F.S., and the provisions of Rule 59A-7, F.A.C. In addition, pursuant to Sections 483.201, 483.221, and 483.23, F.S., in the event of such a violation, the agency shall take administrative action up to and including revocation of the laboratory license of the laboratory maintaining the alternate-testing site.

Rulemaking Authority 483.051 FS. Law Implemented 483.051, 483.181, 483.201, 483.221, 483.23 FS. History–New 12-27-95, Amended 12-8-09.