69A-3.012 Standards of the National Fire Protection Association and Other Standards Adopted.

(1) Except as specifically modified by statute or by the State Fire Marshal’s rules, the Florida specific edition of NFPA 101, the Life Safety Code®, 2006 edition and the Florida specific edition of NFPA 1, the Uniform Fire Code2006 edition, as adopted within Rule Chapter 69A-60, F.A.C., entitled the “2007 edition of the Florida Fire Prevention Code,” are hereby adopted and incorporated by reference and are applicable to those buildings and structures specified in paragraphs (a) and (b) of subsection (1) of Section 633.022, F.S. In addition, the following standards, except as specifically modified in the rule chapters in Rule Title 69A, are hereby adopted and incorporated by reference and shall take effect on the effective date of this rule, as a part of the uniform fire safety standards adopted by rule by the State Fire Marshal and are applicable to those buildings and structures specified in paragraphs (a) and (b) of subsection (1) of Section 633.022, F.S.:

NFPA 10-2002 edition, Standard for Portable Fire Extinguishers

NFPA 11-2005 edition, Standard for Low-, Medium, and High- Expansion Foam

NFPA 11A-1999 edition, Standard for Medium and High Expansion Foam Systems

NFPA 12-2005 edition, Standard on Carbon Dioxide Extinguishing Systems

NFPA 12A-2004 edition, Standard on Halon 1301 Fire Extinguishing Systems

NFPA 13-2002 edition, Standard for the Installation of Sprinkler Systems

NFPA 13D-2002 edition, Standard for the Installation of Sprinkler Systems in One- and Two- Family Dwellings and Manufactured Homes

NFPA 13R-2002 edition, Standard for the Installation of Sprinkler Systems in Residential Occupancies up to and including Four Stories in Height

NFPA 14-2003 edition, Standard for the Installation of Standpipe and Hose Systems, except 2-7 shall be omitted

NFPA 15-2001 edition, Standard for Water Spray Fixed Systems for Fire Protection

NFPA 16-2003 edition, Standard for the Installation of Foam-Water Sprinkler and Foam-Water Spray Systems

NFPA 17-2002 edition, Standard for Dry Chemical Extinguishing Systems

NFPA 17A-2002 edition, Standard on Wet Chemical Extinguishing Systems

NFPA 20-2003 edition, Standard for the Installation of Stationary Pumps for Fire Protection

NFPA 22-2003 edition, Standard for Water Tanks for Private Fire Protection

NFPA 24-2002 edition, Standards for the Installation of Private Fire Service Mains and Their Appurtenances

NFPA 25-2002 edition, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems, except that quarterly flow tests shall be required for those systems supplied by a municipal water supply.

NFPA 30-2003 edition, Flammable and Combustible Liquids Code

NFPA 30A-2003 edition, Code for Motor fuel Dispensing Facilities and Repair Garages

NFPA 30B-2002 edition, Code for the Manufacture and Storage of Aerosol Products

NFPA 31-2001 edition, Standard for the Installation of Oil Burning Equipment

NFPA 32-2004 edition, Standards for Drycleaning Plants

NFPA 33-2003 edition, Standard for Spray Application Using Flammable and Combustible Materials

NFPA 34-2003 edition, Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids

NFPA 35-2005 edition, Standard for the Manufacture of Organic Coatings

NFPA 36-2004 edition, Standard for Solvent Extraction Plants

NFPA 37-2002 edition, Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines

NFPA 40-2001 edition, Standard for the Storage and Handling of Cellulose Nitrate Film

NFPA 45-2004 edition, Standard on Fire Protection for Laboratories Using Chemicals

NFPA 50-2001 edition, Standard for Bulk Oxygen Systems at Consumer Sites

NFPA 50B-1999 edition, Standard for Liquid Hydrogen Systems at Consumer Sites

NFPA 51-2002 edition, Standard for the Design and Installation of Oxygen-Fuel Gas Systems for Welding, Cutting and Allied Processes

NFPA 51A-2001 edition, Standard for Acetylene Cylinder Charging Plants

NFPA 51B-2003 edition, Standard for Fire Prevention During Welding, Cutting and Other Hot Work

NFPA 52-2006 edition, Vehicular Fuel Systems Code

NFPA 53-2004 edition, Recommended Practice on Materials, Equipment, and Systems Used in Oxygen-Enriched Atmospheres

NFPA 54-2006 edition, National Fuel Gas Code

NFPA 55-2005 edition, Standard for the Storage, Use, and Handling of Compressed Gasses and Cryogenic Fluids in Portable and Stationary Containers, Cylinders and Tanks

NFPA 57-2002 edition, Liquefied Natural Gas Vehicular Fuel Systems Code

NFPA 58-2004 edition, Liquefied Petroleum Gas Code

NFPA 59-2004 edition, Utility LP-Gas Plant Code

NFPA 59A-2006 edition, Standard for the Production, Storage and Handling of Liquefied Natural Gas

NFPA 61-2002 edition, Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Products Facilities

NFPA 69-2002 edition, Standard on Explosion Prevention Systems

NFPA 70-2005 edition, National Electrical Code

NFPA 72-2002 edition, National Fire Alarm Code

NFPA 75-2003 edition, Standard for the Protection of information Technology Equipment

NFPA 80-1999 edition, Standard for Fire Doors and Fire Windows

NFPA 80A-2007 edition, Recommended Practice for Protection of Buildings from Exterior Fire Exposures

NFPA 82-2004 edition, Standard on Incinerators and Waste and Linen Handling Systems and Equipment

NFPA 86-2003 edition, Standard for Ovens and Furnaces

NFPA 86C-1999 edition, Standard for Industrial Furnaces Using a Special Processing Atmosphere

NFPA 86D-1999 edition, Standard for Industrial Furnaces Using Vacuum as an Atmosphere

NFPA 88A-2002 edition, Standard for Parking Structures

NFPA 90A-2002 edition, Standard for the Installation of Air Conditioning and Ventilating Systems

NFPA 90B-2006 edition, Standard for the Installation of Warm Air Heating and Air Conditioning Systems

NFPA 91-2004 edition, Standard for Exhaust Systems for Air Conveying of Vapors, Gases, Mists, and Noncombustible Particulate Solids

NFPA 92A-2006 edition, Standard for Smoke-Control Systems Utilizing barriers and Pressure Differences

NFPA 92B-2005 edition, Standard for Smoke Management Systems in Malls, Atria, and Large Spaces

NFPA 96-2004 edition, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations. Subdivision 10-2.3 of NFPA 96 applies prospectively only. Existing installations are permitted to remain in place subject to the approval of the authority having jurisdiction.

NFPA 99-2005 edition, Health Care Facilities

NFPA 99B-2005 edition, Standard for Hypobaric Facilities

NFPA 101A-2004 edition, Guide on Alternative Approaches to Life Safety

NFPA 101B-2002 edition, Standard on Means of Egress for Buildings and Structures

NFPA 102-1995 edition, Standard for Grandstands, Folding and Telescoping Seating, Tents and Membrane Structures

NFPA 105-2003 edition, Recommended Practice for the Installation of Smoke-Control Door Assemblies

NFPA 110-2005 edition, Standard for Emergency and Standby Power Systems

NFPA 111-2005 edition, Standard on Stored Electrical Energy Emergency and Standby Power Systems

NFPA 115-2003 edition, Recommended Practice on Laser Fire Protection

NFPA 120-2004 edition, Standard for Fire Prevention and Control in Coal Mines

NFPA 130-2007 edition, Standard for Fixed Guideway Transit and Passenger Rail Systems

NFPA 140-2004 edition, Standard on Motion Picture and Television Production Studio Soundstages and Approved Production Facilities

NFPA 150-2007 edition, Standard on Fire and Life Safety in Animal Housing Facilities

NFPA 160-2006 edition, Standard for Use of Flame Effects Before an Audience

NFPA 211-2003 edition, Standard for Chimneys, Fireplaces, Vents and Solid Fuel Burning Appliances

NFPA 214-2005 edition, Standard on Water-Cooling Towers

NFPA 221-2006 edition, Standard for High Challenge Fire Walls, Fire Walls and Fire Barrier Walls

NFPA 232-2000 edition, Standard for the Protection of Records

NFPA 232A-1995 edition, Guide for Fire Protection for Archives and Record Centers

NFPA 241-2004 edition, Standard for Safeguarding Construction, Alteration and Demolition Operations

NFPA 251-2006 edition, Standard Methods of Tests of Fire Endurance of Building Construction and Materials

NFPA 252-2003 edition, Standard Methods of Fire Tests of Door Assemblies

NFPA 253-2006 edition, Standard Method of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source

NFPA 255-2006 edition, Standard Method of Test of Surface Burning Characteristics of Building Materials

NFPA 256-2003 edition, Standard Methods of Fire Tests of Roof Coverings

NFPA 257-2000 edition, Standard on Fire Tests for Window and Glass Block Assemblies

NFPA 259-2003 edition, Standard Test Method for Potential Heat of Building Materials

NFPA 260-2003 edition, Standard Method of Test and Classification System for Cigarette Ignition Resistance of Components of Upholstered Furniture

NFPA 261-2003 edition, Standard Method of Test for Determining Resistance of Mock-Up Upholstered Furniture Material Assemblies to Ignition by Smoldering Cigarettes

NFPA 265-2002 edition, Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile Coverings on full Height Panels and Walls

NFPA 267-1998 edition, Standard Method of Test for Fire Characteristics of Mattresses and Bedding Assemblies Exposed to Flaming Ignition Sources

NFPA 286-2006 edition, Standard Methods of Fire Test for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth

NFPA 291-2007 edition, Recommended Practice for Fire Flow Testing and Marking of Hydrants

NFPA 303-2006 edition, Fire Protection Standards for Marinas and Boatyards

NFPA 307-2006 edition, Standard for the Construction and Fire Protection of Marine Terminals, Piers, and Wharves

NFPA 312-2006 edition, Standard for Fire Protection of Vessels During Construction, Repair and Lay-Up

NFPA 318-2006 edition, Standard for the Protection of Semiconductor Fabrication Facilities

NFPA 385-2000 edition, Standard for Tank Vehicles for Flammable and Combustible Liquids

NFPA 407-2001 edition, Standard for Aircraft Fuel Servicing

NFPA 409-2004 edition, Standard on Aircraft Hangars

NFPA 410-2004 edition, Standard on Aircraft Maintenance

NFPA 415-2002 edition, Standard on Airport Terminal Buildings, Fueling Ramp Drainage, and Loading Walkways

NFPA 418-2001 edition, Standard for Heliports

NFPA 430-2004 edition, Code for Storage of Liquid and Solid Oxidizers

NFPA 432-2002 edition, Code for Storage of Organic Peroxide Formulations

NFPA 434-2002 edition, Code for the Storage of Pesticides

NFPA 484-2006 edition, Standard for Combustible Metals

NFPA 490-2002 edition, Code for the Storage of Ammonium Nitrate

NFPA 495-2006 edition, Explosive Materials Code

NFPA 498-2006 edition, Standard for Safe Havens and Interchange Lots for Vehicles Transporting Explosives

NFPA 501-2005 edition, Standard on Manufactured Housing

NFPA 501A-2005 edition, Standard for Firesafety Criteria for Manufactured Home Installations, Sites, and Communities

NFPA 502-2008 edition, Standard for Road Tunnels, Bridges, and Other Limited Access Roadways

NFPA 505-2006 edition, Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance, and Operation

NFPA 654-2006 edition, Standard for the Prevention of Fire and Dust Explosions from the Manufacturing, Processing, and Handling of Combustible Particulate Solids

NFPA 655-2001 edition, Standard for Prevention of Sulfur Fires and Explosions

NFPA 664-2002 edition, Standard for the Prevention of Fires and Explosions in Wood Processing and Woodworking Facilities

NFPA 701-2004 edition, Standard Methods of Fire Tests for Flame Propagation of Textiles and Films

NFPA 703-2006 edition, Standard for Fire Retardant-Treated Wood and Fire- Retardant Coatings for Building Materials

NFPA 704-2001 edition, Standard System for the Identification of the Fire Hazards of Materials for Emergency Response

NFPA 750-2006 edition, Standard on Water Mist Fire Protection Systems

NFPA 780-2004 edition, Standard for the Installation of Lightning Protection Systems

NFPA 820-2003 edition, Standard for Fire Protection in Wastewater Treatment and Collection Facilities

NFPA 850-2005 edition, Recommended Practice for Fire Protection for Electric Generating Plants and High Voltage Direct Current Converter Stations

NFPA 909-2005 edition, Standard for the Protection of Cultural Resources Properties – Museums, Libraries, and Places of Worship

NFPA 1122-2002 edition, Code for Model Rocketry

NFPA 1123-2006 edition, Code for Fireworks Display

NFPA 1124-2006 edition, Code for the Manufacture, Transportation, Storage, and Retail Sale of Fireworks and Pyrotechnic Articles

NFPA 1125-2001 edition, Code for the Manufacture of Model Rocket and High Power Rocket Motors

NFPA 1126-2006 edition, Standard for the Use of Pyrotechnics Before a Proximate Audience

NFPA 1127-2002 edition, Code for High Power Rocketry

NFPA 1142-2001 edition, Standard for Water Supplies for Suburban and Rural Fire Fighting

NFPA 1194-2005 edition, Standard for Recreation Vehicle Parks and Campgrounds

NFPA 1221-2007 edition, Standard for the Installation, Maintenance, and Use of Emergency Communications Systems

NFPA 1561-2005 edition, Standard on Emergency Services Incident Management System

NFPA 1962-2003 edition, Standard for the Inspection, Care, and Use of Fire Hose Including Couplings and Nozzles; and the Service Testing of Fire Hose

NFPA 1963-2003 edition, Standards for Fire Hose Connections

NFPA 2001-2004 edition, Standard on Clean Agent Fire Extinguishing Systems

The portions of 49 Code of Federal Regulations, Parts 100-177 which are referenced in Compressed Gas Association CGA C-1-1996, Methods for Hydrostatic Testing of Compressed Gas Cylinders, Compressed Gas Association CGA C-6-1993, Standards for Visual Inspection of Steel Compressed Gas Cylinders, Seventh Edition, Reaffirmed 1995, Compressed Gas Association CGA C-6.1-1995, Standards for Visual Inspection of High Pressure Aluminum Compressed Gas Cylinders, and Compressed Gas Association CGA C-6.3-1999 Guidelines for Visual Inspection and Requalification of Low Pressure Aluminum Compressed Gas Cylinders, Second Edition, and which pertain to low pressure and high pressure cylinders.

The portions of 29 Code of Federal Regulations, Parts 1900-1910 which are referenced in Compressed Gas Association CGA C-1-1996, Methods for Hydrostatic Testing of Compressed Gas Cylinders, Compressed Gas Association CGA C-6-1993, Standards for Visual Inspection of Steel Compressed Gas Cylinders, Seventh Edition, Reaffirmed 1995, Compressed Gas Association CGA C-6.1-1995, Standards for Visual Inspection of High Pressure Aluminum Compressed Gas Cylinders, and Compressed Gas Association CGA C-6.3-1999 Guidelines for Visual Inspection and Requalification of Low Pressure Aluminum Compressed Gas Cylinders, Second Edition, and which pertain to low pressure and high pressure cylinders.

Compressed Gas Association CGA C-1-1996, Methods for Hydrostatic Testing of Compressed Gas Cylinders.

Compressed Gas Association CGA C-6-1993, Standards for Visual Inspection of Steel Compressed Gas Cylinders, Seventh Edition, Reaffirmed 1995.

Compressed Gas Association CGA C-6.1-1995, Standards for Visual Inspection of High Pressure Aluminum Compressed Gas Cylinders.

Compressed Gas Association CGA C-6.3-1999, Guidelines for Visual Inspection and Requalification of Low Pressure Aluminum Compressed Gas Cylinders, Second Edition.

(2) All buildings, structures, establishments, facilities, equipment, or vehicular equipment over which the State Fire Marshal has jurisdiction which are constructed, renovated, expanded, rehabilitated, or in any other way significantly altered on or after the effective date of the adoption of the codes and standards adopted in subsection (1), above, shall conform to the requirements of the codes, standards, recommended practices, and manuals contained therein, unless the structure, establishment, or facility has been exempted from complying because the building, structure, establishment, facility, equipment, or vehicular equipment has been granted an exemption from compliance by act of the Legislature.

(3) All buildings, structures, establishments, facilities, equipment, or vehicular equipment over which the State Fire Marshal has jurisdiction which are in existence on or after the effective date of the adoption of the codes and standards adopted in subsection (1), above, shall conform to the requirements of those codes and standards within a reasonable period of time. It is understood that the correction of some fire safety violations will necessitate the employment of design professionals while other violations can be expeditiously resolved. “Within a reasonable time” is defined as the amount of time it would normally take to correct a specific fire code violation under the assumption that the property owner would begin to correct said violations upon receipt of an official document from the enforcing agency.

(4) The codes and standards published by the National Fire Protection Association, including the Florida edition of NFPA 1 and NFPA 101 as adopted in Rule Chapter 69A-60, F.A.C., may be obtained by writing to BNi, 1612 S Clementine Street, Anaheim, CA 92802. ANSI standards may be obtained from the American National Standards Institute, 1430 Broadway, New York, N.Y. 10018. ANSI/ASME standards may be obtained from the American Society of Mechanical Engineers, 345 East 47th Street, New York, N.Y. 10017. ASTM standards may be obtained from the American Society for Testing and Materials, 1916 Race Street, Philadelphia, PA 19103. UL standards may be obtained from Underwriters Laboratories, Inc., 333 Pfingston Road, Northbrook, IL 60062. All standards incorporated by reference in this rule are also available for public inspection during regular business hours at the Division currently located on the third floor (Room 326) of the Atrium Building, 325 John Knox Road, Tallahassee, Florida.

(5) The Code of Federal Regulations and the Compressed Gas Association (CGA) documents incorporated by reference in this rule are available for public inspection during regular business hours at the Division currently located on the third floor (Room 326) of the Atrium Building, 325 John Knox Road, Tallahassee, Florida.

(6) Notice required for structures with light-frame truss-type construction.

Purpose: The purpose of this rule is to require the placement of an identifying symbol on structures constructed with a light-frame truss component in a manner sufficient to warn persons conducting fire control and other emergency operations of the existence of light-frame truss-type construction in the structure.

(a) Definitions.

1. “Light-frame truss-type construction” means a type of construction whose primary structural elements are formed by a system of repetitive wood or light gauge steel framing members.

2. “Approved symbol” means a Maltese Cross measuring 8 inches horizontally and 8 inches vertically, of a bright red reflective color, designed in accordance with Figure 1.

(b) Any commercial, industrial, or any multiunit residential structure of three units or more which uses horizontal or vertical light-frame truss-type construction in any portion shall be marked with an approved symbol. Townhouses are not multiunit residential structures and therefore not subject to this rule. Each approved symbol shall include within the center circle one of the following designations:

1. Structures with light-frame truss roofs shall be marked with the letter “R”.

2. Structures with light-frame truss floor systems shall be marked with the letter “F”.

3. Structures with light-frame truss floor and roof systems shall be marked with the letters “R/F”.

(c) The approved symbol shall be placed within 24 inches to the left of the main entry door and:

1. Be permanently attached to the face of the structure on a contrasting background, or

2. Be mounted on a contrasting base material which is then permanently attached to the face of the structure.

(d) The distance above the grade, walking surface or the finished floor to the bottom of the symbol shall be not less than 4 feet (48 in).

(e) The distance above the grade, walking surface or the finished floor to the top of the symbol shall be not more than 6 feet (72 in).

(7) In single tenant structures with multiple main entry doors, such as big box retail stores, department stores and grocery stores, the authority having jurisdiction is authorized to require that other main entry doors of the structure be marked with an approved symbol to carry out the purpose in subsection (6) above.

(8) In multiple tenant structures and covered malls with multiple main entry doors, the authority having jurisdiction is authorized to require that other main entry doors be marked with an approved symbol to carry out the purpose in subsection (6) above. In such structures, approved symbols shall be marked on one side only and spaced not closer than 100 feet or at each end of the structure when such structure is less than 100 feet in length.

(9) The owner of each new structure required to comply with this section shall mark the structure with the approved symbol prior to receiving a certificate of occupancy.

(10) The owner of each existing structure required to comply with this section shall mark the structure with the approved symbol within 90 days of the effective date of this rule section.

(11) Where the owner of the structure and the authority having jurisdiction disagree as to the use of light-frame truss-type construction within the structure, the owner shall be granted not more than 45 days to provide written verification from a licensed engineer or licensed architect; otherwise the owner shall comply with the rule.

Figure 1:

Approved Symbol

- Light-frame “Roof” only

- Light- frame “Floor” only

- Light- frame “Floor & Roof”

Rulemaking Authority 633.01(1), 633.022, 633.0215, 633.027 FS. Law Implemented 633.01, 633.022, 633.0215, 633.027 FS. History–New 5-14-86, Amended 2-12-87, 4-8-90, 10-30-91, 4-3-95, 11-27-01, Formerly 4A-3.012, Amended 8-7-05, 5-18-08, 12-31-08, 12-13-09.