- 64B16-28.141 Requirements for an Automated Pharmacy System in a Community Pharmacy.

(1) Definitions. “Automated pharmacy system” means a mechanical system, located within or adjacent to the prescription department, that performs operations or activities, other than compounding or administration, relative to storage, packaging, dispensing, or distribution of medication, and which collects, controls, and maintains all transaction information.

(2) General Requirements. A pharmacy may use an automated pharmacy system provided that:

(a) The pharmacy develops and maintains a policy and procedure manual that includes:

1. The type or name of the system including a serial number or other identifying nomenclature.

2. A method to ensure security of the system to prevent unauthorized access. Such method may include the use of electronic passwords, biometric identification (optic scanning or fingerprint) or other coded identification.

3. A process of filling and stocking the system with drugs; an electronic or hard copy record of medication filled into the system including the product identification, lot number, and expiration date.

4. A method of identifying all the registered pharmacy interns or registered pharmacy technicians involved in the dispensing process.

5. Compliance with a Continuous Quality Improvement Program.

6. A method to ensure that patient confidentiality is maintained.

7. A process to enable the prescription department manager or designee to revoke, add, or change access at any time.

(b) The system ensures that each prescription is dispensed in compliance with the definition of dispense and the practice of the profession of pharmacy.

(c) The system shall maintain a readily retrievable electronic record to identify all pharmacists, registered pharmacy technicians, or other personnel involved in the dispensing of a prescription.

(d) The system shall provide the ability to comply with product recalls generated by the manufacturer, distributor, or pharmacy. The system shall have a process in place to isolate affected lot numbers including an intermix of drug product lot numbers.

(3) Additional Requirements for Patient Accessed Automated Pharmacy Systems. A pharmacy may use a patient accessed automated pharmacy system, provided that:

(a) Meets the requirements in subsection (2), above.

(b) The stocking or restocking of a medicinal drug shall only be completed by a Florida pharmacist, except as provided in paragraph (c), below.

(c) If the automated pharmacy system uses removable cartridges or container to store the drug, the stocking or restocking of the cartridges or containers may occur at a licensed repackaging facility and be sent to the provider pharmacy to be loaded by personnel designated by the pharmacist if:

1. A Florida pharmacist verifies the cartridge or container has been properly filled and labeled.

2. The individual cartridge or container is transported to the provider pharmacy in a secure, tamper-evident container.

3. The automated pharmacy system uses a bar code verification, electronic verification, weight verification, radio frequency identification (RFID) or similar process to ensure that the cartridge or container is accurately loaded into the automated pharmacy system.

4. The Florida pharmacist verifying the filling and labeling is responsible if the cartridge or container is stocked or restocked incorrectly by the personnel designated to load the cartridges or containers.

(d) The automated pharmacy system must use at least two separate verifications, such as bar code verification, electronic verification, weight verification, radio frequency identification (RFID) or similar process to ensure that the proper medication is being dispensed from the automated system.

(e) The medication shall bear a patient specific label that complies with Rule 64B16-28.108, F.A.C.

(f) The record of transactions with the patient accessed automated pharmacy system shall be available to authorized agents of the Department of Health. The record of transactions shall include:

1. Name of the patient.

2. Name, strength, and dosage form of the drug product dispensed.

3. Quantity of drug dispensed.

4. Date and time of dispensing.

5. Name of provider pharmacy.

6. Prescription number.

7. Name of prescribing practitioner.

8. Identity of the pharmacist who approved the prescription or order.

9. Identity of the person to whom the drug was released.

(4) The Florida pharmacist responsible for filling, verifying, or loading the automated pharmacy system shall be responsible for her or his individual action.

(5) A prescription dispensed pursuant to the requirements of this rule shall be deemed to have been certified by the pharmacist.

Rulemaking Authority 465.005, 465.022 FS. Law Implemented 465.018, 465.022 FS. History–New 11-29-04, Amended 12-30-07, 1-1-10.