## 40A-2.051 Exemptions.

(1) A water use permit shall not be required for domestic water use.

(2) An Individual Water Use Permit shall not be required for withdrawals of water from non-community public supply wells four (4) inches or smaller in diameter, withdrawing an annual daily average of 15,000 gallons or less in Permit Area A.

(3) An Individual Water Use Permit shall not be required for wells constructed and used for temporary testing or monitoring purposes. However, prior to the conversion of a test or monitor well to a production well, a water use permit shall be obtained from the District, if required, according to the provisions of Rule 40A-2.041, F.A.C.

(4) An Individual Water Use Permit shall not be required for aquifer or ground water quality remediation projects provided the following conditions are met: the project is conducted under the auspices of the Department or U.S. Environmental Protection Agency, the treated effluent returned meets applicable Department of Environmental Protection water quality standards, the treated effluent is returned via infiltration or direct injection into the same formation and supply source from which it was obtained, and a preliminary well abandonment plan is submitted to the District.

(5) An Individual Water Use Permit shall not be required for dewatering activities in construction sites, as long as the dewatering activity has a duration of six (6) months or less.

(6) An Individual Water Use Permit shall not be required for nonpublic supply shallow wells four (4) inches or smaller in diameter, withdrawing an annual daily average of 15,000 gallons or less of water from the shallow sand aquifer in the portion of Permit Area A found in the counties of Bay, Franklin, Gulf, Okaloosa and Walton, and which do not penetrate any competent and continuous confining formation.

(7) An Individual Water Use Permit shall not be required for non-public supply shallow wells, having a depth no greater than one hundred (100) feet, four (4) inches or smaller in diameter, withdrawing an annual daily average of 15,000 gallons or less of water from the shallow sand aquifer in the portion of Permit Area A found in Escambia and Santa Rosa counties, and which do not penetrate any competent and continuous confining formation.

(8) An Individual Water Use Permit shall not be required for a single non-public supply well four (4) inches or smaller in diameter, withdrawing an annual daily average of 15,000 gallons or less of water which is located in Gadsden County outside of the Upper Telogia Creek Water Resource Caution Area.

(9) An Individual Water Use Permit shall not be required for ground water used for heating and cooling systems which withdraw less than an annual daily average of 100,000 gallons and provide for the return of non-treated uncontaminated water, by means of a closed system, to the same subsurface formation and supply source from which the water was obtained.

(10) An Individual Water Use Permit shall not be required for water obtained from holding ponds not constructed in wetlands and not recharged by ground water infiltration or by a river, stream, or other naturally occurring water course(s).

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.171, 373.216, 373.219 FS. History–New 10-1-82, Amended 5-17-83, 3-1-84, 1-5-86, 8-1-89, 5-31-92, 11-2-92, 10-1-95, 7-1-98, 1-1-05, 2-27-06, 1-4-10.