- 40A-2.101 Content of Application.

(1) All Individual Water Use Permit applications shall include one original and one copy of the following:

(a) A completed District application appropriate for the specified use; either:

1. Consumptive Use Permit Application for a Public Water Supply, NWFWMD Form No. A2-A, effective July 1, 1998;

2. Consumptive Use Permit Application for Agricultural, Aquaculture and Golf Course Water Uses, NWFWMD Form No. A2-B, effective July 1, 1998;

3. Consumptive Use Permit Application for Landscape Uses, NWFWMD Form No. A2-C, effective July 1, 1998; or

4. Consumptive Use Permit Application for Other Uses, NWFWMD Form No. A2-D, effective July 1, 1998.

These forms are hereby incorporated by reference and can be obtained from the District offices in Midway-Gadsden County, Crestview or Marianna or from the District’s website.

(b) The information required by Section 373.229, F.S.;

(c) An accurate description of the property by Section, Township and Range on which the withdrawal facility is located and which is owned or otherwise controlled by the applicant, an accurate sketch or map showing the location and boundaries of such property and the location of existing and proposed wells and surface water withdrawal facilities as specified by the forms referenced in subsection 40A-2.101(1), F.A.C.;

(d) Water conservation plans and measures, if any, that are employed or are to be employed in the area of use;

(e) A determination of the potential impact of the withdrawal on any existing legal users and on the water resources of the area;

(f) Any other information demonstrating that the water use meets the criteria and conditions established in Rule 40A-2.301, F.A.C.

(g) Hydrogeological or engineering analysis and reports submitted by an applicant in support of an application shall be signed and sealed as provided by Florida Statutes.

(2) A permit application shall be accompanied by the appropriate application fee identified in Rule 40A-2.201, F.A.C. Failure to provide the required fee shall result in the denial of the permit request.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.109, 373.223, 373.229, 403.0877 FS. History–New 10-1-82, Amended 1-5-86, 5-31-92, 11-2-92, 11-1-93, 10-1-95, 7-1-98, 1-4-10.