## 5F-2.003 Registration and Identification.

(1) All terminal suppliers, importers, and wholesalers registered with the Florida Department of Revenue and manufacturers shall submit DACS Form 03202, Gasoline and Oil Inspection Affadavit and Inspection Fee Report, Rev. 8/09, to the Department before selling or offering for sale any pertroleum fuel in this state. The applicant shall also list all manufacturers, terminal suppliers, wholesalers, and/or importers of the petroleum fuel to be sold and establish responsibility for payment of the inspection fee pursuant to Section 525.09, F.S. The applicant must also identify themselves as a manufacturer, terminal supplier, wholesaler, or importer as defined below. The inspection fee shall be paid using DACS Form 03222, Report of Gasoline, Kerosene and Fuel Oil #1 Sales in the State of Florida, Rev. 10/09. The documents referenced in this subsection are hereby adopted and incorporated by reference and can be viewed and obtained by visiting http://www.freshfromflorida.com/onestop/std/petinsp.html.

(a) A “manufacturer” is any company or business entity producing petroleum fuel.

(b) A “terminal supplier” for purposes of this rule chapter means any position holder that has been licensed by the Department of Revenue as a terminal supplier, that has met the requirements of Sections 206.05 and 206.90, F.S., and that is registered under the Internal Revenue Code (26 USC 4101) for transactions involving the bulk storage and transfer of taxable motor or diesel fuels.

(c) A “wholesaler” for purposes of this rule chapter means any person who holds a valid wholesaler of taxable fuel license issued by the Florida Department of Revenue as a wholesaler as defined in Section 206.01(4), F.S.

(d) An “importer” for purposes of this rule chapter means any person that has met the requirements of Section 206.051, F.S., and is licensed by the Department of Revenue to import motor fuel or diesel fuel upon which no pre-collection of tax has occurred, other than through bulk transfer, into this state by common carrier or company-owned trucks.

(2) Every retail gasoline dispenser shall have the octane rating of the gasoline being sold therefrom conspicuously and firmly posted in a manner conforming with 16 CFR Part 306.12 (2008), which is hereby adopted by reference. Copies of this publication may be obtained from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402, or at http://www.gpoaccess.gov/index.html.

(3) Every retail gasoline dispenser shall have the grade designation of the gasoline being sold therefrom conspicuously and firmly attached thereto. The octane rating of gasoline sold using the following grade designations must meet the minimum octane rating indicated:

| Grade Designation | Minimum Octane Rating |
| --- | --- |
| Premium, Super, Supreme, High Test | 91 |
| Midgrade, Plus | 89 |
| Regular, Unleaded | 87 |

(4) All racing gasoline or gasoline designed for special use that is kept, offered, or exposed for sale, or sold at retail that does not meet standards established in subsection 5F-2.001(1), F.A.C.:

(a) May not be advertised or represented, in writing or orally, to be suitable for use in ordinary motor vehicles or boat motors,

(b) Shall be accompanied by a conspicuous sign on the dispenser stating that the product does not meet gasoline specifications.

(5) Every retail kerosene dispenser or container-package of kerosene offered for sale at retail shall be conspicuously labeled “kerosene” immediately followed by the designation: 1-K or 2-K, whichever is applicable.

(6) Beginning June 1, 2006, every retail diesel fuel dispenser shall have the proper grade designation to indicate the sulfur content of the diesel fuel being sold therefrom conspicuously and firmly attached thereto. Lettering must be in block letters of no less than 24-point bold type and printed in a color contrasting the background. The label shall be placed on the vertical surface of each dispenser housing on each side that has measure and price meters. The label shall be on the upper two-thirds of the dispenser and clearly visible to anyone dispensing fuel from the dispenser. The label shall include all of the following text relating to the grade of diesel fuel sold through the dispenser:

(a) For all ultra-low sulfur highway diesel fuel:

ULTRA-LOW SULFUR HIGHWAY DIESEL FUEL (15 ppm Sulfur Maximum)

Required for use in all model year 2007 and later highway diesel vehicles and engines.

Recommended for use in all diesel vehicles and engines.

(b) For all low sulfur highway diesel fuel:

LOW SULFUR HIGHWAY DIESEL FUEL (500 ppm Sulfur Maximum)

WARNING – Federal law prohibits use in model year 2007 and later highway vehicles and engines. Its use may damage these vehicles and engines.

(c) For ultra-low sulfur non-highway diesel fuel:

ULTRA-LOW SULFUR NON-HIGHWAY DIESEL FUEL (15 ppm Sulfur Maximum)

Required for use in all model year 2011 and newer non-road diesel engines.

Recommended for use in all non-road, locomotive, and marine diesel engines.

WARNING – Federal law prohibits use in highway vehicles or engines.

(d) For low sulfur non-highway diesel fuel:

LOW SULFUR NON-HIGHWAY DIESEL FUEL (500 ppm Sulfur Maximum)

WARNING – Federal law prohibits use in highway vehicles or engines.

(e) For high sulfur non-highway diesel fuel:

HIGH SULFUR NON-HIGHWAY DIESEL FUEL (may exceed 500 ppm Sulfur, but not more than 5,000 ppm Sulfur)

WARNING – Federal law prohibits use in highway vehicles or engines.

May damage non-road diesel engines required to use low-sulfur or ultra-low sulfur diesel fuel.

(f) For all fuel (heating) oil:

WARNING – Federal law prohibits use in highway vehicles or engines, or in non-road, locomotive, or marine diesel engines.

Its use may damage these diesel engines.

(7)(a) All gasoline kept, offered, or exposed for sale, or sold, at retail, containing at least one percent but no more than 10% by volume of ethanol, methanol, or a combination shall be identified as “contains 10% or less ethanol” or “contains 1-10% ethanol,” “contains 10% or less methanol” or “contains 1-10% methanol,” or “contains 10% or less ethanol/methanol” or “contains 1-10% ethanol/methanol”, or other definitive equivalent statement declaring the presence of methanol, ethanol, or combination on the upper fifty percent of the dispenser front panel in a position clear and conspicuous from the driver’s position, in a type at least 1/2 inch in height and 1/16 inch stroke (width of type). Gasoline kept, offered, or exposed for sale, or sold, at retail, containing specifically ten percent by volume of ethanol may be identified as “E10” and “contains ethanol” or other definitive equivalent statement declaring the presence of ethanol on the upper fifty percent of the dispenser front panel in a position clear and conspicuous from the driver’s position, in a type at least 1/2 inch in height and 1/16 inch stroke (width of type).

(b) Labels placed on any multi-product dispensers must be placed in a position and contain wording so as to clearly and conspicuously identify the presence of ethanol in all such products that contain ethanol. Such labels and placement must not be in such a manner that may suggest products not blended with ethanol contain ethanol. This may be accomplished by use of the words “all gasoline” on the label; specifically identify each product that contains ethanol through language or by arrangement of labels on the dispenser; or through other such clear and conspicuous means.

(8) All alternative fuel kept, offered, or exposed for sale, or sold, at retail that contains more than 10% ethanol, methanol or other alcohol shall be identified by a name indicating the amount and type(s) of ethanol, methanol or other alcohol in the fuel and shall be labeled as such on the vertical surface of each dispenser housing in a manner conforming with the layout, type size and setting, color, and label protection requirements of 16 CFR Part 306.12 (2008). Copies of this publication may be obtained from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402, or at http://www.gpoaccess.gov/index.html.

(a) Ethanol mixed with gasoline and containing an ethanol content of nominally 75%-85% shall be identified as “E85 Fuel Ethanol” and “For Flex Fuel Vehicles Only.”

(b) Methanol mixed with gasoline and containing a methanol content of nominally 80%-85% shall be identified as “M85 Fuel Ethanol” and “For Flex Fuel Vehicles Only.” Such fuels shall also contain a label on the vertical surface of each dispenser housing on each side that has measure and price meters and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type) that reads as follows:

THIS PRODUCT CONTAINS METHANOL AND MAY NOT BE SUITABLE FOR USE

IN ALL FLEX-FUEL VEHICLES. CONSULT WITH YOUR ENGINE MANUFACTURER

OR OWNER’S MANUAL BEFORE USE.

(9) All biodiesel blends containing diesel fuel kept, offered, or exposed for sale, or sold, at retail that contain more than 5% biodiesel shall be identified as “Biodiesel Blend (BXX),” where XX represents the volume percent biodiesel in the biodiesel blend. All biodiesel or B99 kept, offered, or exposed for sale, or sold, at retail shall be identified as “Biodiesel (BXX),” where XX represents the volume percent biodiesel and shall be labeled with the proper sulfur grade designation “S15 (15 ppm Sulfur Maximum)” or “S500 (500 ppm Sulfur Maximum). Each dispenser shall be labeled as such on the vertical surface of each dispenser housing on each side that has measure and price meters with a sign clearly visible and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type).

(a) Every dispenser that dispenses biodiesel, B99, or a biodiesel blend containing diesel fuel with a biodiesel percentage greater than 5% shall contain a label on the vertical surface of each dispenser housing on each side that has measure and price meters and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type) that reads as follows:

THIS PRODUCT CONTAINS BIODIESEL. CONSULT WITH YOUR ENGINE

MANUFACTURER OR OWNER’S MANUAL BEFORE USING THIS PRODUCT.

(b) Every dispenser that dispenses a biodiesel blend containing diesel fuel shall also possess the proper diesel fuel sulfur grade designation conspicuously and firmly attached thereto, as specified in subsection (6) of this section, to indicate the grade of the biodiesel blend being sold therefrom. The diesel fuel sulfur grade designation shall apply to the blended fuel.

(10) All biodiesel blends containing fuel oil kept, offered, or exposed for sale, or sold, at retail that contain more than 5% biodiesel shall be identified as “Fuel Oil Containing Biodiesel (XX),” where XX represents the volume percent biodiesel in the biodiesel blend, and shall be labeled as such on the vertical surface of each dispenser housing on each side that has measure and price meters with a sign clearly visible and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type). Every dispenser that dispenses a biodiesel blend containing fuel oil with a biodiesel percentage greater than 5% shall contain a label on the vertical surface of each dispenser housing on each side that has measure and price meters and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type) that reads as follows:

THIS PRODUCT CONTAINS BIODIESEL. CONSULT WITH YOUR

EQUIPMENT OR ENGINE MANUFACTURER OR OWNER’S MANUAL

BEFORE USING THIS PRODUCT.

(11) Any other alternative fuel as defined by this section shall be labeled clearly and unambiguously on the vertical surface of each dispenser housing on each side that has measure and price meters with a sign clearly visible and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type).

(12) In accordance with Section 525.035, F.S., any petroleum fuel that fails to meet applicable labeling requirements, as adopted in this rule, shall be placed under Stop Sale Order by the Department using DACS Form 03206, Stop Sale Order, Rev. 1/09, and the measuring devices and storage tanks of said product shall be sealed by the Department with DACS Form 03537, Warning Tag, Rev. 1/09, prohibiting the sale of the petroleum fuel. The petroleum fuel shall be released by the Department from the Stop Sale Order in accordance with Section 525.035, F.S., using DACS Form 03209, Release, Rev. 1/09. The documents referenced in this subsection are hereby adopted and incorporated by reference and can be viewed and obtained by visiting http://www.freshfromflorida.com/onestop/std/petinsp.html.

(13) In accordance with Section 525.037, F.S., any petroleum fuel that fails to meet applicable standards, as adopted in this rule, shall be placed under Stop Sale Order by the Department using DACS Form 03206, Stop Sale Order, Rev. 1/09, and the measuring devices and storage tanks of said petroleum fuel shall be sealed by the Department with DACS Form 03537, Warning Tag, Rev. 1/09, prohibiting the sale of the petroleum fuel. The petroleum fuel shall be released by the Department from the Stop Sale Order in accordance with Section 525.037, F.S., using DACS Form 03209, Release, Rev. 1/09. The documents referenced in this subsection are hereby adopted and incorporated by reference and can be viewed and obtained by visiting http://www.freshfromflorida.com/onestop/std/petinsp.html.

Rulemaking Authority 525.14, 570.07(23) FS. Law Implemented 525.01, 525.09, 525.035, 525.037, 525.14 FS. History–Amended 12-31-74, 2-13-80, 5-3-83, 4-22-85, Formerly 5F-2.03, Amended 11-28-89, 1-24-93, 11-24-94, 6-1-06, 5-6-08, 1-3-10.