- 64E-5.627 Use of Unsealed Radiopharmaceuticals, Generators, and Reagent Kits for Imaging and Localization Studies.

A licensee is allowed to use any radioactive material in a diagnostic radiopharmaceutical, or any generator, or reagent kit, for preparation and diagnostic use of a radiopharmaceutical containing radioactive material for medical use under the following conditions:

(1) When a written directive is not required by subsection 64E-5.607(3), F.A.C., the licensee must satisfy the following:

(a) Obtained from a manufacturer or pharmacy licensed as specified in subsection 64E-5.210(10), F.A.C., or in equivalent U.S. Nuclear Regulatory Commission or Agreement State regulations; or

(b) Radioactive material is obtained from and prepared by a NRC or agreement state licensee for use in research in accordance with a Radioactive Drug Research Committee-approved protocol or an IND protocol accepted by FDA; or

(c) Radioactive material is prepared by the licensee for use in research in accordance with a Radioactive Drug Research Committee-approved application or an IND protocol accepted by FDA; or

(d) Radioactive material is prepared by:

1. An authorized nuclear pharmacist;

2. Except for sodium iodide I-131 in quantities greater than 30 microcuries (1.11 MBq), a physician who is an authorized user and meets the training requirements specified in Rules 64E-5.650, 64E-5.660 and sub-subparagraph 64E-5.650(3)(a)2.g., F.A.C.; or

3. An individual under the supervision of an authorized user as specified in paragraphs 64E-5.601(3)(a) and (b), 64E-5.607(3)(e) or subsection 64E-5.608(1), F.A.C.; or

(e) The authorized user must satisfy the training and experience specified in Rule 64E-5.650 or 64E-5.657, F.A.C.

(2) When a written directive is required by subsection 64E-5.607(3), F.A.C., the licensee must satisfy the following:

(a) Radioactive material is obtained from a manufacturer or pharmacy licensed as specified in subsection 64E-5.210(10), F.A.C., or in equivalent NRC or agreement state regulations; or

(b) Radioactive material is obtained from and prepared by an NRC or agreement state licensee for use in research in accordance with a Radioactive Drug Research Committee-approved protocol or an IND protocol accepted by FDA; or

(c) Radioactive material is prepared by the licensee for use in research in accordance with a Radioactive Drug Research Committee-approved application or an IND protocol accepted by FDA; or

(d) Radioactive material is prepared by:

1. An authorized nuclear pharmacist;

2. For sodium iodide I-131 in quantities greater than 30 microcuries (1.11 MBq) a physician who is an authorized user and meets the training requirements specified in Rule 64E-5.650 or 64E-5.660, F.A.C.; or

3. An individual under the supervision of an authorized user as specified in paragraphs 64E-5.601(3)(a) and (b), 64E-5.607(3)(e) or subsection 64E-5.608(1), F.A.C.

(e) The authorized user must satisfy the applicable training and experience specified in Rules 64E-5.657, 64E-5.660, 64E-5.661, 64E-5.662 or 64E-5.663, F.A.C.

(3) Only for oral administration of sodium iodide I-131 in quantities less than or equal to 33 millicuries (1.22 gigabecquerels) and when a written directive is required by subsection 64E-5.607(3), F.A.C., the licensee must satisfy the following:

(a) Radioactive material is obtained from a manufacturer or pharmacy licensed as specified in subsection 64E-5.210(10), F.A.C., or in equivalent NRC or agreement state regulations; or

(b) Radioactive material is obtained from and prepared by a NRC or agreement state licensee for use in research in accordance with a Radioactive Drug Research Committee-approved protocol or an IND protocol accepted by FDA; or

(c) Radioactive material is prepared by the licensee for use in research in accordance with a Radioactive Drug Research Committee-approved application or an IND protocol accepted by FDA; or

(d) Radioactive material is prepared by:

1. An authorized nuclear pharmacist;

2. For sodium iodide I-131 in quantities greater than 30 microcuries (1.11 MBq), a physician who is an authorized user and meets the training requirements specified in Rule 64E-5.650 or 64E-5.660, F.A.C.; or

3. An individual under the supervision of an authorized user as specified in paragraphs 64E-5.601(3)(a) and (b), 64E-5.607(3)(e) or subsection 64E-5.608(1), F.A.C.

(e) The authorized user must satisfy the applicable training and experience specified in Rules 64E-5.657, 64E-5.660 or 64E-5.661, F.A.C.

(4) A licensee shall use radioactive aerosols or gases only if application on DH Form 1322 12/09 is made to and approved by the department and the requirements of Rule 64E-5.629, F.A.C., are met.

Rulemaking Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Amended 5-12-93, Formerly 10D-91.735, Amended 8-6-01, 2-11-10.