- 64E-5.654 Training for Use of Sealed Sources for Diagnosis.

Except as provided in Rule 64E-5.657, F.A.C., the licensee shall require the authorized user of a sealed source in a device specified in Rule 64E-5.631, F.A.C., to:

(1) Be certified by a specialty board whose certification process includes all of the requirements in subsections 64E-5.654(2) and (3), F.A.C., of this section and whose certification has been recognized by the NRC or an agreement state.  (The names of board certifications which have been recognized by the NRC or an agreement state will be posted on the NRC’s Web page at http://www.nrc.gov/materials/miau/med-use-toolkit/spec-board-cert.html.); or

(2) Have completed 8 hours of classroom and laboratory training in basic radionuclide handling techniques specifically applicable to the use of the device.  The training must include the following:

(a) Radiation physics and instrumentation;

(b) Radiation protection;

(c) Mathematics pertaining to the use and measurement of radioactivity; and

(d) Radiation biology; and

(3) Have completed training in the use of the device for the uses requested.

Rulemaking Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.774, Amended 2-11-10.