- 64E-5.664 Other Medical Uses of Radioactive Material or Radiation From Radioactive Material.

A licensee may use radioactive materials or a radiation source from radioactive materials approved for medical use which is not specifically addressed in Rule 64E-5.626, 64E-5.627, 64E-5.630, 64E-5.631, 64E-5.632 or 64E-5.634, F.A.C., provided the following are satisfied:

(1) The applicant or licensee has received written approval from the department in a license or license amendment and uses the material in accordance with the regulations and specific license conditions the department considers necessary for the medical use of the material;

(2) The applicant or licensee has submitted the information required by Rules 64E-5.207 and 64E-5.208, F.A.C.; and

(3) The licensee shall provide specific information on the following:

(a) Radiation safety precautions and instruction;

(b) Methodology for measuring dosages or doses to be administered to patients or human research subjects;

(c) Calibration, maintenance, and repair of instruments and equipment necessary for radiation safety; and

(d) Security of radioactive materials, training or experience of individuals involved in these uses or other information not specified in paragraph 64E-5.664(3)(a), (b) or (c), F.A.C.

Rulemaking Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 2-11-10.