- 58A-5.023 Physical Plant Standards.

(1) NEW FACILITIES.

(a) Newly Constructed Facilities. Newly constructed facilities that are to be licensed as assisted living facilities and any subsequent additions, modifications, alterations, renovations or refurbishing of such facilities should be aware of the following standards:

1. Chapter 4, Section 434, of the Florida Building Code, as adopted in Rule 9N-1.001, F.A.C., Florida Building Code Adopted; and

2. Section 633.022, F.S., Uniform Firesafety Standards, and Rule Chapter 69A-40, F.A.C., The Uniform Fire Safety Standards for Assisted Living Facilities, except for the specific National Fire Protection Association codes described in Section 429.41, F.S.

(b) New Facilities in Converted Buildings. Existing structures not previously licensed as assisted living facilities that are to be converted to assisted living facilities and any subsequent additions, modifications, alterations, renovations or refurbishing of such facilities should be aware of the following standards:

1. Chapter 4, Section 434, of the Building Code, as adopted in Rule 9N-1.001, F.A.C., Florida Building Code Adopted; and

2. Section 633.022, F.S., Uniform Firesafety Standards, and Rule Chapter 69A-40, F.A.C., The Uniform Fire Safety Standards for Assisted Living Facilities, except for the specific National Fire Protection Association codes described in Section 429.41, F.S.

(2) EXISTING FACILITIES.

(a) An assisted living facility that was initially licensed prior to the effective date of this rule must comply with the rule or building code in effect at the time of initial licensure, except that any part of the facility included in additions, modifications, alterations, refurbishing, renovations or reconstruction must comply with the codes and standards referenced in subsection (1) of this rule. Determination of the installation of a fire sprinkler system in an existing facility must comply with the requirements described in Section 429.41, F.S.

(b) A facility undergoing change of ownership shall be considered an existing facility for purposes of this rule.

(3) OTHER REQUIREMENTS.

(a) All facilities must:

1. Provide a safe living environment pursuant to Section 429.28(1)(a), F.S.; and

2. Must be maintained free of hazards; and

3. Must ensure that all existing architectural, mechanical, electrical and structural systems and appurtenances are maintained in good working order.

(b) Pursuant to Section 429.27, F.S., residents shall be given the option of using their own belongings as space permits. When the facility supplies the furnishings, each resident bedroom or sleeping area must have at least the following furnishings:

1. A clean, comfortable bed with a mattress no less than 36 inches wide and 72 inches long, with the top surface of the mattress a comfortable height to ensure easy access by the resident;

2. A closet or wardrobe space for hanging clothes;

3. A dresser, chest or other furniture designed for storage of personal effects;

4. A table, bedside lamp or floor lamp, and waste basket; and

5. A comfortable chair, if requested.

(c) The facility must maintain master or duplicate keys to resident bedrooms to be used in the event of an emergency.

(d) Residents who use portable bedside commodes must be provided with privacy during use.

(e) Facilities must make available linens and personal laundry services for residents who require such services. Linens provided by a facility shall be free of tears, stains and not be threadbare.

(4) FACILITIES WITH 16 OR FEWER RESIDENTS: Pursuant to Section 429.41, F.S., facilities with 16 or fewer residents are not required to maintain an accessible telephone in each building where residents reside, maintain written staff job descriptions, have awake night staff, or maintain standardized recipes as provided in paragraphs 58A-5.0182(6)(g), 58A-5.019(2)(e), 58A-5.019(4)(a), and 58A-5.020(2)(b), F.A.C., respectively.

Rulemaking Authority 429.41 FS. Law Implemented 429.27, 429.41 FS. History–New 5-14-81, Amended 1-6-82, 5-19-83, 9-17-84, Formerly 10A-5.23, Amended 10-20-86, 6-21-88, 8-15-90, 9-30-92, Formerly 10A-5.023, Amended 10-30-95, 6-2-96, 10-17-99, 7-30-06, 4-15-10.