- 40D-2.021 Definitions.

The following definitions shall apply Districtwide when used in this chapter and in the District’s Water Use Permit Information Manual Part B, “Basis of Review” (WUP Basis of Review) incorporated by reference in Rule 40D-2.091, F.A.C., except as specifically limited:

(1) “Alternative water supplies” and “alternative water supply” means saltwater; brackish surface water and brackish groundwater; surface water captured predominately during wet-weather flows; sources made available through the addition of new storage capacity for surface or ground-water; water that has been reclaimed after 1 or more public supply, municipal, industrial, commercial, or agricultural uses; the downstream augmentation of water bodies with reclaimed water; stormwater; and any other water supply source that is designated as non-traditional for a water supply planning region in the applicable regional water supply plan. Inclusion of reclaimed water and seawater in this definition of alternative water supplies does not alter the exemption from water use permitting for these sources (see Section 1.2, WUP Basis of Review).

(2) “Annual Average” means the annual average daily quantity that is the total quantity authorized by the District to be withdrawn from water sources in 1 year, divided by 365 days and expressed in gallons per day (gpd).

(3) “Change in Ownership or Control” with respect to Self-Relocation within the Southern Water Use Caution Area (SWUCA) means a person other than the permittee that has been granted a real property interest or lease interest in the property subject to the permit; but does not include a person with a familial relationship to the permittee.

(4) “Common Area” means areas designated for common use or enjoyment including entranceways, parking lots, areas around buildings, areas within roadway right of ways, (e.g., road and sidewalk medians), open spaces, community areas and public parks.

(5) “Drought Annual Average” means the annual average daily quantity in the SWUCA that is the total quantity authorized by the District to be withdrawn in 1 calendar year for irrigation based on a two-in-ten year drought, divided by 365 days and expressed in gallons per day (gpd).

(6) “MIA” means the Most Impacted Area within the Southern Water Use Caution Area located in Hillsborough, Manatee and Sarasota Counties as described in subparagraph 40D-2.801(3)(b)2., F.A.C.

(7) “Net Benefit” means activities or measures that will result in an improvement to a Minimum Flow or Level water body within the SWUCA that more than offsets the impact of a proposed withdrawal.

(8) “New Quantities” within the SWUCA means water that is not currently authorized to be withdrawn by the applicant or not currently authorized to be used for the intended use by the applicant. This includes applications to modify existing permits to increase quantities, and/or change the Permit Use Type (affecting only the modified portion) and applications for an initial permit. A modification to change crops or plants grown under an Agricultural Permit Use Type Classification or to change withdrawal location or Use Type that is authorized by the terms of the permit or site certification at the time of issuance, is not a change in Permit Use Type provided that the quantities do not increase. In addition, when land is mined and the land will be returned to the Use Type operation authorized under the water use permit (WUP) that existed prior to mining, such activity does not constitute a change in Use Type or New Quantity.

(9) “Reclaimed Water,” except as specifically provided in Chapter 62-610, F.A.C., means wastewater that has received at least secondary treatment and basic disinfection and is reused after flowing out of a domestic wastewater treatment facility.

(10) “Ridge Lakes” means those lakes located within the area formerly known as the Highlands Ridge Water Use Caution Area as described in subparagraph 40D-2.801(3)(b)3., F.A.C.

(11) “Self-Relocation” means a permit modification that authorizes a permittee to move all or a portion of its withdrawal located within the Southern Water Use Caution Area to a new location or locations owned or controlled by the permittee within the Southern Water Use Caution Area, with no change in ownership, control, or Use Type as set forth in Rule 40D-2.501, F.A.C., and no increase in quantities. Self-Relocation does not include changes in withdrawal location or Use Type that are authorized by the terms of the existing permit.

(12) “SWUCA” means the Southern Water Use Caution Area as described in paragraph 40D-2.801(3)(b), F.A.C.

(13) “Upper Peace River” means that portion of the Peace River beginning at the confluence of Saddle Creek and the Peace Creek Canal, and extending southerly to the United States Geological Survey Zolfo Springs River Gage No. 02295637 and including the watershed contributing to that portion of the Peace River.

Rulemaking Authority 373.044, 373.113, 373.118, 373.171 FS. Law Implemented 373.036, 373.0361, 373.042, 373.0421, 373.0831, 373.116, 373.117, 373.118, 373.149, 373.171, 373.1963, 373.216, 373.219, 373.223, 373.229, 373.239, 373.243 FS. History–New 1-1-07, Amended 12-30-08, 4-27-10.