- 6C7-8.010 Solar Thermal and Photovoltaic System Standards and Certification.

The Solar Thermal and PV System Certification Program applies to systems required by this regulation to be submitted to the Center by the Seller for evaluation and approval. Requirements for approval shall be those described in FSEC Standard 104-10, “Florida System Standards for Design and Installation of Solar Thermal Systems” (January 2010) or FSEC Standard 203-10, “Procedures for Photovoltaic System Design Review and Approval” (January 2010), whichever is applicable. A copy of each of these standards is incorporated in this regulation by reference.

(1) The System Approval Certificate will include but not be limited to:

(a) Identification of the primary and alternate major components of the system.

(b) A diagram of the system.

(2) As a condition of receiving the System Approval Certificate, the Seller shall submit specifications and application information pertaining to major components of the system and an owner’s manual describing installation, operation and maintenance for the system and its major components.

(3) The contents and format of the System Approval Certificate may be revised as deemed necessary by the Center.

Rulemaking Authority 377.05, 1001.74 FS. Law Implemented 377.05, 1001.74 FS. History–New 5-5-10.