## 6C7-8.008 Solar Thermal Collector and PV Module Certification.

(1) The Center shall provide the artwork for a Label of Certification to the Seller of a solar thermal collector that has met the requirements of FSEC Standard 101-10 and for which there are acceptable performance results, subject to compliance with the provisions of FSEC Standard 102-10. Contents of the Label of Certification shall include but not be limited to:

(a) Certification that the collector meets the minimum standards of the Center.

(b) A solar thermal collector performance rating in accordance with FSEC Standard 102-10.

(c) A measure of the solar thermal collector’s gross area.

(2) The Center shall provide the artwork for a Label of Certification to the Seller of PV modules that have been tested in compliance with the provisions of FSEC Standard 202-10. Contents of the label shall include PV module performance rating in accordance with FSEC Standard 201-10.

(3) As a condition of displaying a Label of Certification on a solar thermal collector or PV module documentation, the Seller must have received the artwork for the Label of Certification from the Center for that same model thermal collector or PV module, and shall only apply that Label of Certification to that specific model of the thermal collector or PV module.

(4) The contents and format of the artwork for the Label of Certification may be revised as deemed necessary by the Center.

Rulemaking Authority 377.705, 1001.74 FS. Law Implemented 377.705, 1001.74 FS. History–New 5-5-10.