- 62-304.800 Caloosahatchee River Basin TMDLs.

(1) Fecal Coliform Total Maximum Daily Load (TMDL) for Nine Mile Canal. The fecal coliform TMDL for Nine Mile Canal is 400 counts/100 mL, and is allocated as follows:

(a) The Wasteload Allocation (WLA) for wastewater point sources is not applicable;

(b) The WLA for discharges subject to the Department’s National Pollutant Discharge Elimination System (NPDES) Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin to result in a 36 percent reduction of in-stream fecal coliform concentrations, based on the measured concentrations from the 1997 to June 30, 2004 period;

(c) The Load Allocation (LA) for nonpoint sources is a 36 percent reduction of in-stream fecal coliform concentrations, based on the measured concentrations from the 1997 to June 30, 2004 period; and,

(d) The Margin of Safety is implicit.

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is with the understanding that the combined reductions from anthropogenic point and nonpoint sources should result in the required reduction of in-stream fecal coliform concentrations. However, it is not the intent of this TMDL to abate natural background conditions.

(2) The TMDL for the Tidal Caloosahatchee estuary downstream of the S-79 Franklin Lock is 9,086,094 pounds of Total Nitrogen (TN) per year, which represents, based on model simulated flows and concentrations from 2003 through 2005, a 22.8% reduction. This load reduction will be allocated as follows:

(a) The WLA for point sources discharging to the estuary will remain unchanged from the permits currently in effect as of the date of this rule;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program will have a 22.8% load reduction relative to its overall contribution to the anthropogenic load;

(c) The LA for nonpoint sources downstream of the S-77 lock will have a 22.8% load reduction relative to the contribution to the overall anthropogenic load;

(d) The Margin of Safety is both implicit and explicit (in the form of an added 3% reduction in total nitrogen).

(3) Trout Creek. The TMDL for Trout Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2002 to 2010 period, will require a 58 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2002 to 2010 period, will require a 58 percent reduction of sources contributing to exceedances of the criteria; and,

(d) The Margin of Safety is implicit.

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 8-3-06, Amended 8-13-09, 8-26-10.