62-306.300 General Requirements.

(1) To be eligible to generate and trade credits between point and nonpoint sources, the following must be met:

(a) Credits generated by a point source must be confirmed by effluent monitoring for the pollutant subject to the trade. This monitoring must be undertaken throughout the effective period of the trade.

(b) Credits generated by a nonpoint source can either be measured where treatment methods allow influent and effluent water quality to be measured, or can be estimated for the type of operation. However, if credits are estimated, the applicant must provide reasonable assurance, using peer reviewed literature-based estimates of removal efficiency, that the estimate is scientifically defensible, and any applicable uncertainty factor shall be applied.

(c) At least one of the trading parties must have an individual wastewater or stormwater permit. The activities necessary to generate credits must be authorized under the appropriate point source stormwater or wastewater NPDES permit. The permit application shall describe how the activities necessary to achieve the load reductions required to generate the credits will be implemented and monitored.

(d) Wastewater or stormwater facilities that purchase or sell credits must revise their existing NPDES permit or acquire a new NPDES permit if necessary, to authorize the use or sale of such credits. The NPDES permit shall reflect the amount by which the permitted load has been adjusted by the purchase or sale of credits.

(e) Credits are only generated when a source’s load is reduced below the baseline established for the entity, which is the wasteload allocation for point sources. For a trade involving credits generated by a nonpoint source, the loading from the nonpoint source must be less than that expected following implementation of applicable BMPs and any additional reductions required for the nonpoint source category under the BMAP.

(f) Credits must be used in the same calendar year in which they are generated.

(2) No facility or activity may generate or use water quality credits until such time as all required permits have been obtained. Facilities that meet their TMDL obligations via trading must demonstrate that their discharge, including any trades, will not cause or contribute to violations of water quality standards. Credits generated under this part shall not be used to offset violations of a discharge permit or to comply with any applicable technology-based effluent limits (TBELs).

(3) Water quality credit trades cannot result in an increased nutrient load above the LSJR TMDLs.

(4) Nothing in this rule is intended to limit any actions by federal, state, or local agencies, affected persons, or citizens pursuant to other rules or regulations.

Rulemaking Authority 403.067(9) FS. Law Implemented 403.067(8)-(10) FS. History–New 9-6-10.