# CHAPTER 15C-1

# GENERAL

# 15C-1.001	Watering Designed Equipment

# 15C-1.002	Goat Tags, Requirement for (Repealed)

# 15C-1.003	Temporary Tags; Definitions and Use

# 15C-1.004	Temporary Tags; Distribution and Issuance; Maintenance of Records

# 15C-1.005	Temporary Tags; Display (Repealed)

# 15C-1.006	Transporting New Trailers; Licenses

# 15C-1.007	Motor Vehicle Dealers; Residence

# 15C-1.008	Preliminary Filing of an Application for a Motor Vehicle Dealer’s License; Procedure (Repealed)

# 15C-1.0081	Motor Vehicle Dealer Requirements (Repealed)

# 15C-1.009	Automobiles for Private Use; Definitions (Repealed)

# 15C-1.010	Minimum Standards for Anchors and Tie-downs, Over-the-Roof Ties, for Mobile Homes (Repealed)

# 15C-1.0101	Definitions

# 15C-1.0102	Installation Standards for Mobile/Manufactured Homes and Park Trailers

# 15C-1.0103	Foundations and Piers

# 15C-1.01031	Installation Standards for HUD Manufactured Homes and Park Trailers in Exposure “D” Areas

# 15C-1.0104	Installation Standards for Anchors and Tie-downs

# 15C-1.0105	Testing Specifications for Straps, Piers, Anchors and All Components

# 15C-1.0106	Pier Specifications

# 15C-1.0107	Strap Test Specifications

# 15C-1.0108	Anchor and Anchor Component Test Specifications

# 15C-1.0109	Manufacturer Quality Assurance Program and Monitoring

# 15C-1.011	Aircraft Registration and Display (Repealed)

# 15C-1.0110	Rule Review (Repealed)

# 15C-1.012	Exemption and Identification of Vehicles Exclusively Operated by the Federal Government (Repealed)

# 15C-1.013	Translation of Foreign Documents

# 15C-1.014	Requirements

## 15C-1.001 Watering Designed Equipment.

Motor vehicles and trailers equipped with tanks fixed or mounted thereon, designed and used for transporting water or liquid solutions from the source of supply to groves or fields for irrigating, spraying or otherwise distributing such material on crops or citrus trees, are classified as motor vehicles that are required to register for and be licensed with a flat $32.50 tax.

Rulemaking Authority 320.011, 320.17 FS. Law Implemented 320.17, 320.08(5)(b) FS. History–New 6-22-76, Formerly 15C-1.01.

## 15C-1.002 “Goat” Tags, Requirement for.

Rulemaking Authority 320.011, 320.17 FS. Law Implemented 320.17, 320.08(3)(e) FS. History–New 6-22-76, Formerly 15C-1.02, Repealed 8-5-12.

## 15C-1.003 Temporary Tags; Definitions and Use.

(1) For the purpose of this rule and Rule 15C-1.004, F.A.C., the following words have the meaning indicated:

(a) Temporary tag – A white cardboard license plate designed and distributed by the Division of Motorist Services.

(b) Issuer – Includes motor vehicle dealers licensed under Section 320.27, F.S., mobile home and recreational vehicle dealers licensed under Section 320.77, F.S.; and banks, credit unions and other financial institutions who issue temporary tags for the purpose of demonstrating repossessions for sale.

(2) Temporary tags may be used only until midnight of the thirtieth (30th) calendar day following the day of issuance. The day of issuance shall count as the first day.

Rulemaking Authority 320.011 FS. Law Implemented 320.131 FS. History–New 6-22-76, Formerly 15C-1.03, Amended 3-4-96.

## 15C-1.004 Temporary Tags; Distribution and Issuance; Maintenance of Records.

(1) Issuers may obtain temporary tags from the Division of Motorist Services in Tallahassee, the nearest regional office of the division, a county tax collector’s office, tax collector’s branch agency (tag office), or authorized agent in lots of five (5). Singular tags may be purchased in a casual or private sale or when a motor vehicle must be weighed prior to registration.

(2) Each temporary tag issued shall be completed by the issuer by filling in the information required on such tag in “Higgins” or similar type of waterproof ink.

(3) Issuers shall maintain records of all temporary tags purchased and all temporary tags issued, in numerical order, for a minimum of three years from the date of issuance of any such tag. Records shall be maintained so that issuer can account for each temporary tag purchased. Records of temporary tags issued shall include the name and address of the person to whom each temporary tag is issued, the make and vehicle identification number of the vehicle to which the temporary tag is assigned and the date on which the temporary tag was issued.

(4) A temporary tag bearing erasures, white out or corrections is void, regardless of the reason why such modification is made and such tag shall be marked “VOID” across the face. Any temporary tag voided by an issuer and marked “VOID” across the face of the tag shall be maintained as part of the temporary tag records required hereunder.

Rulemaking Authority 320.011 FS. Law Implemented 320.131 FS. History–New 6-22-76, Formerly 15C-1.04, Amended 3-4-96.

## 15C-1.005 Temporary Tags; Display.

Rulemaking Authority 320.011 FS. Law Implemented 320.131 FS. History–New 6-22-76, Formerly 15C-1.05, Repealed 3-4-96.

## 15C-1.006 Transporting New Trailers; Licenses.

Florida manufactures of trailers (including mobile homes and new boat trailers) may use the highways of this state for the purpose of moving such vehicle from the place of manufacture to the place of sale by means of towing by a duly registered and licensed motor vehicle, without their having affixed to them the license plate required by law to be displayed upon vehicles using the highways for the purpose of transporting or carriage of property or persons.

Rulemaking Authority 320.011 FS. Law Implemented 320.17 FS. History–New 6-22-76, Formerly 15C-1.06.

## 15C-1.007 Motor Vehicle Dealers; Residence.

All applicants for motor vehicle dealer’s licenses and all licensed motor vehicle dealers shall be and continue to be authorized to do business in this state. Whenever the Director of the Division of Motorist Services determines that any motor vehicle dealer is not authorized to do business in this state, the director shall cancel, deny renewal, or otherwise terminate the license granted.

Rulemaking Authority 320.011 FS. Law Implemented 320.27(3) FS. History–New 6-22-76, Formerly 15C-1.07.

## 15C-1.008 Preliminary Filing of an Application for a Motor Vehicle Dealer’s License; Procedure.

Rulemaking Authority 320.011, 320.27(3), 320.69 FS. Law Implemented 320.27, 320.642 FS. History–New 6-22-76, Amended 2-12-80, Formerly 15C-1.08, Repealed 4-19-94.

## 15C-1.0081 Motor Vehicle Dealer Requirements.

Rulemaking Authority 320.0111, 320.27(3) FS. Law Implemented 320.27 FS. History–New 11-12-84, Formerly 15C-1.081, Repealed 5-12-85.

## 15C-1.009 Automobiles for Private Use; Definitions.

Rulemaking Authority 320.011 FS. Law Implemented 320.01(1)(a), 320.08(2) FS. History–New 6-22-76, Formerly 15C-1.09, Repealed 8-5-12.

## 15C-1.010 Minimum Standards for Anchors and Tie-downs, Including Over-the-Roof Ties, for Mobile Homes.

Rulemaking Authority 320.011(5), 320.824(1) FS. Law Implemented 320.8325, 320.8285, 320.835(2)(b), 320.822(7) FS. History–New 2-18-74, Amended 10-20-74, 1-25-75, 1-30-80, Formerly 15C-1.10, Repealed 1-10-94.

## 15C-1.0101 Definitions.

For the purpose of Rules 15C-1.0102, 15C-1.0103, 15C-1.01031, 15C-1.0104, 15C-1.0105, 15C-1.0106, 15C-1.0107, 15C-1.0108 and 15C-1.0109, F.A.C., the following words have the meaning indicated:

(1) “Department” means the Department of Highway Safety and Motor Vehicles.

(2) “Dealer Installer” means any licensed mobile/manufactured home dealer who is authorized by the department to install mobile/manufactured homes.

(3) “Licensed Installer” means any person, other than direct employees of licensed dealers or manufacturers, who engages in mobile home installation and has obtained a license to do so from the department.

(4) “Manufacturer Installer” means any licensed mobile/manufactured home manufacturer who is authorized by the department to install mobile/manufactured homes.

(5) “Exposure D” means flat, unobstructed areas exposed to wind flowing over large bodies of water. This exposure shall apply only to those buildings and other structures exposed to the wind coming from over the water. Exposure “D” extends inland from the shoreline a distance of 1500 feet or 10 times the height of the building or structure, whichever is greater.

(6) “Frame Tie or Tie Down” means any device or method approved by the department and used for the purpose of securing the mobile/manufactured home or park trailer to ground anchors in order to resist wind forces.

(7) “Ground Anchor” means any device approved by the department and used for the purpose of securing a mobile/manufactured home or park trailer to the ground in order to resist wind forces. Ground anchors are rated by working load, which is the maximum load for design purposes. The ultimate load is the working or design load multiplied by the safety factor of 1.5.

(8) “Mobile/Manufactured Home” means a structure, transportable in one (1) or more sections, which is eight body feet (8') or more in width, greater than four hundred (400') square feet and which is built on an integral chassis and designed to be used as a dwelling when connected to the required utilities and includes the plumbing, heating, air conditioning and electrical systems contained herein.

(9) “Over-Roof Tie” means any device approved by the mobile/manufactured home manufacturer or listed by the department and used for the purpose of securing the mobile/manufactured home systems to ground anchors in order to resist wind forces. Ties may be installed over or under roof material.

(10) “Park Trailer” means a transportable unit which has a body width not exceeding fourteen feet (14') and which is built on a single chassis and is designed to provide seasonal or temporary living quarters when connected to utilities necessary for operation of installed fixtures and appliances.

(11) “Set-Up” means the operations performed by a licensed installer, dealer installer or manufacturer installer, at the occupancy site which render a mobile/manufactured home or park trailer fit for habitation. Such operations include, but are not limited to, transporting, positioning, blocking, leveling, supporting, tying down, making minor adjustments, assembling multiple or expandable units and connecting utility systems as defined in Rule 15C-2.0072, F.A.C.

(12) “Stabilizer Device” means a device approved by the department that is installed with the ground anchor to resist lateral movement of the mobile/manufactured home and anchor.

(13) “Vertical Tie” means any device or method approved by the department and used for the purpose of securing the mobile/manufactured home or park trailer to ground anchors in order to resist vertical or uplift forces caused by the wind.

(14) “Longitudinal Tie Downs” means anchor system or longitudinal stabilizing devices (system), designed to resist horizontal wind loads in the long direction of the home (i.e.: wind load applied to each end of the home).

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.01(1)(b)7., 320.01(2), 320.822(12) FS. History–New 1-10-94, Amended 10-2-95, 3-31-99.

## 15C-1.0102 Installation Standards for Mobile/Manufactured Homes and Park Trailers.

The standards set forth herein are requirements for all mobile/manufactured home and park trailer installations, unless otherwise specified in this rule. All installations of mobile/manufactured homes shall be performed by either a licensed installer, dealer installer or manufacturer installer.

(1) Installation standards for the set-up of new or used manufactured homes and park trailers shall be in compliance with the manufacturer’s installation instructions unless otherwise specified in this rule. In the absence of the manufacturer’s installation instructions, used mobile/manufactured homes and park trailers shall comply with the provisions of this rule. The park trailer manufacturer shall make built-in provisions for a minimum of three (3) vertical tie-down straps and three (3) frame tie-down straps on each side of the unit. All used park trailers shall have at least three (3) vertical and three (3) frame tie-down straps installed. Exception: The center vertical tie-down strap on used units may be exempt when it is structurally prohibitive to install.

(2) All anchors, piers and tie-down components used in the installation of a mobile/manufactured home or park trailer shall be tested, listed and approved by the Florida Department of Highway Safety and Motor Vehicles, Bureau of Mobile Home and Recreational Vehicle Construction. If tests are conducted out of the State of Florida, the anchor or component manufacturer shall pay the expenses (per diem and travel) incurred by this out-of-state travel. Installation of such anchors, piers and tie-down components shall be in accordance with the manufacturer’s instructions used during the testing procedure.

(3) Site Preparation: The under-home grade (ground) shall be cleaned of all vegetation and organic material; i.e., stumps, roots, etc., except grass not exceeding three inches (3'') in height. The area beneath and around the home shall be graded, sloped for proper drainage so that water will not accumulate under the home. All grass and organic material shall be removed and the pier foundation placed on stable soil or compacted fill. When the soil compaction or soil bearing capacity is not known, assume one thousand (1,000) psf or consult with the local building authority. Soil shall be removed from an area of at least 16'' x 16'' to a depth equal to the height of the pier base. Exception: When being installed on fresh, clean, compacted fill the pier base may be placed on top of the soil. The bottom of the footer(s) shall be placed on stable soil. The pier foundation shall be a minimum of 4'' x 16'' x 16'' solid concrete pad, precast or poured eight inch (8'') minimum in place, or other material approved and listed by the department. Where the manufacturer’s specifications have additional requirements than the above, the more stringent shall apply.

(4) Auger Anchors: All mobile/manufactured homes and park trailers shall be anchored with approved auger anchors, which shall be coated with hot-dipped zinc galvanizing (ASTM Standard #123-89A, which is hereby incorporated by reference); .60 ounces per square foot. Auger anchors shall be installed to the manufacturers installation instructions with special emphasis on soil classification and placed in undisturbed or compacted soil. Piers are to be installed off center of the anchors so as not to interfere with the proper alignment of the strapping. Anchors may be installed in predrilled holes provided the anchor penetrates a minimum of two feet (2') into undisturbed soil beyond the predrilled hole. When the anchor manufacturer’s installation instructions permit, the hole is then backfilled with soil compacted in layers not exceeding six inches (6''). For manufactured homes produced after July 13, 1994, refer to the manufacturer’s set-up manual for the working load requirements for anchors at the different tie points on the manufactured home. For used manufactured homes manufactured after July 13, 1994, and the manufacturer’s set-up manual is not available, all anchor points at side walls, shear walls, end walls, center line and other points as identified by the manufacturer, shall be certified for a working load of four thousand (4,000) pounds, with an ultimate load of six thousand (6,000) pounds. Anchors are required one at each end of shear walls; one on each end of each I-beam; one frame tie at each vertical tie point; one on each end of each marriage wall (center line); and on each ridge beam support post. Note: Coral anchors are not designed to meet Zone II and Zone III wind requirements.

(5) Stabilizing Devices: All ground anchors shall have approved stabilizing devices approved by the department, each of which shall have a minimum surface area of 180 square inches and shall be coated with hot-dipped zinc galvanizing (ASTM Standard 123-89A, which is hereby incorporated by reference); .60 ounces per square foot or zinc coated to ASTM (A929/A 929M-96, which is hereby incorporated by reference). The stabilizing device shall be installed with the top of the stabilizing device installed flush with the soil to prevent the anchor from deflecting. Exception: Stabilizer devices are not required at center line or marriage wall locations unless required by the manufacturer’s set-up manual.

(6) Foundations, piers or other load bearing supports or devices shall be installed and constructed to evenly distribute the load. Steel piers with mechanical adjustments shall be securely attached to the frame of all mobile/manufactured homes or park trailers. (See Figure C in Rule 15C-1.0103, F.A.C.) Manufactured load-bearing supports or devices shall be listed and approved for the use in which it was applied or piers shall be constructed as outlined in this rule. Concrete products shall comply with the following specifications: Minimum dimensional and structural requirements for load-bearing solid and cell concrete blocks shall be to the Standard Specification for Load-Bearing Concrete Masonry Units, ASTM C-90, 1996 edition. Concrete foundations and cap blocks must have a minimum of two thousand two hundred (2,200) pound flexural strength as measured by Standard Test Method for Sampling and Testing Concrete Masonry Units, ASTM C140-96. Solid 4'' concrete blocks are the minimum thickness of blocks that will meet this test. Poured concrete shall be a minimum of fcl = 2500 PSI. All plastic products shall be conditioned to ASTM D 618-61, reapproved 1990, Standard Practice for Conditioning Plastics and Electrical Insulating Materials for Testing. Plastics shall be tested to the following standards: ASTM D 790-92, Standard Test Methods for Flexural Properties of Unreinforced and Reinforced Plastics and Electrical Insulating Materials; ASTM D 732-85, Standard Test Method for Shear Strength of Plastics by Punch Tool and ASTM G 53-88, Standard Practice for Operating Light and Water Exposure Apparatus for Exposure of Nonmetallic Materials. All of the above ASTM Standards in subsection (6) are hereby incorporated by reference.

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95, 3-31-99.

15C-1.0103 Foundations and Piers.

These guidelines shall be used when the installation of foundations and piers is not specified in the manufacturer’s instructions or when the manufacturer’s installation instructions are not available.

(1) Piers:

(a) Piers shall be centered under the I-beam and installed in accordance with Table A. The maximum spacing of piers shall be eight feet (8'). First pier shall be within two feet (2') of either end of the home. The pier foundation shall be a minimum of 4'' x 16'' x 16'' solid concrete pad precast or poured eight inch (8'') minimum in place or other material approved and listed by the department.

(b) Piers may be constructed of regular 8'' x 8'' x 16'' concrete blocks, open cells (with open cells vertical), centered on the footing or foundation. A 2'' x 8'' x 16'' pressure treated or other material approved and listed by the department, pursuant to Rules 15C-1.0105 and 15C-1.0106, F.A.C., shall completely cover the top of the pier with pressure treated shims (1/4'' minimum and 1 1/2'' maximum thickness x 3 1/2'' minimum width × 6'' minimum length) centered and driven tight from both sides of the I-beam between the wood plate or cap and the main frame. Single tiered block piers shall be installed perpendicular to the main I-beam. Exception: When a pier has been capped with at least a four inch (4'') solid concrete block or other material approved and listed by the department, pursuant to Rules 15C-1.0105 and 15C-1.0106, F.A.C., one-fourth inch (1/4'') of wood stock or wood shims or other material approved and listed by the department, pursuant to Rules 15C-1.0105 and 15C-1.0106, F.A.C., shall be installed between the pier and steel I-beam. (See Figures A, B and D)

(c) Center Line and Perimeter Piers: Center line piers shall be located at each end of center line and eight feet (8') on center, except where openings of four feet (4') or greater occur, piers shall be located on each end of the opening within six inches (6'') of jamb studs or ridge beam posts. (See Figures A, B, C and D) Any openings fifteen feet (15') or larger in the exterior sidewall and/or marriage wall shall require blocking at each end of the opening with three (3) 4'' x 16'' x 16'' pads (See Figure D). Piers shall also be installed on each side of any perimeter door or fireplace. Bay windows or any opening forty-eight inches (48'') or more shall require blocking at each end. Fourteen feet (14') or wider units with I-beam spread of less than eighty-two inches (82'') and twelve feet (12') wide units with an I-beam spread of less than seventy-five and one-half inches (75 1/2'') shall have perimeter blocking installed at a minimum of eight foot (8') on center. Piers shall not be required under the clear (open) spans between ridge beam posts.

(d) All piers over thirty-six inches (36'') and corner piers over twenty-four (24'') in height shall be double tiered with blocks interlocked and capped with two (2) 4'' x 8'' x 16'' solid concrete blocks side by side and perpendicular to the I-beam or other material approved and listed by the department pursuant to Rules 15C-1.0105 and 15C-1.0106, F.A.C., and cushioned with wood shims or pressure treated plate. Pier height is measured from top of footer or foundation to top of cement block stack, including 4'' cap block(s). (See Figures B and D)

(e) All piers over fifty-two inches (52'') shall comply with local requirements.

(f) Metal and/or precast support piers shall be installed on a base or footer of a minimum size of 4'' x 16'' x 16'' solid concrete or other material approved and listed by the department. (See Figure C)

(g) Metal and/or precast support piers shall be restricted to a maximum four inch (4'') locking mechanical height adjustment and shall be restricted to a maximum height of not more than twenty-four inches (24'') measured from the ground base or footer. This twenty-four inch (24'') maximum shall not include the four inch (4'') mechanical extension or adjustment. Exception: Center line or perimeter supports are permitted to exceed the twenty-four inch (24'') maximum. (See Figure C)

(h) The minimum distance between the finished grade under all new and used mobile/manufactured homes and the bottom of the I-beam shall be eighteen inches (18''). Where the grade is sloped, twenty-five (25%) of the lowest member of the main frame may be set below eighteen inches (18''); however, under no circumstances may the bottom of the I-beam be set below twelve inches (12'') from the finished grade.

(2) Foundations:

(a) Concrete pads or foundations shall be a minimum of two thousand five hundred (2,500) pounds per square inch (psi).

(b) Plastic pads or foundations shall be tested in the lower fifty percent (50%) of each soil class.

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95, 3-31-99.

## 15C-1.01031 Installation Standards for HUD Manufactured Homes and Park Trailers in Exposure “D” Areas.

All HUD manufactured homes and park trailers constructed after July 13, 1994, that are located in Exposure “D,” Wind Zone II or Wind Zone III, shall have a data plate affixed in the home by the manufacturer as proof that the home meets the design standards. In flood prone areas the foundation shall comply with the requirements set forth in the manual, Manufactured Home Installation in Flood Hazard Areas, FEMA 85/September 1985, published by the Federal Emergency Management Agency (FEMA) and hereby incorporated by reference. All installations of mobile/manufactured homes shall be performed by either a licensed installer, dealer installer or manufacturer installer.

(1) All new and used mobile/manufactured homes shall have support and anchoring at the locations specified in the manufacturer’s installation manual for installation in Exposure “D.”

(2) In absence of the original manufacturer’s installation instructions, the anchoring system shall be designed by a professional engineer or architect, licensed in the State of Florida, to comply with Manufactured Home Installation in Flood Hazard Areas, FEMA 85/September 1985, incorporated by reference above. The foundation and piers shall comply with the requirements in Rules 15C-1.0102 and 15C-1.0103, F.A.C.

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.01(1)(b)7., (2)(b), 320.77(10), 320.8249, 320.822(12), 320.8285, 320.8325, 320.835(2)(b) FS. History–New 10-2-95, Amended 3-31-99.

## 15C-1.0104 Installation Standards for Anchors and Tie-downs.

These specifications are standards set by the Department of Highway Safety and Motor Vehicles for new and used mobile/manufactured homes or park trailers.

(1) Anchors:

(a) Type I anchor holding power for homes manufactured before July 13, 1994, shall be tested to a working load of three thousand one hundred and fifty (3,150) pounds, with an ultimate load of four thousand seven hundred twenty-five (4,725) pounds.

(b) Type II anchor holding power for homes manufactured after July 13, 1994, shall be tested to a working load of four thousand (4,000) pounds, with an ultimate load of six thousand (6,000) pounds.

(2) Frame Ties:

(a) All frame ties for new and used mobile/manufactured homes must have a factory fabricated strap connected at the top of the I-beam to an I-beam clamp approved by the department pursuant to Rules 15C-1.0105 and 15C-1.0107, F.A.C.

(b) Diagonal tie-downs for new and used mobile/manufactured homes, in all wind zones, shall be spaced no farther apart than five feet four inches (5'4'') on center with anchors placed within two feet (2') of each end. Note: Where sidewall strap separation is greater, they must be tied individually. Each frame tie shall be installed to the component manufacturer’s instructions. (Refer to below drawing)

(3) Longitudinal Tie-downs. All new and used mobile/manufactured homes, installed sixty (60) days after the effective date of this rule, must have longitudinal tie-downs or other approved longitudinal stabilizing systems meeting the specifications of Rules 15C-1.0105, 15C-1.0107 and 15C-1.0108, F.A.C., and designed to resist horizontal wind loads in the long direction of the home (i.e.: wind load applied to each end of the home). The longitudinal tie-downs are in addition to the anchoring systems required along the exterior side walls and/or marriage walls of the mobile/manufactured home.

(a) When anchors and straps are used for stabilizing the home in the longitudinal direction the strap must connect to a clip welded onto the I-beam or other device connected mechanically. Unless factory installed, the connection device must be approved by the department pursuant to Rules 15C-1.0105 and 15C-1.0107, F.A.C. At least four (4) anchors and straps are required (i.e., 16 per double-wide home) at the end of each section of the mobile/manufactured home.

Example of Longitudinal Tie-down Placement

(4) Marriage Wall/Centerline Ridge Beam Column Ties, Shear Wall Ties and Frames Ties:

(a) Centerline ties are required for all new and used multiple section homes.

(b) Multiple section homes are to be secured at the centerline with straps to the specifications in the manufacturer’s manual or at the locations designated on the home. In addition to centerline ties specified by the manufacturer, a centerline tie must be attached within two feet (2') of each end of each section of the mobile/manufactured home. Where necessary, an approved bracket shall be added by the installer.

(c) Centerline tie connections must be designed to swivel where attached to the mobile/manufactured home and must be connected to the mobile/manufactured home by means of grade #5 bolts with a minimum diameter of one-half inch (1/2'').

(d) As an alternate use with existing brackets or a manufacturer’s welded device, the approved method for installing straps to sidewall and centerline brackets is to loop the strap using a crimp seal with two (2) crimps evenly spaced and protected by a radius clip or manufactured bent/formed radius protective tab. Note: Bracket lacing or field threading shall not be used.

(5) Roof Ties:

(a) Homes manufactured after June 15, 1976, without over-the-roof ties, but designated “Hurricane Resistant” per the Federal Manufactured Home Construction and Safety Standards, section 3280.305(c)(2), as hereby incorporated by reference, shall not require roof ties. All manufactured homes manufactured after July 13, 1994, shall require vertical and frame tie points.

(b) Homes manufactured before July 13, 1994, where factory installed roof ties are not evident and it cannot be determined that the mobile/manufactured home is “Hurricane Resistant” without such ties, then the number of roof ties, as required by the table below, shall be installed so as to not contact with the structure, except at adequately reinforced areas, where additional load will not damage the structure.

1. Single-wide homes less than or equal to sixty feet (60') – three (3) roof ties.

2. Single-wide homes greater than or equal to sixty-one feet (61') – four (4) roof ties.

3. Double-wide homes – roof ties required only if installed by the manufacturer.

(c) All new park trailers manufactured after January 2, 1995, shall have at least three (3) factory installed vertical tie points in addition to the required frame ties.

(d) End roof ties or vertical ties shall be installed at not more than twenty-four inches (24'') from the end of the structure or at the first stud and truss and attached to the same anchor as the frame tie. If the frame does not extend to the back end wall, then the roof tie shall be installed within six inches (6'') of the end of the chassis.

(e) Intermediate roof ties or vertical ties shall then be located at midway or equally spaced between the end roof ties, as feasible.

(f) Double-wide homes manufactured before July 13, 1994, may not require roof ties, unless such ties are installed or provided by the manufacturer. However, additions or canopies may require such ties depending on the type of construction. All are subject to the same frame tie requirements as single-wide homes.

(g) Over-the-roof tie-down straps or tie points shall be connected to a ground anchor. If a strap has been damaged, cut off or removed, a replacement strap shall be installed or spliced using two (2) listed strap seals affixed to twelve inch (12'') overlap of strap with two (2) crimps evenly spaced on the seal.

(h) Used homes designed and requiring over-the-roof tie-downs and having a permanent type structure adequate to provide structural rigidity and stability, meeting the design loads as required by the Standard Building Code, as hereby incorporated by reference, shall not be required to have over-the-roof ties in the area of the addition, but shall require one at each end.

(6) Center Line Fastening: Multiple section homes shall be mechanically fastened every twenty-four inches (24'') at the bottom, end walls and roof. A minimum thirty (30) gauge, eight inches (8'') wide, galvanized strip shall be centered over the peak and fastened with galvanized roofing nails at two inches (2'') on center at both sides of center line.

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.77(10), 330.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95, 3-31-99.

## 15C-1.0105 Testing Specifications for Straps, Piers, Anchors and All Components.

(1) To secure approval of their products, manufacturers and/or producers shall have their products tested and certified by a registered engineer registered in the state of the product manufacturer or State of Florida. The engineer and testing laboratory shall be independent from the product manufacturer and the product manufacturer’s affiliates. Testing shall be conducted under the supervision of personnel of the Bureau of Mobile Home and Recreational Vehicle Construction with the laboratory cost being paid by the anchor or component manufacturer or producer.

(2) Each different model or component shall be tested (three (3) consecutive tests without a failure) and certified to their required force with tests continuing on to total destruction or ten percent (10%) overload.

(3) In-laboratory tests shall be conducted with the use of a Baldwin Press, or equivalent.

(4) The testing laboratory shall supply a current copy (within 12 months) of proof of calibration of test equipment.

(5) Force required for test: Force shall be applied in increments of five hundred (500) pounds with five (5) seconds hold time between each five hundred (500) increment to the requirement and then increase force to total destruction or ten percent (10%) overload.

(6) Destruction test shall show the following:

(a) Point of failure.

(b) Method of testing.

(7) Each manufacturer or producer must submit to the State of Florida, Department of Highway Safety and Motor Vehicles, Division of Motorist Services, Bureau of Mobile Home and Recreational Vehicle Construction, the following data:

(a) Detailed drawings of each type product submitted for approval. Each drawing shall bear the seal of a registered engineer registered in the state of the product manufacturer or the State of Florida.

(b) Certified engineering drawings and specifications of each product includes:

1. Dimensions and specifications on all welds and fasteners.

2. Dimensions and specifications of all metal or material.

(c) Model number and location.

(d) Test data and results.

(e) Letter from a registered engineer registered in the state of the product manufacturer or State of Florida certifying tests results.

(f) Installation instructions. Installation instructions are required to be shipped with each product.

(8) All anchors, piers, and tie-down components shall be recertified when there is a change in design or material.

(9) If the manufacturer or producer request these tests to be conducted out of state, all expenses (travel and per diem) shall be paid by the manufacturer or producer.

Rulemaking Authority 320.011, 320.824(1), 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95.

## 15C-1.0106 Pier Specifications.

(1) Each pier shall be required to withstand 2500 pounds plus a 2.5 safety factor from a vertical projection and from a horizontal projection equal to the same angle or degree of angle of the leg or support, using the same weight and safety factor. Three (3) consecutive tests must be performed without a failure. (Horizontal projection test not required on piers of less than twelve inches (12'') in height including adjustment.)

(2) Piers manufactured with adjustable heights shall be tested at maximum heights. Test results shall be reported in the format shown in Example No. I.

Rulemaking Authority 320.011, 320.824(1), 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95.

## 15C-1.0107 Strap Test Specifications.

(1) All tie-down straps shall be tested to American Society for Testing and Materials (ASTM) D 3953-91.

(2) All tie-down straps, etc., shall be Type 1, Finish B, Grade 1, Steel Strapping 109,000 minimum yield strength, .035'' minimum thickness (plus or minus .002 in. – 0.05MM), Finish B – hot-dipped galvanized zinc coating (ASTM Standard 123-89A); .60 ounces per square foot, per surface, 4750 pounds minimum break strength, marked every 12 to 15 inches (manufacturer’s name and ASTM Spec. D3953-91), 1 1/4'' width (plus or minus .005 in. – 0.13MM), 6.6 feet per pound of strap, elongation 6.5% to 12%.

(3) All straps shall be subjected to the following test procedures: (Refer to Example No. II for the proper format to use in reporting test results.)

(a) Bend Test (5 bends)

Strap shall be bent by hand over a radius of 1/8 inch plus or minus 1/64'' inch. One bend shall consist of a ninety (90) degree bend in one direction and return to the original position. Make successive bends in opposite directions.

(b) Breaking Test

The crosshead speed shall be two inches (2''). The test specimen shall be six inches (6'') in length between the clamps or jaws.

(c) Elongation Test

The elongation testing shall be conducted on the six inch (6'') length of strap exposed between the jaws. Two (2) measurements for elongation shall be recorded at four thousand seven hundred twenty-five (4,725) pounds then test shall be continued to strap failure and elongation recorded.

(d) Hardness Test or Military Specification listing the properties.

(4) Strap Splice or Connections

(a) Strap splice shall require at least twelve inches (12'') of strap overlap with two (2) seals evenly spaced. Each seal shall have two (2) crimps evenly spaced. All strap connections must be manufactured to meet minimum standards of Rule 15C-1.0105, F.A.C., and must be approved by the department.

(b) Factory installed sidewall and centerline bracket attachments shall require at least one (1) seal with two (2) crimps or equivalent welds evenly spaced and protected with a radius clip or manufactured bent or formed radius protective tab. (Note: Bracket lacing or field threading shall not be used.)

(c) Vertical and frame tie connections must be designed to swivel where attached to the mobile/manufactured home and must be connected to the home by means of grade #5 bolts with a minimum diameter of one-half inch (1/2'').

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95, 3-31-99.

## 15C-1.0108 Anchor and Anchor Component Test Specifications.

(1) The anchor may be tested in one piece or cut in half. When the anchor is cut in half for test purposes, the top or head shall be tested with a sling around a bolt, pin, etc., or through the bolt or connection that the tie-down strap or cable is attached to when the system is installed on the mobile home. The force required shall be seven thousand one hundred twenty-five (7,125) pounds. The disc or helix shall be used in the certified test. Also, the shimming between the steel plate and the disc will assure that the hole (minimum 1 1/2'') through the plate and disc will be vertical with the shaft or rod. Other tests that are equivalent may be used. (Refer to Example Nos. III, IV and V for the proper format to use in reporting test results.)

(2) When the anchor is tested in one piece, the head and the disc will be tested together. The test block would have a slot cut in the plate for the anchor shaft or rod to pass through to position the test block with the disc. Connection on the head would be the same as required in subsection (1) of this rule.

(3) Anchor tensioning device test: Each different anchor model or type of tensioning device shall be tested with strap or cable connected to the anchor head connecting device. Force required shall be four thousand seven hundred twenty-five (4,725) pounds and continue to destruction or ten percent (10%) overload. (Refer to Example No. VI for the proper format to use in reporting test results.)

(4) Method of testing: The tensioning device (head) shall be tested with strap or cable inserted or connected to the device or head in the same manner as required to connect or attach when installed on the mobile/manufactured home or park trailer. Bolt(s) used in the test shall be identified and listed as a part of the approved anchor assembly. No devices shall be used in the test that are not regularly furnished and required to be used with the anchor and component field installation. (Examples: clips, wedges, pins or other required accessories.)

(5) All field tests shall be performed in the lower fifty percent (50%) of the soil class.

(6) Anchor and stabilizer holding power for Type 4(a) Soil shall require a minimum of four thousand seven hundred twenty-five (4,725) pounds in each direction. Anchor and stabilizer for Type 4(b) Soil shall require a minimum of six thousand (6,000) pounds in the vertical direction and four thousand seven hundred twenty-five (4,725) pounds in a forty-five (45) degree horizontal direction. Over two inches (2'') of uplift or three inches (3'') of side deflection shall be recorded as failure. (Refer to Example Nos. VII and VIII for the proper format to use in reporting test results.)

(7) Required Test Report: Each different type or model design must be field tested for holding power by an independent testing laboratory and certified by an engineer registered in the State of Florida. All field tests shall be conducted in the State of Florida. The lab report shall show the following:

(a) Model tested as described by engineering drawings.

(b) Method of installation.

(c) Date of installation.

(d) Date of pull-out test.

(e) Soil profile description for each type soil in which anchor is tested and listed to be installed according to the soil classification chart printed herein.

(f) Location of field test.

(g) Test equipment used.

(h) Pounds of force exerted and resultant vertical and horizontal movement in inches for the anchor and stabilizer.

(i) Description of stabilizer used in each auger anchor field test, including stabilizer manufacturer.

Rulemaking Authority 320.011, 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95, 3-31-99.

## 15C-1.0109 Manufacturer Quality Assurance Program and Monitoring.

(1) It is the manufacturer’s responsibility to maintain a reliable quality control program which includes inspection of incoming material, control of manufacturing methods, visual inspection of each manufactured anchor or component, and the periodic testing requiring ninety-five percent (95%) to ninety-eight percent (98%) compliance of the finished products.

(2) In-house sample testing of at least two (2) different anchors and/or components shall be conducted at monthly intervals. A schedule shall be set-up to assure that all listed products are tested. A copy of the test results shall be mailed to the Department of Highway Safety and Motor Vehicles, Division of Motorist Services, Bureau of Mobile Home and Recreational Vehicle Construction. This sampling is based upon a random sample selection of anchors and components for testing. A random sample is defined as a sampling procedure which avoids systematic choice, conscious or subconscious by the manufacturer. An important part of the quality assurance program shall show that the manufacturer is maintaining the quality level established by this program and according to the specifications as required by the applicable rules of Chapter 15C-1, F.A.C.

(3) The Bureau of Mobile Home and Recreational Vehicle Construction shall periodically pick up a random sample of each anchor manufacturer’s anchors and/or components for random testing. If failure occurs, the manufacturer shall be notified and given the option to provide testing of three (3) additional samples or the product shall be removed from the approved list and from sale in the State of Florida. This product shall be redesigned with a new model number including complete testing and listing for sale in Florida.

Rulemaking Authority 320.011, 320.824(1), 320.8325(1) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Amended 10-2-95.

## 15C-1.0110 Rule Review.

Rulemaking Authority 320.011, 320.824(1), 320.8325(2) FS. Law Implemented 320.77(10), 320.822(12), 320.8285, 320.8325, 320.835(2) FS. History–New 1-10-94, Repealed 8-5-12.

## 15C-1.012 Exemption and Identification of Vehicles Exclusively Operated by the Federal Government.

Rulemaking Authority 320.011(5) FS. Law Implemented 320.10(1)(a), (2), 316.605 FS. History–New 6-2-80, Formerly 15C-1.12, Repealed 6-19-86.

## 15C-1.013 Translation of Foreign Documents.

All motor vehicle documents submitted to the department, for the purpose of registering and titling a motor vehicle, in a language other than English, must be accompanied by a translation of that document into the English language. The translation shall be certified by the translator as being a true and accurate translation.

Rulemaking Authority 319.17(1), 320.011 FS. Law Implemented 319.21(1), 319.23(3), (4), (5), 320.02 FS. History–New 8-11-86.

## 15C-1.014 Requirements.

(1) Location – Two Outboard Motor Identification Numbers shall be affixed to each outboard motor. One of these numbers shall be affixed to a major component of the outboard motor which is not likely to be removed or replaced. This number shall be affixed in a manner such that the number normally would be recoverable if defaced. One of these numbers shall be located so that it is visible as the motor would normally be installed on a boat, without removal or disassembly of any component. One of these numbers shall be located where it is not readily visible.

(2) Durability – Outboard Motor Identification Numbers shall be impressed, embossed, bonded or otherwise permanently affixed in a similarly durable and non-transferrable manner. Materials subject to corrosion shall be protected to minimize risk of loss of number. The numbers shall be affixed so that alteration, removal or replacement will be difficult and obvious.

(3) The Outboard Motor Identification Number is a number, non-repetitive for at least twenty years, applied to each outboard motor by its manufacturer.

Rulemaking Authority Chapter 84-129, Laws of Florida, Section 860.20 FS. Law Implemented Chapter 84-129, Laws of Florida, Section 860.20 FS. History–New 10-1-84, Formerly 16N-28.03, 16N-28.003, Amended 1-18-96, Formerly 62N-28.003.