# CHAPTER 25-17

# CONSERVATION

# 25-17.001	General Information

# 25-17.002	Goals for Electric Utilities (Repealed)

# 25-17.0021	Goals for Electric Utilities

# 25-17.003	Energy Audits

# 25-17.004	Goads for Natural Gas Utilities (Repealed)

# 25-17.005	Evaluation of Electric Utility Conservation Efforts (Repealed)

# 25-17.006	Electric Utility System Conservation End Use Data (Repealed)

# 25-17.007	Normalization of Electric Utility Load Data (Repealed)

# 25-17.008	Conservation and Self-Service Wheeling Cost Effectiveness Data Reporting Format

# 25-17.009	Requirements for Reporting Cost Effectiveness Data for Demand Side Management Programs of Natural Gas

# `		Utilities

# 25-17.011	Continuation of Energy Conservation Loan Guarantees (Repealed)

# 25-17.015	Energy Conservation Cost Recovery

# 25-17.016	Oil-Backout Cost Recovery Factor (Repealed)

# 25-17.051	Definitions (Repealed)

# 25-17.052	Auditors; Minimum Qualifications (Repealed)

# 25-17.053	Program Announcement (Repealed)

# 25-17.054	Energy Audit; Offer and Initial Contact (Repealed)

# 25-17.0545	Contracts for Performing Audits (Repealed)

# 25-17.055	Performance of the Energy Conservation Audit (Repealed)

# 25-17.555	The Five-Star Rating System (Repealed)

# 25-17.056	Program Inspections (Repealed)

# 25-17.057	Energy Conservation Audit Results (Repealed)

# 25-17.059	Energy Conservation Audit Charges, Disclosures, and Disclaimers (Repealed)

# 25-17.061	Financing and Installation Arrangements (Repealed)

# 25-17.064	Program Work Plans and Reports (Repealed)

# 25-17.065	Program Recordkeeping (Repealed)

# 25-17.080	Definitions and Qualifying Criteria

# 25-17.082	The Utility’s Obligation to Purchase; Customer's Selection of Billing Method

# 25-17.0825	As-Available Energy

# 25-17.083	Firm Energy and Capacity (Repealed)

# 25-17.0831	Contracts (Repealed)

# 25-17.0832	Firm Capacity and Energy Contracts

# 25-17.0833	Planning Hearings (Repealed)

# 25-17.0834	Settlement of Disputes in Contract Negotiations

# 25-17.0835	Wheeling (Repealed)

# 25-17.0836	Modification to Existing Contracts; Explanation of When Approval Is Required

# 25-17.0837	Negotiations with Other Utility and Nonutility Generating Facilities

# 25-17.084	The Utility’s Obligation to Sell

# 25-17.086	Periods During Which Purchases Are Not Required

# 25-17.087	Interconnection and Standards

# 25-17.088	Transmission Service for Qualifying Facilities (Repealed)

# 25-17.0882	Transmission Service Not Required for Self-Service (Repealed)

# 25-17.0883	Conditions Requiring Transmission Service for Self-service

# 25-17.0889	Transmission Service for Qualifying Facilities

# 25-17.089	Contractual Rights (Repealed)

# 25-17.091	Governmental Solid Waste Energy and Capacity

# 25-17.200	Application and Scope

# 25-17.210	Definitions

# 25-17.220	Qualifying Criteria

# 25-17.230	The Utility’s Obligation to Purchase and Sell

# 25-17.240	Negotiated Contracts

# 25-17.250	Standard Offer Contracts

# 25-17.260	Subscription Limits

# 25-17.270	Changes in Environmental and Governmental Regulations

# 25-17.280	Tradable Renewable Energy Credits (TRECs)

# 25-17.290	Imputed Debt Equivalent Adjustments

# 25-17.300	Reporting

# 25-17.310	Dispute Resolution

## 25-17.001 General Information.

(1) The terms system and electric utility, as used in this Rule, shall be synonymous and have the same definition as “electric utility” as defined in Section 366.82(1), F.S.

(2) The Florida Energy Efficiency and Conservation Act requires increasing the efficiency of the electric systems of Florida, increasing the conservation of expensive resources, such as petroleum fuels, reducing the growth rate of weather sensitive peak demand, and reducing and controlling the growth rate of kilowatt hour consumption to the extent cost effective.

(3) Reducing the growth rate of weather sensitive peak demand on the electric system to the extent cost effective is a priority. Reducing the growth rate of weather sensitive peak demand benefits not only the individual customer who reduces his demand, but also all other customers on the system, both of whom realize the immediate benefits of reducing the fuel costs of the most expensive form of generation and the longer term benefits of deferring the need for or construction of additional generating capacity.

(4) Another priority is increasing the efficiency of the end-use consumption of electricity to the extent cost-effective.

(5) In addition to specific demand-side goals, general goals and methods for increasing the overall efficiency of the bulk electric power system of Florida are broadly stated since these methods are an ongoing part of the practice of every well-managed electric utility’s programs and shall be continued.

These methods are to:

Generating Electric Utilities

(a) Review and revise utility operating practices such as maintenance scheduling, daily and longer term unit commitment practices through the power broker system to facilitate economic dispatch on both a daily and extended basis and to increase conservation of expensive fuel resources, such as petroleum fuels, to the extent cost effective.

(b) Plan development of the bulk power system over time so that the most cost effective combination of generating units, associated facilities and other technologies is developed for meeting generation requirements.

(c) Increase the efficiency of each generating unit and associated operating practices to the extent cost effective.

All Electric Utilities

(d) Aggressively integrate nontraditional sources of power generation including cogenerators with high thermal efficiency and small power producers using renewable fuels into the various utility service areas near utility load centers to the extent cost effective and reliable.

(e) Increase the efficiency of transmission and distribution systems to the extent cost effective.

(f) Aggressively pursue research, development and demonstration projects jointly with others as well as individual projects in individual service areas. In this context, the Commission anticipates that an aggressive research program would include both technological research, research on load behavior and related problems and market-related research.

(6) The Commission shall continuously review the relationship between demand and energy, both present and anticipated. In making its determinations of need pursuant to the Florida Electrical Power Plant Siting Act, the Commission shall take these relationships into account so that sufficient capacity will be authorized to meet anticipated needs. These goals represent a starting point for establishing demand-side management programs for all electric utilities. While there is no absolute assurance that these goals will be fully achieved within the expected time frames, the best efforts by the electric utilities to achieve them shall be required. In any proceeding for determining whether new capacity is needed, the length and nature of experience under the goals will be considered. The goals will not be used exclusively because the Commission recognizes that they may not be achieved and that the estimates on which they are based may prove to be incorrect. To increase the accuracy of these estimates the Commission anticipates that research will be required, including both technological research and studies of the market penetration potentials of various demand-side management measures and their effectiveness in reducing the growth rate of weather sensitive peak KW demand and reducing and controlling the growth rate of KWH consumption as well as studies of consumer behavior.

(7) Rules 25-17.001 through 25-17.005, F.A.C., shall not be construed to restrict growth in the supply of electric power or natural gas necessary to support economic development by industrial or commercial enterprises. Rather, these rules should be construed so as to enhance job-producing economic growth by lowering energy costs from what they otherwise would be if these goals were not achieved.

Rulemaking Authority 366.05(1), 366.82(1)-(4) FS. Law Implemented 366.04(2)(c), (5), 366.05, 366.051, 366.82(1)-(4), 403.519 FS. History–New 12-2-80, Amended 12-30-82, Formerly 25-7.01, Amended 5-10-93.

## 25-17.002 Goals for Electric Utilities.

Rulemaking Authority 366.05(1), 366.82(1)-(4) FS. Law Implemented 366.82(1)-(4) FS. History–New 12-2-80, Amended 1-19-82, 12-30-82, Formerly 25-17.02, Repealed 4-2-90.

## 25-17.0021 Goals for Electric Utilities.

(1) The Commission will initiate a proceeding at least once every five years to establish goals for each affected electric utility, as defined by Section 366.82(1)(a), F.S. The Commission will set annual Residential kilowatt (KW) and kilowatt-hour (KWH) goals and annual Commercial/Industrial KW and KWH goals over a ten-year period. The goals will be based on:

(a) An assessment of the technical potential of available measures; and

(b) An estimate of the total cost-effective KW and KWH savings reasonably achievable through demand-side management programs in each utility’s service area over a ten-year period.

(2) Pursuant to the schedule in an order establishing procedure in the proceeding to establish demand-side management goals, each utility must file a technical potential study. The technical potential study must be used to develop the proposed demand-side management goals, and it must assess the full technical potential of all available demand-side conservation and efficiency measures, including demand-side renewable energy systems, associated with each of the following market segments and major end-use categories.

Residential Market Segment:

(Existing Homes and New Construction should be separately evaluated) Major End-Use Category

(a) Building Envelope Efficiencies.

(b) Cooling and Heating Efficiencies.

(c) Water Heating Systems.

(d) Lighting Efficiencies.

(e) Appliance Efficiencies.

(f) Peak Load Shaving.

(g) Solar Energy and Renewable Energy Sources.

Commercial/Industrial Market Segment:

(Existing Facilities and New Construction should be separately evaluated) Major End-Use Category

(h) Building Envelope Efficiencies.

(i) Cooling and Heating Efficiencies.

(j) Lighting Efficiencies.

(k) Appliance Efficiencies.

(l) Power Equipment/Motor Efficiency.

(m) Peak Load Shaving.

(n) Water Heating Systems.

(o) Refrigeration/Freezing Equipment.

(p) Solar Energy and Renewable Energy Sources.

(q) High Thermal Efficient Self Service Cogeneration.

Each utility’s filing must describe how the technical potential study was used to develop the goals filed pursuant to subsection (3) below, including identification of measures that were analyzed but excluded from consideration.

(3) Pursuant to the schedule in an order establishing procedure in the proceeding to establish demand-side management goals, each utility must file its proposed demand-side management goals. Each utility must also file demand-side management goals developed under two scenarios: one scenario that includes potential demand-side management programs that pass the Participant and Rate Impact Measure Tests, and one scenario that includes potential demand-side management programs that pass the Participant and Total Resource Cost Tests, as these terms are used in Rule 25-17.008, F.A.C. Each utility’s goal projections must be based on the utility’s most recent planning process and must reflect the annual KW and KWH savings, over a ten-year period, from potential demand-side management programs with consideration of overlapping measures, rebound effects, free riders, interactions with building codes and appliance efficiency standards, and the utility’s latest monitoring and evaluation of conservation programs and measures. In addition, for each potential demand-side management program identified in the proposed goals and in each scenario described above, each utility must provide overall estimated annual program costs over a ten-year period.

(4) Within 90 days of a final order establishing or modifying goals, each utility must file its demand-side management plan that includes the programs to meet the approved goals, along with program administrative standards that include a statement of the policies and procedures detailing the operation and administration of each program. The following information must be filed for each demand-side management program included in the utility’s demand-side management plan for a ten-year projected horizon period:

(a) The program name;

(b) The program start date;

(c) The total number of customers, or other appropriate unit of measure, in each class of customer (i.e. residential, commercial, industrial, etc.) for each calendar year in the planning horizon;

(d) The total number of eligible customers, or other appropriate unit of measure, in each class of customers (i.e., residential, commercial, industrial, etc.) for each calendar year in the planning horizon;

(e) An estimate of the annual number of customers, or other appropriate unit of measure, in each class of customers projected to participate in the program for each calendar year of the planning horizon, including a description of how the estimate was derived;

(f) The cumulative penetration levels of the program by calendar year calculated as the percentage of projected cumulative participating customers or appropriate unit of measure, by year to the total customers eligible to participate in the program;

(g) Estimates on an appropriate unit of measure basis of the per customer and program total annual KWH reduction, winter KW reduction, and summer KW reduction, both at the customer meter and the generation level, attributable to the program. A summary of all assumptions used in the estimates and a list of measures within the program must be included;

(h) A methodology for measuring actual KW and KWH savings achieved from each program, including a description of research design, instrumentation, use of control groups, and other details sufficient to ensure that results are valid;

(i) An estimate of the cost-effectiveness of the program using the cost-effectiveness tests required pursuant to Rule 25-17.008, F.A.C.

(j) An estimate of the annual amount to be recovered through the energy conservation cost recovery clause for each calendar year in the planning horizon.

(5) The Commission may, on its own motion or on a petition by a substantially affected person or a utility, initiate a proceeding to review and, if appropriate, modify the goals. All modifications of the approved goals, plans, and programs will be on a prospective basis.

(6) Each utility must submit an annual report no later than March 1 summarizing its demand-side management plan and the total actual achieved results for its approved demand-side management plan in the preceding calendar year. The report must contain a comparison of the achieved KW and KWH reductions with the established Residential and Commercial/Industrial goals, and the following information for each approved program:

(a) The name of the utility;

(b) The name of the program and program start date;

(c) The calendar year the report covers;

(d) The total number of customers, or other appropriate unit of measure, by customer class for each calendar year of the planning horizon;

(e) The total number of customers, or other appropriate unit of measure, eligible to participate in the program for each calendar year of the planning horizon;

(f) The total number of customers, or other appropriate unit of measure projected to participate in the program for each calendar year of the planning horizon;

(g) The potential cumulative penetration level of the program to date calculated as the percentage of projected participating customers to date to the total eligible customers in the class;

(h) The actual number of program participants and the current cumulative number of program participants;

(i) The actual cumulative penetration level of the program calculated as the percentage of actual cumulative participating customers to the number of eligible customers in the class;

(j) A comparison of the actual cumulative penetration level of the program to the potential cumulative penetration level of the program;

(k) A justification for any variance greater than 15% from the annual goals established by the Commission;

(l) Using on-going measurement and evaluation results the annual KWH reduction, the winter KW reduction, and the summer KW reduction, both at the meter and the generation level, per installation and program total, based on the utility’s approved measurement/evaluation plan;

(m) The per installation cost and the total program cost of the utility;

(n) The net benefits for measures installed during the reporting period, annualized over the life of the program, as calculated by the following formula:

annual benefits = Bnpv × d/[1 - (1+d)-n ]

where

| Bnpv | = | cumulative present value of the net benefits over the life of the program for measures installed during the reporting period. |
| --- | --- | --- |
| d | = | discount rate (utility’s after tax cost of capital). |
| n | = | life of the program. |

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.82 FS. History–New 4-30-93, Amended 6-6-23.

## 25-17.003 Energy Audits.

(1) Purpose. This rule specifies the minimum requirements for performing energy audits by every utility that falls under the definition of “utility” in Section 366.82(1), F.S.

(2) Definitions.

(a) “Building Energy-Efficiency Rating System (BERS) Audit” means an energy analysis of a residence performed in compliance with Section 553.995, F.S.

(b) “Computer-Assisted Audit” means an energy analysis of a residence in which a qualified auditor performs a comprehensive on-site evaluation of the residence in accordance with subsection (6) and paragraphs (7)(c) and (7)(d), and, if applicable, provides installation arrangements and inspections pursuant to this rule.

(c) “Commercial Audit” means an energy analysis of a commercial building and its associated energy systems to determine its energy efficiency and to identify for the customer those measures that may improve its energy efficiency.

(d) “Conservation Measures” refers to replacing, upgrading, or installing equipment which reduces energy usage or peak demand contribution, such as the:

1. Installation of clock thermostat;

2. Replacement of furnace or boiler;

3. Replacement of resistance heat with heat pump or natural gas furnace;

4. Replacement of central air conditioning system;

5. Installation of duct or pipe insulation;

6. Sealing leaks in pipes and ducts;

7. Caulking of windows or doors;

8. Weatherstripping of windows or doors;

9. Installation of heat-reflective, heat-gain retardant, and heat-absorbing window or door materials;

10. Insertion of plastic window panels;

11. Installation of storm or thermal windows;

12. Installation of wall insulation;

13. Installation of ceiling insulation;

14. Installation of floor insulation;

15. Plugging leaks in attic, basement, and fireplace;

16. Installation of waste heat recovery water heating system;

17. Installation of heat pump or natural gas water heater;

18. Installation of solar water heating system;

19. Installation of water heater insulation;

20. Installation of water flow restrictors in showers and faucets;

21. Installation of solar swimming pool heating system; and

22. Installation of load management devices, where load management rates are offered.

(e) “Conservation Practices” refers to actions performed by a customer which reduce energy usage or peak demand contribution, such as:

1. Furnace efficiency maintenance and adjustments;

2. Cooling system efficiency maintenance and adjustments;

3. Nighttime temperature setback;

4. Reduction of thermostat setting in winter;

5. Increase of thermostat setting in summer;

6. Reduction of hot water temperature;

7. Reduction of energy use when residence is unoccupied; and

8. Efficient use of shading.

(f) “Eligible Customer” means the owner or occupant of a residence that receives a bill for service from a utility.

(g) “Industrial Audit” means an energy analysis of an industrial facility and its associated energy systems to determine its energy efficiency and to identify for the customer those measures that may improve its energy efficiency.

(h) “Mail-in Audit” means an energy analysis of a residence or building in which the utility supplies to the eligible customer a data collection form which is completed by the customer, and, upon receipt of the completed form, the utility analyzes the data and submits to the customer the results of its evaluation.

(i) “Walk-Through Audit” means an energy analysis of a residence in which a qualified auditor walks through the residence making extensive observations as to the physical structure and components, performs simplified heat gain and heat loss computations, and advises the customer of feasible energy conservation practices and measures.

(3) Scope.

(a) All utilities are required to offer eligible residential customers BERS Audits which comply with subsections (12), (13) and (14) below.

(b) All utilities are required to offer eligible residential customers Computer-Assisted and Walk-Through Audits which comply with subsections (4) through (14) below. Prior to conducting Computer-Assisted and Walk-Through Audits, procedures for conducting these audits must be approved by the Commission.

(c) Any utility may offer Mail-In Audits to eligible customers. Every utility that performs Mail-In Audits shall comply with subsections (13) and (14) below.

(d) Any utility may offer a Commercial or Industrial Audit to commercial and industrial customers. Every utility that performs Commercial or Industrial Audits shall comply with subsections (13) and (14) below.

(4) Energy Audit Charges.

(a) Every public utility shall charge an eligible customer for a BERS Audit. The amount of this charge, which shall reflect actual cost, shall first be filed with the Commission as part of the utility’s tariff.

(b) Every utility may charge an eligible customer for a Computer-Assisted Audit. The amount of this charge, which shall not exceed $15, shall first be filed with the Commission as part of the utility’s tariff.

(c) Every utility may charge an eligible customer for a Walk-Through Audit. The amount of this charge, which shall not exceed $5, shall first be filed with the Commission as part of the utility’s tariff.

(d) Every utility may charge an eligible customer for a Commercial or Industrial Audit. The amount of this charge shall not exceed the actual cost of providing the audit.

(5) Minimum Auditor Qualifications.

(a) Every utility shall certify that each of its residential energy auditors meets the minimum qualifications in paragraph (5)(b).

(b) To be qualified to perform energy audits, a person must:

1. Have been trained in a program meeting the curriculum requirements of paragraph (5)(c); and

2. Have demonstrated a proficiency in the areas listed in paragraph (5)(c) through a written test or practical demonstration.

(c) At a minimum, the curriculum to be followed in training auditors shall include instruction in the following areas:

1. The three types of heat transfer and the effects of temperature and humidity on heat transfer;

2. General mathematics, including powers of ten, decimals and fractions, simple equations, heat loss and heat gain computations utilizing British Thermal Units (BTUs), and pay back calculations;

3. Utility billing procedures, meter reading, and identification of weather sensitive consumption relationships based on a customer’s billing history;

4. Residential construction terminology and components;

5. The operation of heating and cooling systems used in residential buildings; and

6. The application of energy conservation practices and measures including the advantages and disadvantages of each.

(6) Pre-audit performance criteria for Computer-Assisted Audits.

(a) Every utility shall adopt procedures to assure that estimates of energy cost savings and costs for conservation measures are based on:

1. Typical and recent local prices for materials and installation;

2. Typical local climate data for the audited residence; and

3. Typical local price of electricity.

(b) At least twice annually, each utility shall update the data collected pursuant to paragraph (6)(a).

(7) Performance of the audit.

(a) Upon arrival at a residence, the auditor shall provide proper identification and confirm the customer’s understanding of the scope and cost of the audit.

1. The auditor shall discontinue or decline to perform the audit if the customer, at any time, objects to its performance.

2. The auditor may discontinue or decline to perform the audit if the auditor determines that continuation of the audit may be dangerous.

(b) The auditor shall determine and explain to the customer which conservation practices are applicable and recommend that the customer apply them prior to or in conjunction with adopting any conservation measure.

(c) For Computer-Assisted Audits, to determine the appropriate conservation measures, the auditor shall gather and record the following information where applicable:

1. Exterior opaque wall area, including present level of wall insulation;

2. Type and condition of exterior window and door areas;

3. Ceiling area, including present level of attic insulation;

4. Floor area, including present level of floor insulation, if any;

5. Water heater size, age, and type;

6. Air conditioning system type, size, age, fuel type, and duct condition;

7. Heating system type, size, age, and fuel type; and

8. Other items as appropriate.

(d) For Computer-Assisted Audits, using the data gathered pursuant to paragraph (7)(c), the auditor shall provide the customer with a result sheet showing:

1. An estimate of the potential energy and cost savings of each applicable conservation measure;

2. An estimate of the total installation cost for each applicable conservation measure, both by the customer and by a contractor;

3. An estimate of the expected payback time for the customer’s cost of purchasing and installing each applicable conservation measure, calculated using the anticipated percentage change in energy costs;

4. An example calculation which clearly indicates that total energy cost savings from the installation of more than one conservation measure could be different from the sum of energy cost savings of each individually installed conservation measure; and

5. An explanation of the availability of energy conservation and load management programs.

(8) Energy Audit Disclosures and Disclaimers.

(a) Each Computer-Assisted Audit result sheet shall include the following or similar statement: “The procedures used to make these installation cost and energy savings estimates are consistent with Commission rules and good engineering practices. However, the actual installation costs you incur and energy savings you realize from installing these measures may be different from the estimates contained in this audit report. Although the estimates are based on measurements of your house, they are also based on assumptions which may not be entirely correct for your household due to differing energy use patterns.”

(b) The auditor shall provide the eligible customer with a written statement of any interest, direct or indirect, which the auditor or the utility has in the sale or installation of any energy conservation measure.

(c) Upon customer request, the auditor shall disclose the results of any prior audit of the customer’s residence if such records are still available.

(d) The results of the energy audit shall contain the following or a similar disclaimer: “The utility does not warrant or guarantee the audit findings or recommendations, nor is the utility liable as a result of the audit for the acts or omissions of any person who implements or attempts to implement those conservation measures recommended by the auditor.”

(9) Installation Arrangements.

(a) A utility may offer installation arrangement services such as providing a list of suppliers and installers of conservation measures.

(b) If a utility provides these services, the availability of the services shall be noted on the written results of the energy audit.

(c) When arranging installation services pursuant to this rule, a utility shall not:

1. Discriminate among eligible customers, suppliers, or contractors; or

2. Arrange for installation of any measure which is not included in the utility’s most recent Demand Side Management Plan approved by the Commission.

(10) Post-Audit Inspection.

(a) To ensure quality control, the utility performing the audit shall ensure that its recommended installations conform to quality standards.

(b) The utility performing the audit shall be responsible for performing post-audit inspections of 10 percent of each type of energy conservation measure installed as a result of the utility’s recommendation.

(c) The utility shall reinspect a residence if a violation of materials or installation standards is found.

(11) Program announcement.

(a) Each utility shall send a program announcement to all eligible customers at least every six months.

(b) The program announcement shall describe the BERS, Computer-Assisted, and Walk-Through Audits, offer them to all eligible customers, and advise eligible customers of any fee charged for the audits.

(c) A gas utility and an electric utility servicing the same geographical area are encouraged to jointly issue a single Program Announcement.

(12) For every customer requesting either a BERS, Computer-Assisted, or Walk-Through Audit, every utility shall:

(a) Advise the customer as to the scope and cost of the audit;

(b) Schedule the audit within 15 days of an eligible customer’s request, as well as provide the name, title, and phone number of the auditor; and

(c) Perform the audit within 21 days of scheduling it, unless the eligible customer requests a later date.

(13) Program Record Keeping.

(a) For every audit performed, every utility shall keep for 3 years from the audit performance a record that consists of the customer’s energy use for 12 months prior and 12 months after the date of the audit. The record shall list the amount of electricity or natural gas purchased for every month of both 12 month periods.

(b) Every electric utility shall record the amount collected pursuant to subsection 25-17.003(4), F.A.C., in subaccounts within Account 456. Every gas utility shall record the amount collected pursuant to subsection 25-17.003(4), F.A.C., in subaccounts within Account 495.

(14) Contracts for Performing Audits. Any utility may contract with another entity to perform the audits required by this rule.

Rulemaking Authority 366.05(1), 350.127(2) FS. Law Implemented 350.115, 366.04(2)(a), (f), 366.82(11), (13) FS. History–New 12-2-80, Amended 12-30-82, Formerly 25-17.03, Amended 11-24-86, 5-10-93, 7-14-96, 2-3-14.

## 25-17.004 Goals for Natural Gas Utilities.

Rulemaking Authority 366.05(1), 366.82(1)-(4) FS. Law Implemented 366.82(1)-(4) FS. History–New 12-2-80, Amended 12-30-82, Formerly 25-17.04, Repealed 4-2-90.

## 25-17.005 Evaluation of Electric Utility Conservation Efforts.

Rulemaking Authority 366.05(1), 366.82(1)-(4) FS. Law Implemented 366.82(1)-(4) FS. History–New 12-2-80, Amended 12-30-82, 6-19-84, Formerly 25-17.05, Amended 9-14-88, Repealed 5-10-93.

## 25-17.006 Electric Utility System Conservation End Use Data.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.05(1), 366.82 FS. History–New 6-14-82, Amended 1-20-85, Formerly 25-17.06, Amended 9-7-87, 5-10-93, 3-7-94, 3-17-98, Repealed 9-23-13.

## 25-17.007 Normalization of Electric Utility Load Data.

Rulemaking Authority 366.05(1), 366.82(1)-(4) FS. Law Implemented 366.82(1)-(4) FS. History–New 6-19-84, Formerly 25-17.07, Repealed 5-10-93.

## 25-17.008 Conservation and Self-Service Wheeling Cost Effectiveness Data Reporting Format.

(1) This rule applies to all electric utilities, as addressed by Section 366.82, F.S., whenever an evaluation of the cost effectiveness of an existing, new or modified demand side conservation program is required by the Commission and to all public utilities, as addressed by Section 366.051, F.S., whenever an evaluation of the cost effectiveness of a self-service wheeling proposal is required by the Commission. For the purpose of this rule, self-service wheeling means transmission or distribution service provided by a public utility to enable a retail customer to transmit electrical power generated by the customer at one location to the customer’s facilities at another location.

(2) The purpose of this rule is to establish minimum filing requirements for reporting cost effectiveness data for any demand side conservation program proposed by an electric utility pursuant to Rule 25-17.001, F.A.C., and for any self-service wheeling proposal made by a qualifying facility or public utility pursuant to Rule 25-17.0883, F.A.C.

(3) For the purpose of this rule, the Commission adopts and incorporates by reference the publication “Florida Public Service Commission Cost Effectiveness Manual For Demand Side Management Programs and Self-Service Wheeling Proposals” (7-7-91).

(4) Nothing in this rule shall be construed as prohibiting any party from providing additional data proposing additional formats for reporting cost effectiveness data.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.81, 366.82(1)-(5), 366.051 FS. History–New 11-28-82, Formerly 25-17.08, Amended 7-17-91.

## 25-17.009 Requirements for Reporting Cost Effectiveness Data for Demand Side Management Programs of Natural Gas Utilities.

(1) This rule applies to all natural gas utilities as defined in Section 366.82, F.S.

(2) Each utility that seeks to recover costs for an existing, new, or modified demand side management program pursuant to Section 366.82(5), F.S., and Rule 25-17.015, F.A.C., shall file the cost effectiveness test results of the Participants Test and the Rate Impact Measure Test in the format set forth in Form PSC/ENG 14-G (4/96), entitled the “Florida Public Service Commission Cost Effectiveness Manual for Natural Gas Utility Demand Side Management Programs,” which is incorporated by reference in this rule and may be obtained from the Director, Division of Engineering, Florida Public Service Commission:

(a) At the time each utility petitions the Commission to approve a new or modified demand side management program; and

(b) When the Commission requires the data for an existing, approved demand side management program.

(3) Nothing in this rule shall be construed as prohibiting any party from providing additional data or proposing additional formats for reporting cost effectiveness data for demand side management programs.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.81, 366.82(1)-(5) FS. History–New 4-18-96.

## 25-17.011 Continuation of Energy Conservation Loan Guarantees.

Rulemaking Authority 366.05(1), 366.82 FS. Law Implemented 366.05(1), 366.82 FS. History–New 10-13-81, Amended 1-5-82, 12-30-82, Formerly 25-17.11, Amended 2-9-86, 8-9-92, Repealed 7-14-98.

## 25-17.015 Energy Conservation Cost Recovery.

(1) The Commission shall conduct annual energy conservation cost recovery (ECCR) proceedings each calendar year. Each utility over which the Commission has ratemaking authority may seek to recover its costs for energy conservation programs. Each utility seeking cost recovery shall file the following at the times directed by the Commission, pursuant to the order establishing procedures in the annual cost recovery proceeding:

(a) An annual final true-up filing showing the actual common costs, individual program costs and revenues, and actual total ECCR revenues for the most recent 12-month historical period from January 1 through December 31 that ends prior to the annual ECCR proceedings. As part of this filing, the utility shall include a summary comparison of the actual total costs and revenues reported to the estimated total costs and revenues previously reported for the same period covered by the filing in paragraph (1)(b). The filing shall also include the final over- or under-recovery of total conservation costs for the final true-up period.

(b) An annual estimated/actual true-up filing showing actual and projected common costs, individual program costs, and any revenues collected. Actual costs and revenues should begin January 1 immediately following the period described in paragraph (1)(a). The filing shall also include the estimated/actual over- or under-recovery of total conservation costs for the estimated/actual true-up period.

(c) An annual projection filing showing 12 months projected common costs and program costs for the period beginning January 1 following the annual hearing.

(d) An annual petition setting forth proposed energy conservation cost recovery factors to be effective for the 12-month period beginning January 1 following the annual hearing. The proposed factors shall take into account the data filed pursuant to paragraphs (1)(a), (b) and (c).

(2) Each utility shall establish separate accounts or subaccounts for each conservation program for purposes of recording the costs incurred for that program. Each utility shall also establish separate subaccounts for any revenues derived from specific customer charges associated with specific programs.

(3) A complete list of all account and subaccount numbers used for conservation cost recovery shall accompany each filing in paragraph (1)(a).

(4) New programs or program modifications must be approved prior to a utility seeking cost recovery. A utility may seek cost recovery for implementation costs associated with new or modified programs incurred prior to Commission approval. However, a utility may not seek cost recovery for any incentives or rebates associated with new or modified programs paid prior to Commission approval.

(5) Advertising expense recovered through energy conservation cost recovery shall be directly related to an approved conservation program, shall not mention a competing energy source, and shall not be company image enhancing. When the advertisement makes a specific claim of potential energy savings or states appliance efficiency ratings or savings, all data sources and calculations used to substantiate these claims must be included in the filings required by subsection (1). In determining whether an advertisement is “directly related to an approved conservation program,” the Commission shall refer to the Order approving the program. In addition, the Commission shall consider whether the advertisement or advertising campaign:

(a) Identifies a specific problem;

(b) States how to correct the problem; and

(c) Provides direction concerning how to obtain help to alleviate the problem.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(f), 366.06(1), 366.82(2), (7), (10), (11) FS. History–New 1-27-81, Amended 12-30-82, 3-27-86, Formerly 25-17.15, Amended 8-22-90, 11-16-97, 5-4-99, 2-28-19.

## 25-17.016 Oil-Backout Cost Recovery Factor.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.82(5) FS. History–New 2-25-82, Amended 8-31-82, Formerly 25-17.16, Repealed 12-19-95.

## 25-17.051 Definitions.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, 9-28-81, Formerly 25-6.111, 25-17.51, Repealed 7-14-96.

## 25-17.052 Auditors; Minimum Qualifications.

Rulemaking Authority 366.05(1), 366.82(7) FS. Law Implemented 366.82(7) FS. History–New 10-28-82, Formerly 25-17.52, Repealed 7-14-96.

## 25-17.053 Program Announcement.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.113, Amended 10-28-82, 2-22-84, Formerly 25-17.53, Repealed 7-14-96.

## 25-17.054 Energy Audit; Offer and Initial Contact.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.114, Amended 10-28-82, 2-22-84, Formerly 25-17.54, Repealed 7-14-96.

## 25-17.0545 Contracts for Performing Audits.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 10-28-82, Formerly 25-17.545, Repealed 7-14-96.

## 25-17.055 Performance of the Energy Conservation Audit.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.115, 25-6.115(3)(a) Transferred to 25-17.51(9), (10), 25-6.115(3)(c), Amended 10-28-82, 2-22-84, Formerly 25-17.55, Amended 5-20-92, Repealed 7-14-96.

## 25-17.0555 The Five-Star Rating System.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 2-22-84, Formerly 25-17.555, Repealed 7-14-96.

## 25-17.056 Program Inspections.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.116, Amended 10-28-82, Formerly 25-17.56, Repealed 7-14-96.

## 25-17.057 Energy Conservation Audit Results.

Rulemaking Authority 366.05(1), 366.82 FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.117, Amended 10-28-82, Formerly 25-17.57, Amended 5-20-92, Repealed 7-14-96.

## 25-17.059 Energy Conservation Audit Charges, Disclosure and Disclaimers.

Rulemaking Authority 366.05(1), 366.82(1), (5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.119, Amended 10-28-82, Formerly 25-17.59, Repealed 7-14-96.

## 25-17.061 Financing and Installation Arrangements.

Rulemaking Authority 366.05(1), 366.82(5) FS. Law Implemented 366.82 FS. History–New 12-16-80, Amended 10-28-82, Formerly 25-17.61, Repealed 7-14-96.

## 25-17.064 Program Work Plans and Reports.

Rulemaking Authority 366.05(1), 366.82(5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.124, Amended 10-28-82, 2-22-84, Formerly 25-17.64, Repealed 7-14-96.

## 25-17.065 Program Recordkeeping.

Rulemaking Authority 366.05(1), 366.82(5) FS. Law Implemented 366.82 FS. History–New 5-4-80, Amended 12-16-80, Formerly 25-6.125, Amended 2-22-84, Formerly 25-17.65, Repealed 7-14-96.

## 25-17.080 Definitions and Qualifying Criteria.

(1) For the purpose of these rules the Commission adopts the Federal Energy Regulatory Commission Rules 292.101 through 292.207, effective March 20, 1980, regarding definitions and criteria that a small power producer or cogenerator must meet to achieve the status of a qualifying facility. Small power producers and cogenerators which fail to meet the FERC criteria for achieving qualifying facility status but otherwise meet the objectives of economically reducing Florida’s dependence on oil and the economic deferral of utility power plant expenditures may petition the Commission to be granted qualifying facility status for the purpose of receiving energy and capacity payments pursuant to these rules.

(2) In general, under the FERC regulations, a small power producer is a qualifying facility if:

(a) The small power producer does not exceed 80 MW; and

(b) The primary (at least 50%) energy source of the small power producer is biomass, waste, or another renewable resource; and

(c) The small power production facility is not owned by a person primarily engaged in the generation or sale of electricity. This criterion is met if less than 50% of the equity interest in the facility is owned by a utility, utility holding company, or a subsidiary of them.

(3) In general, under the FERC regulations, a cogenerator is a qualifying facility if:

(a) The useful thermal energy output of a topping cycle cogeneration facility is not less than 5% of the facility’s total energy output per year; and

(b) The useful power output plus half of the useful thermal energy output of a topping cycle cogeneration facility built after March 13, 1980, with any energy input of natural gas or oil is greater than 42.5% or 45% if the useful thermal energy output is less than 15% of the total energy output of the facility; and

(c) The useful power output of a bottoming cycle cogeneration facility built after March 13, 1980, with any energy input as supplementary firing of natural gas or oil is not less than 45% of the natural gas or oil input on an annual basis; and

(d) The cogeneration facility is not owned by a person primarily engaged in the generation or sale of electricity. This criterion is met if less than 50% of the equity interest in the facility is owned by a utility, utility holding company, or a subsidiary of them.

Rulemaking Authority 366.05(1), 350.127(2) FS. Law Implemented 366.05(1) FS. History–New 5-13-81, Amended 9-4-83, Formerly 25-17-80.

## 25-17.082 The Utility’s Obligation to Purchase; Customer’s Selection of Billing Method.

(1) Upon compliance by the qualifying facility with Rule 25-17.087, F.A.C., each utility shall purchase electricity produced and sold by qualifying facilities at rates which have been agreed upon by the utility and qualifying facility or at the utility’s published tariff. Each utility shall file a tariff or tariffs and a standard offer contract or contracts for the purchase of energy and capacity from qualifying facilities which reflects the provisions set forth in these rules.

(2) Unless the Commission determines that alternative metering requirements cause no adverse effect on the cost or reliability of electric service to the utility’s general body of customers, each tariff and standard offer contract shall specify the following metering requirements for billing purposes:

(a) Hourly recording meters shall be required for qualifying facilities with an installed capacity of 100 kilowatts or more.

(b) For qualifying facilities with an installed capacity of less than 100 kilowatts, at the option of the qualifying facility, either hourly recording meters, dual kilowatt-hour register time-of-day meters, or standard kilowatt-hour meters shall be installed. Unless special circumstances warrant, meters shall be read at monthly intervals on the approximate corresponding day of each meter reading period.

(3)(a) A qualifying facility, upon entering into a contract for the sale of firm capacity and energy or prior to delivery of as-available energy to a utility, shall elect to make either simultaneous purchases from the interconnecting utility and sales to the purchasing utility or net sales to the purchasing utility. Once made, the selection of a billing methodology may only be changed:

1. When a qualifying facility selling as-available energy enters into a negotiated contract or standard offer contract for the sale of firm capacity and energy; or

2. When a firm capacity and energy contract expires or is lawfully terminated by either the qualifying facility or the purchasing utility; or

3. When the qualifying facility is selling as-available energy and has not changed billing methods within the last twelve months; and

4. When the election to change billing methods will not contravene the provisions of Rule 25-17.0832, F.A.C., or any contract between the qualifying facility and the utility.

Firm capacity and energy contracts in effect prior to the effective date of this rule shall remain unchanged.

(b) If a qualifying facility elects to change billing methods in accordance with this rule, such change shall be subject to the following provisions:

1. Upon at least thirty days advance written notice;

2. Upon the installation by the utility of any additional metering equipment reasonably required to effect the change in billing and upon payment by the qualifying facility for such metering equipment and its installation; and

3. Upon completion and approval by the utility of any alterations to the interconnection reasonably required to effect the change in billing and upon payment by the qualifying facility for such alterations.

(c) Should a qualifying facility elect to make simultaneous purchases and sales, purchases of electric service by the qualifying facility from the interconnecting utility shall be billed at the retail rate schedule under which the qualifying facility load would receive service as a non-generating customer of the utility; sales of electricity delivered by the qualifying facility to the purchasing utility shall be purchased at the utility’s avoided energy and capacity rates, where applicable, in accordance with Rules 25-17.0825 and 25-17.0832, F.A.C.

(d) Should a qualifying facility elect a net billing arrangement, the hourly net energy and capacity sales delivered to the purchasing utility shall be purchased at the utility’s avoided energy and capacity rates, where applicable, in accordance with Rules 25-17.0825 and 25-17.0832, F.A.C.; purchases from the interconnecting utility shall be billed pursuant to the utility’s applicable standby service or supplemental service rate schedules.

(4)(a) Payments for energy and capacity sold by a qualifying facility shall be rendered monthly by the purchasing utility and as promptly as possible, normally by the twentieth business day following the day the meter is read. The kilowatt-hours sold by the qualifying facility, the applicable avoided energy rate at which payments were made, and the rate and amount of the applicable capacity payment shall accompany the payment by the utility to the qualifying facility.

(b) Where simultaneous purchases and sales are made by a qualifying facility from and to a single utility, avoided energy and capacity payments to the qualifying facility may, at the option of the qualifying facility, be shown as a credit to the qualifying facility’s bill; the kilowatt-hours produced by the qualifying facility, the avoided energy rate at which payments were made, and the rate and amount of the capacity payment shall accompany the bill to the qualifying facility. A credit shall not exceed the amount of the qualifying facility’s bill from the utility and the excess, if any, shall be paid directly to the qualifying facility in accordance with this rule.

(5) A utility may require a security deposit from each interconnected qualifying facility in accordance with Rule 25-6.097, F.A.C., for the qualifying facility’s purchase of power from the utility. Each utility’s tariff shall contain specific criteria for determining the applicability and amount of a deposit from an interconnected qualifying facility consistent with projected net cash flow on a monthly basis.

(6) Each utility shall keep separate accounts for sales to qualifying facilities and purchases from qualifying facilities.

Rulemaking Authority 366.051, 350.127(2) FS. Law Implemented 350.115, 366.03, 366.04(2)(a), (c), (5), 366.041(1), 366.051, 366.06(1) FS. History–New 5-13-81, Amended 9-4-83, Formerly 25-17.82, Amended 10-25-90.

## 25-17.0825 As-Available Energy.

(1) As-available energy is energy produced and sold by a qualifying facility on an hour-by-hour basis for which contractual commitments as to the quantity, time, or reliability of delivery are not required. Each utility shall purchase as-available energy from any qualifying facility. As-available energy shall be sold by a qualifying facility and purchased by a utility pursuant to the terms and conditions of a published tariff or a separately negotiated contract.

As-available energy sold by a qualifying facility shall be purchased by the utility at a rate, in cents per kilowatt-hour, not to exceed the utility’s avoided energy cost. Because of the lack of assurances as to the quantity, time, or reliability of delivery of as-available energy, no capacity payments shall be made to a qualifying facility for the delivery of as-available energy.

(a) Tariff Rates: Each utility shall publish a tariff for the purchase of as-available energy from qualifying facilities. Each utility’s published tariff shall state that the rate of payment for as-available energy is the utility’s avoided energy cost as defined in subsection (2) of this rule, less the additional costs directly attributable to the purchase of such energy from a qualifying facility. The additional costs directly associated with the purchase of as-available energy from qualifying facilities shall be specifically identified in the utility’s tariff.

(b) Contract Rates: Each utility may enter into a separately negotiated contract for the purchase of as-available energy from a qualifying facility. All contracts for the purchase of as-available energy between a qualifying facility and a utility shall be filed with the Commission within 10 working days of their signing. Those qualifying facilities wishing to negotiate a contract for the sale of firm capacity and energy with terms different from those in a utility’s standard offer contract may do so pursuant to subsection 25-17.0832(2), F.A.C. Where parties cannot agree on the terms and conditions of a negotiated contract, either party may apply to the Commission for relief pursuant to Rule 25-17.0834, F.A.C.

(2)(a) Avoided energy costs associated with as-available energy are defined as the utility’s actual avoided energy cost before the sale of interchange energy. Avoided energy costs associated with as-available energy shall be all costs the utility avoided due to the purchase of as-available energy, including the utility’s incremental fuel, identifiable variable operating and maintenance expense, and identifiable variable utility power purchases. Demonstrable utility administrative costs required to calculate avoided energy costs may be deducted from avoided energy payments. Avoided line losses reflecting the voltage at which generation by the qualifying facility is received by the utility shall also be included in the determination of avoided energy costs. Each utility shall calculate its avoided energy cost associated with as-available energy deterministically, on an hour-by-hour basis, after accounting for interchange sales which have taken place, using the utility’s actual avoided energy cost for the hour, as affected by the output of the qualifying facilities connected to the utility’s system. A megawatt block size at least equal to the most recent available estimate of the combined average hourly generation of all qualifying facilities making energy sales based on the utility’s as-available energy rate to the utility shall be used to calculate the utility’s hourly avoided energy costs associated with as-available energy. For the purpose of this subsection, interchange sales are inter-utility sales which are provided at the option of the selling utility exclusive of central pool dispatch transactions.

(b) Each utility’s tariff shall include a description of the methodology to be used in the calculation of avoided energy cost implementing subsection (2) of this rule. Each utility’s implementation methodology shall specify the method by which the utility’s incremental fuel and operating and maintenance costs and line losses are determined.

(3)(a) For qualifying facilities with hourly recording meters, monthly payments for as-available energy shall be made and shall be calculated based on the product of: (1) the utility’s actual avoided energy rate for each hour during the month; and (2) the quantity of energy sold by the qualifying facility during that hour.

(b) For qualifying facilities with dual kilowatt-hour register time-of-day meters, monthly payments for as-available energy shall be calculated based on the average of the utility’s actual hourly avoided energy rate for the on-peak and off-peak periods during the month.

(c) For qualifying facilities with standard kilowatt-hour meters, monthly payments for as-available energy shall be calculated based on the average of the utility’s actual hourly avoided energy rate for the off-peak periods during the month.

(4) Each utility shall file with the Commission by the twentieth business day of the following month, a monthly report of their actual hourly avoided energy costs, the average of their actual hourly avoided energy costs for the on-peak and off-peak periods during the month, and the average of their actual hourly avoided energy costs for the month with the Commission. A copy shall be furnished to any individual who requests such information.

(5) Upon request by a qualifying facility or any interested person, each utility shall provide within 30 days its most current projections of its generation mix, fuel price by type of fuel, and at least a five year projection of fuel forecasts to estimate future as-available energy prices as well as any other information reasonably required by the qualifying facility to project future avoided cost prices including, but not limited to, a 24 hour advance forecast of hour-by-hour avoided energy costs. The utility may charge an appropriate fee, not to exceed the actual cost of production and copying, for providing such information.

(6) Utility payments for as-available energy made to qualifying facilities pursuant to the utility’s tariff shall be recoverable by the utility through the Commission’s periodic review of fuel and purchased power. Utility payments for as-available energy made to qualifying facilities pursuant to a separately negotiated contract shall be recoverable by the utility through the Commission’s periodic review of fuel and purchased power costs if the payments are not reasonably projected to result in higher cost electric service to the utility’s general body of ratepayers or adversely affect the adequacy or reliability of electric service to all customers.

Rulemaking Authority 366.051, 350.127(2) FS. Law Implemented 366.04(2)(c), (f), (5), 366.041(1), 366.051, 366.06(1) FS. History–New 9-4-83, Formerly 25-17.825, Amended 10-25-90.

## 25-17.083 Firm Energy and Capacity.

Rulemaking Authority 350.127(2), 366.04(1), 366.05(1), (9) FS. Law Implemented 366.05(9) FS. History–New 9-4-83, Formerly 25-17.83, Repealed 10-25-90.

## 25-17.0831 Contracts.

Rulemaking Authority 350.127(2), 366.05(9) FS. Law Implemented 366.05(9) FS. History–New 9-4-83, Formerly 25-17.831, Repealed 10-25-90.

## 25-17.0832 Firm Capacity and Energy Contracts.

(1) Firm capacity and energy are capacity and energy produced and sold by a qualifying facility and purchased by a utility pursuant to a negotiated contract or a standard offer contract subject to certain contractual provisions as to the quantity, time, and reliability of delivery.

(a) Within one working day of the execution of a negotiated contract or the receipt of a signed standard offer contract, the utility shall notify the Director of the Division of Engineering and provide the amount of committed capacity and the type of generating unit, if any, which the contracted capacity is intended to avoid or defer.

(b) Within 10 working days of the execution of a negotiated contract or receipt of a signed standard offer contract for the purchase of firm capacity and energy, the purchasing utility shall file with the Commission a copy of the signed contract and a summary of its terms and conditions. At a minimum, the summary shall include:

1. The name of the utility and the owner and operator of the qualifying facility, who are signatories of the contract;

2. The amount of committed capacity specified in the contract, the size of the facility, the type of facility, its location, and its interconnection and transmission requirements;

3. The amount of annual and on-peak and off-peak energy expected to be delivered to the utility;

4. The type of unit being avoided, its size, and its in-service year;

5. The in-service date of the qualifying facility; and

6. The date by which the delivery of firm capacity and energy is expected to commence.

(2) Negotiated Contracts. Utilities and qualifying facilities are encouraged to negotiate contracts for the purchase of firm capacity and energy to avoid or defer the construction of all planned utility generating units which are not subject to the requirements of Rule 25-22.082, F.A.C. If a utility is required to issue a Request for Proposals (RFP) pursuant to Rule 25-22.082, F.A.C., negotiations with qualifying facilities shall be governed by the utility’s RFP process. Negotiated contracts will be considered prudent for cost recovery purposes if it is demonstrated by the utility that the purchase of firm capacity and energy from the qualifying facility pursuant to the rates, terms, and other conditions of the contract can reasonably be expected to contribute towards the deferral or avoidance of additional capacity construction or other capacity-related costs by the purchasing utility at a cost to the utility’s ratepayers which does not exceed full avoided costs, giving consideration to the characteristics of the capacity and energy to be delivered by the qualifying facility under the contract. Negotiated contracts shall not be counted towards the subscription limit of the avoided unit in a standard offer contract, thus preserving the standard offer for small qualifying facilities as described in subsection (4).

(3) Cost Recovery for Negotiated Contracts. In reviewing negotiated firm capacity and energy contracts for the purpose of cost recovery, the Commission shall consider factors relating to the contract that would impact the utility’s general body of retail and wholesale customers including:

(a) Whether additional firm capacity and energy is needed by the purchasing utility and by Florida utilities from a statewide perspective;

(b) Whether the cumulative present worth of firm capacity and energy payments made to the qualifying facility over the term of the contract are projected to be no greater than:

1. The cumulative present worth of the value of a year-by-year deferral of the construction and operation of generation or parts thereof by the purchasing utility over the term of the contract, calculated in accordance with subsection (5) and paragraph (6)(a) of this rule, provided that the contract is designed to contribute towards the deferral or avoidance of such capacity; or

2. The cumulative present worth of other capacity and energy related costs that the contract is designed to avoid such as fuel, operation, and maintenance expenses or alternative purchases of capacity, provided that the contract is designed to avoid such costs;

(c) To the extent that annual firm capacity and energy payments made to the qualifying facility in any year exceed that year’s annual value of deferring the construction and operation of generation by the purchasing utility or other capacity and energy related costs, whether the contract contains provisions to ensure repayment of such payments exceeding that year’s value of deferring that capacity in the event that the qualifying facility fails to deliver firm capacity and energy pursuant to the terms and conditions of the contract, provided, however, that provisions to ensure repayment may be based on forecasted data; and

(d) Considering the technical reliability, viability, and financial stability of the qualifying facility, whether the contract contains provisions to protect the purchasing utility’s ratepayers in the event the qualifying facility fails to deliver firm capacity and energy in the amount and times specified in the contract.

(4) Standard Offer Contracts.

(a) Upon petition by a utility or pursuant to a Commission action, each public utility shall submit for Commission approval a tariff or tariffs and a standard offer contract or contracts for the purchase of firm capacity and energy from small qualifying facilities. In lieu of a separately negotiated contract, standard offer contracts are available to qualifying facilities, as defined by subsection 25-17.080(3), F.A.C., with a design capacity of 100 kW or less.

(b) The rates, terms, and other conditions contained in each utility’s standard offer contract or contracts shall be based on the need for and equal to the avoided cost of deferring or avoiding the construction of additional generation capacity or parts thereof by the purchasing utility. Rates for payment of capacity sold by a qualifying facility shall be specified in the contract for the duration of the contract. In reviewing a utility’s standard offer contract or contracts, the Commission shall consider the criteria specified in paragraphs (3)(a) through (3)(d) of this rule, as well as any other information relating to the determination of the utility’s full avoided costs.

(c) The utility shall evaluate, select, and enter into standard offer contracts with eligible qualifying facilities based on the benefits to the ratepayers. Within 60 days of receipt of a signed standard offer contract, the utility shall either:

1. Accept and sign the contract and return it within five days to the qualifying facility; or

2. Petition the Commission not to accept the contract and provide justification for the refusal. Such petitions may be based on:

a. A reasonable allegation by the utility that acceptance of the standard offer will exceed the subscription limit of the avoided unit or units; or

b. Material evidence showing that because the qualifying facility is not financially or technically viable, it is unlikely that the committed capacity and energy would be made available to the utility by the date specified in the standard offer.

(d) A standard offer contract which has been accepted by a qualifying facility shall apply towards the subscription limit of the unit designated in the contract effective the date the utility receives the accepted contract. If the contract is not accepted by the utility, its effect shall be removed from the subscription limit effective the date of the Commission order granting the utility’s petition.

(e) Minimum Specifications. Each standard offer contract shall, at minimum, specify:

1. The avoided unit or units on which the contract is based;

2. The total amount of committed capacity, in megawatts, needed to fully subscribe the avoided unit specified in the contract;

3. The payment options available to the qualifying facility including all financial and economic assumptions necessary to calculate the firm capacity payments available under each payment option and an illustrative calculation of firm capacity payments for a minimum five year term contract commencing with the in-service date of the avoided unit for each payment option;

4. The date on which the standard contract offer expires;

5. A reasonable open solicitation period during which time the utility will accept proposals for standard offer contracts. Prior to the issuance of timely notice of a Request for Proposals (RFP) pursuant to subsection 25-22.082(3), F.A.C., the utility shall end the open solicitation period;

6. The date by which firm capacity and energy deliveries from the qualifying facility to the utility shall commence. This date shall be no later than the anticipated in-service date of the avoided unit specified in the contract;

7. The period of time over which firm capacity and energy shall be delivered from the qualifying facility to the utility. Firm capacity and energy shall be delivered, at a minimum, for a period of five years, commencing with the anticipated in-service date of the avoided unit specified in the contract. At a maximum, firm capacity and energy shall be delivered for a period of time equal to the anticipated plant life of the avoided unit, commencing with the anticipated in-service date of the avoided unit;

8. The minimum performance standards for the delivery of firm capacity and energy by the qualifying facility during the utility’s daily seasonal peak and off-peak periods. These performance standards shall approximate the anticipated peak and off-peak availability and capacity factor of the utility’s avoided unit over the term of the contract;

9. The description of the proposed facility including the location, steam host, generation technology, and fuel sources;

10. Provisions to ensure repayment of payments to the extent that annual firm capacity and energy payments made to the qualifying facility in any year exceed that year’s annual value of deferring the avoided unit specified in the contract in the event that the qualifying facility fails to perform pursuant to the terms and conditions of the contract. Such provisions may be in the form of a surety bond or equivalent assurance of repayment of payments exceeding the year-by-year value of deferring the avoided unit specified in the contract.

(f) The utility may include the following provisions:

1. Provisions to protect the purchasing utility’s ratepayers in the event the qualifying facility fails to deliver firm capacity and energy in the amount and times specified in the contract which may be in the form of an up-front payment, surety bond, or equivalent assurance of payment. Payment or surety shall be refunded upon completion of the facility and demonstration that the facility can deliver the amount of capacity and energy specified in the contract; and

2. A listing of the parameters, including any impact on electric power transfer capability, associated with the qualifying facility as compared to the avoided unit necessary for the calculation of the avoided cost.

3. Provisions that allow for revisions to the contract based upon changes to the purchasing utility’s avoided costs.

(g) Firm Capacity Payment Options. Each standard offer contract shall also contain, at a minimum, the following options for the payment of firm capacity delivered by the qualifying facility:

1. Value of deferral capacity payments. Value of deferral capacity payments shall commence on the anticipated in-service date of the avoided unit. Capacity payments under this option shall consist of monthly payments escalating annually of the avoided capital and fixed operation and maintenance expense associated with the avoided unit and shall be equal to the value of a year-by-year deferral of the avoided unit, calculated in accordance with paragraph (6)(a) of this rule.

2. Early capacity payments. Each standard offer contract shall specify the earliest date prior to the anticipated in-service date of the avoided unit when early capacity payments may commence. The early capacity payment date shall be an approximation of the lead time required to site and construct the avoided unit. Early capacity payments shall consist of monthly payments escalating annually of the avoided capital and fixed operation and maintenance expense associated with the avoided unit, calculated in conformance with paragraph (6)(b) of the rule. At the option of the qualifying facility, early capacity payments may commence at any time after the specified early capacity payment date and before the anticipated in-service date of the avoided unit provided that the qualifying facility is delivering firm capacity and energy to the utility. Where early capacity payments are elected, the cumulative present value of the capacity payments made to the qualifying facility over the term of the contract shall not exceed the cumulative present value of the capacity payments which would have been made to the qualifying facility had such payments been made pursuant to subparagraph (4)(g)1. of this rule.

3. Levelized capacity payments. Levelized capacity payments shall commence on the anticipated in-service date of the avoided unit. The capital portion of capacity payments under this option shall consist of equal monthly payments over the term of the contract, calculated in conformance with paragraph (6)(c) of this rule. The fixed operation and maintenance portion of capacity payments shall be equal to the value of the year-by-year deferral of fixed operation and maintenance expense associated with the avoided unit calculated in conformance with paragraph (6)(a) of this rule. Where levelized capacity payments are elected, the cumulative present value of the levelized capacity payments made to the qualifying facility over the term of the contract shall not exceed the cumulative present value of capacity payments which would have been made to the qualifying facility had such payments been made pursuant to subparagraph (4)(g)1. of this rule, value of deferral capacity payments.

4. Early levelized capacity payments. Each standard offer contract shall specify the earliest date prior to the anticipated in-service date of the avoided unit when early levelized capacity payments may commence. The early capacity payment date shall be an approximation of the lead time required to site and construct the avoided unit. The capital portion of capacity payments under this option shall consist of equal monthly payments over the term of the contract, calculated in conformance with paragraph (6)(c) of this rule. The fixed operation and maintenance expense shall be calculated in conformance with paragraph (6)(b) of this rule. At the option of the qualifying facility, early levelized capacity payments shall commence at any time after the specified early capacity date and before the anticipated in-service date of the avoided unit provided that the qualifying facility is delivering firm capacity and energy to the utility. Where early levelized capacity payments are elected, the cumulative present value of the capacity payments made to the qualifying facility over the term of the contract shall not exceed the cumulative present value of the capacity payments which would have been made to the qualifying facility had such payments been made pursuant to subparagraph (4)(g)1. of this rule.

(5) Avoided Energy Payments for Standard Offer Contracts.

(a) For the purpose of this rule, avoided energy costs associated with firm energy sold to a utility by a qualifying facility pursuant to a utility’s standard offer contract shall commence with the in-service date of the avoided unit specified in the contract. Prior to the in-service date of the avoided unit, the qualifying facility may sell as-available energy to any utility pursuant to Rule 25-17.0825, F.A.C.

(b) To the extent that the avoided unit would have been operated, had that unit been installed, avoided energy costs associated with firm energy shall be the energy cost of this unit. To the extent that the avoided unit would not have been operated, the avoided energy costs shall be the as-available avoided energy cost of the purchasing utility. During the periods that the avoided unit would not have been operated, firm energy purchased from qualifying facilities shall be treated as as-available energy for the purposes of determining the megawatt block size in paragraph 25-17.0825(2)(a), F.A.C.

(c) The energy cost of the avoided unit specified in the contract shall be defined as the cost of fuel, in cents per kilowatt-hour, which would have been burned at the avoided unit plus variable operation and maintenance expense plus avoided line losses. The cost of fuel shall be calculated as the average market price of fuel, in cents per million Btu, associated with the avoided unit multiplied by the average heat rate associated with the avoided unit. The variable operating and maintenance expense shall be estimated based on the unit fuel type and technology of the avoided unit.

(6) Calculation of standard offer contract firm capacity payment options.

(a) Calculation of year-by-year value of deferral. The year-by-year value of deferral of an avoided unit shall be the difference in revenue requirements associated with deferring the avoided unit one year and shall be calculated as follows:

VAC m = 1/12[KIn (1 - R)/(1 - R L) + On ]

Where, for a one year deferral:

| VACm | = | Utility’s monthly value of avoided capacity, in dollars per kilowatt per month, for each month of year n; |
| --- | --- | --- |
| K | = | present value of carrying charges for one dollar of investment over L years with carrying charges computed using average annual rate base and assumed to be paid at the middle of each year and present value to the middle of the first year; |
| R | = | (1 + ip)/(1 + r); |
| In | = | Total direct and indirect cost, in mid-year dollars per kilowatt including AFUDC but excluding CWIP, of the avoided unit with an in-service date of year n, including all identifiable and quantifiable costs relating to the construction of the avoided unit that would have been paid had the avoided unit been constructed; |
| On | = | Total fixed operation and maintenance expense for the year n, in mid-year dollars per kilowatt per year, of the avoided unit; |
| ip | = | Annual escalation rate associated with the plant cost of the avoided unit(s); |
| io | = | Annual escalation rate associated with the operation and maintenance expense of the avoided unit(s); |
| r | = | Annual discount rate, defined as the utility’s incremental after tax cost of capital; |
| L | = | Expected life of the avoided unit; and |
| n | = | Year for which the avoided unit is deferred starting with its original anticipated in-service date and ending with the termination of the contract for the purchase of firm energy and capacity. |

(b) Calculation of early capacity payments. Monthly early capacity payments shall be calculated as follows:

Am = [Ac (1 + ip)(m - 1)  + Ao (1 + io) (m - 1) ] /12 for m = 1 to t

| Where: | Am | = | Monthly early capacity payments to be made to the qualifying facility for each month of the contract year n, in dollars per kilowatt per month; |
| --- | --- | --- | --- |
|  | ip | = | Annual escalation rate associated with the plant cost of the avoided unit; |
|  | io | = | Annual escalation note associated with the operation and maintenance expense of the avoided unit(s); |
|  | m | = | Year for which early capacity payments to a qualifying facility are made, starting in year one and ending in the year t; |
|  | t | = | The term, in years, of the contract for the purchase of firm capacity; |
| Ac = F[(1 - R)/(1 - Rt )] |
| Where: | F | = | The cumulative present value in the year that the contractual payments will begin, of the avoided capital cost component of capacity payments which would have been made had capacity payments commenced with the anticipated in-service date of the avoided unit(s); |
|  | R | = | (1 + ip)/(l + r); and |
|  | r | = | Annual discount rate, defined as the utility’s incremental after tax cost of capital; and |

Ao = G[(1 - R) (1 - Rt )]

| Where: | G | = | The cumulative present value in the year that the contractual payments will begin, of the avoided fixed operation and maintenance expense component of capacity payments which would have been made had capacity payments commenced with the anticipated in-service date of the avoided unit; and |
| --- | --- | --- | --- |
|  | R | = | (1 + io)/(l + r). |

(c) Levelized and early levelized capacity payments. Monthly levelized and early levelized capacity payments shall be calculated as follows:

PL = F/12{r/[1 - (1 + r)-t ]} + O

| Where: | PL | = | The monthly levelized capacity payment, starting on or prior to the in-service date of the avoided unit; |
| --- | --- | --- | --- |
|  | F | = | The cumulative present value, in the year that the contractual payments will begin, of the avoided capital cost component of the capacity payments which would have been made had the capacity payments not been levelized; |
|  | r | = | The annual discount rate, defined as the utility’s incremental after tax cost of capital; and |
|  | t | = | The term, in years, of the contract for the purchase of firm capacity. |
|  | O | = | The monthly fixed operation and maintenance component of the capacity payments, calculated in accordance with paragraph (5)(a) for levelized capacity payments or with paragraph (5)(b) for early levelized capacity payments. |

(7) Upon request by a qualifying facility or any interested person, each utility shall provide within 30 days its most current projections of its future generation mix including type and timing of anticipated generation additions, and at least a 20-year projection of fuel forecasts, as well as any other information reasonably required by the qualifying facility to project future avoided cost prices. The utility may charge an appropriate fee, not to exceed the actual cost of production and copying, for providing such information.

(8)(a) Firm energy and capacity payments made to a qualifying facility pursuant to a separately negotiated contract shall be recoverable by a utility through the Commission’s periodic review of fuel and purchased power costs if the contract is found to be prudent in accordance with subsection (2) of this rule.

(b) Upon acceptance of the contract by both parties, firm energy and capacity payments made to a qualifying facility pursuant to a standard offer contract shall be recoverable by a utility through the Commission’s periodic review of fuel and purchased power costs.

(c) Firm energy and capacity payments made pursuant to a standard offer contract signed by the qualifying facility, for which the utility has petitioned the Commission to reject, is recoverable through the Commission’s periodic review of fuel and purchased power costs if the Commission requires the utility to accept the contract because it satisfies subsection (4) of this rule.

Rulemaking Authority 350.127, 366.05(1) FS. Law Implemented 366.051, 366.81 FS. History–New 10-25-90, Amended 1-7-97, 5-18-03, 3-12-07.

## 25-17.0834 Settlement of Disputes in Contract Negotiations.

(1) Public utilities shall negotiate in good faith for the purchase of capacity and energy from qualifying facilities and interconnection with qualifying facilities. In the event that a utility and a qualifying facility cannot agree on the rates, terms, and other conditions for the purchase of capacity and energy, either party may apply to the Commission for relief. Qualifying facilities may petition the Commission to order a utility to sign a contract for the purchase of capacity and energy which does not exceed a utility’s full avoided costs as defined in Section 366.051, F.S., should the Commission find that the utility failed to negotiate in good faith.

(2) To the extent possible, the Commission will dispose of an application for relief within 90 days of the filing of a petition by either a utility or a qualifying facility.

(3) If the Commission finds that a utility has failed to negotiate or deal in good faith with qualifying facilities, or has explicitly dealt in bad faith with qualifying facilities, it shall impose an appropriate penalty on the utility as approved by Section 350.127, F.S.

Rulemaking Authority 366.051, 350.127(2) FS. Law Implemented 350.127(1), 366.051 FS. History–New 10-25-90.

## 25-17.0835 Wheeling.

Rulemaking Authority 350.127(2), 366.05(9) FS. Law Implemented 366.05(9), 366.055(3) FS. History–New 9-4-83, Formerly 25-17.835, Repealed 10-14-85.

## 25-17.0836 Modification to Existing Contracts; Explanation of When Approval Is Required.

(1) Each investor-owned utility shall notify the Director of the Division of Engineering of all modifications to existing contracts for the purchase of firm capacity and energy, the costs of which are reviewed through the Commission’s periodic review of fuel and purchased power costs, within 30 days of the modification. At a minimum, the following information shall be submitted:

(a) A description of the modification and a statement indicated whether the modification is a material change;

(b) A copy of the documents that evidence the modification;

(c) A detailed statement explaining whether the existing contract would be viable if no modification is made;

(d) A statement indicating whether the in-service date of the project will change because of the modification; and

(e) A description of the price, performance, or other concessions that result from the contract modification between the purchasing utility and the qualifying facility, nonutility generator, or other utility.

(2) In order for a utility to recover its costs, Commission approval is required for a modification that affects the overall efficiency, cost-effectiveness or nature of the project. Such modifications include, but are not limited to, changes to contractual terms such as location, prime mover technology type, fuel type, performance requirements, contracted megawatt output, the timing of capacity payments, or amount of capacity payments.

(3) Commission approval is not required for modifications explicitly contemplated by the terms of the contract or routine administrative changes. Such modifications include, but are not limited to, an assignment expressly authorized by the terms of the contract, typographical corrections, change of address for payments, or change of name of resident agent.

(4) In cases where approval of a contract modification is required for utility cost recovery, a utility shall file with the Office of Commission Clerk a petition for contract modification approval that provides the information required by paragraphs (1)(a) through (e) above. The petition shall also comply with the requirements of Rule 25-22.036, F.A.C. When a petition is filed, the petition shall serve as the notice required by subsection (1) above.

(5) The utility shall demonstrate any benefits to the general body of ratepayers that result from contract modifications and renegotiations.

(6) The modifications and concessions of the utility and developer shall be evaluated against both the existing contract and the current value of the purchasing utility’s avoided cost.

(7) On its own motion, the Commission may review a contract modification to determine whether the modification requires approval.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.05(7), (8), 366.051 FS. History–New 1-7-97.

## 25-17.0837 Negotiations with Other Utility and Nonutility Generating Facilities.

(1) If an investor owned utility’s planned generation unit is not subject to Rule 25-22.082, F.A.C., utilities are encouraged to negotiate contracts for the purchase of firm capacity and energy with other utility and nonutility generators for this capacity.

(2) If a utility has issued a Request for Proposal (RFP) pursuant to Rule 25-22.082, F.A.C., negotiations with other utilities and nonutility generators shall be governed by the utility’s request for proposal process. Prior to or in conjunction with issuing a RFP, the utility may specify the date and time when ongoing negotiations shall cease.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.05(8) FS. History–New 1-7-97.

## 25-17.084 The Utility’s Obligation to Sell.

Upon compliance with Rule 25-17.087, F.A.C., each utility shall sell energy to qualifying facilities at rates which are just, reasonable, and non-discriminatory.

Rulemaking Authority 350.127(2) FS. Law Implemented 366.041(1), 366.051, 366.06(1) FS. History–New 5-13-81, Amended 9-4-83, Formerly 25-17.84.

## 25-17.086 Periods During Which Purchases Are Not Required.

Where purchases from a qualifying facility will impair the utility’s ability to give adequate service to the rest of its customers or, due to operational circumstances, purchases from qualifying facilities will result in costs greater than those which the utility would incur if it did not make such purchases, or otherwise place an undue burden on the utility, the utility shall be relieved of its obligation under Rule 25-17.082, F.A.C., to purchase electricity from a qualifying facility. The utility shall notify the qualifying facility(ies) prior to the instance giving rise to those conditions, if practicable. If prior notice is not practicable, the utility shall notify the qualifying facility(ies) as soon as practicable after the fact. In either event the utility shall notify the Commission, and the Commission staff shall, upon request of the affected qualifying facility(ies), investigate the utility’s claim. Nothing in this section shall operate to relieve the utility of its general obligation to purchase pursuant to Rule 25-17.082, F.A.C.

Rulemaking Authority 350.127(2) FS. Law Implemented 366.04(5), 366.051 FS. History–New 5-13-81, Amended 9-4-83, Formerly 25-17.86.

## 25-17.087 Interconnection and Standards.

(1) Each utility shall interconnect with any qualifying facility which:

(a) Is in its service area;

(b) Requests interconnection;

(c) Agrees to meet system standards specified in this rule;

(d) Agrees to pay the cost of interconnection; and

(e) Signs an interconnection agreement.

(2) Where a utility refuses to interconnect with a qualifying facility or attempts to impose unreasonable standards, the qualifying facility may petition the Commission for relief. The utility shall have the burden of demonstrating to the Commission why interconnection with the qualifying facility should not be required or that the standards the utility seeks to impose on the qualifying facility are reasonable.

(3) Upon a showing of credit worthiness, the qualifying facility shall have the option of making monthly installment payments over a period no longer than 36 months toward the full cost of interconnection. However, where the qualifying facility exercises that option the utility shall charge interest on the amount owing. The utility shall charge such interest at the 30-day commercial paper rate. In any event, no utility may bear the cost of interconnection.

(4) Application for Interconnection. A qualifying facility shall not operate electric generating equipment in parallel with the utility’s electric system without the prior written consent of the utility. Formal application for interconnection shall be made by the qualifying facility prior to the installation of any generation related equipment. This application shall be accompanied by the following:

(a) Physical layout drawings, including dimensions;

(b) All associated equipment specifications and characteristics including technical parameters, ratings, basic impulse levels, electrical main one-line diagrams, schematic diagrams, system protections, frequency, voltage, current and interconnection distance;

(c) Functional and logic diagrams, control and meter diagrams, conductor sizes and length, and any other relevant data which might be necessary to understand the proposed system and to be able to make a coordinated system;

(d) Power requirements in watts and vars;

(e) Expected radio-noise, harmonic generation and telephone interference factor;

(f) Synchronizing methods; and

(g) Operating/instruction manuals.

Any subsequent change in the system must also be submitted for review and written approval prior to actual modification. The above mentioned review, recommendations and approval by the utility do not relieve the qualifying facility from complete responsibility for the adequate engineering design, construction and operation of the qualifying facility equipment and for any liability for injuries to property or persons associated with any failure to perform in a proper and safe manner for any reason.

(5) Personnel Safety. Adequate protection and safe operational procedures must be developed and followed by the joint system. These operating procedures must be approved by both the utility and the qualifying facility. The qualifying facility shall be required to furnish, install, operate and maintain in good order and repair, and be solely responsible for, without cost to the utility, all facilities required for the safe operation of the generation system in parallel with the utility’s system.

The qualifying facility shall permit the utility’s employees to enter upon its property at any reasonable time for the purpose of inspection and/or testing the qualifying facility’s equipment, facilities, or apparatus. Such inspections shall not relieve the qualifying facility from its obligation to maintain its equipment in safe and satisfactory operating condition.

The utility’s approval of isolating devices used by the qualifying facility will be required to ensure that these will comply with the utility’s switching and tagging procedure for safe working clearances.

(a) Disconnect Switch. A manual disconnect switch, of the visible load break type, to provide a separation point between the qualifying facility’s generation system and the utility’s system, shall be required. The utility will specify the location of the disconnect switch. The switch shall be mounted separate from the meter socket and shall be readily accessible to the utility and be capable of being locked in the open position with a utility padlock. The utility may reserve the right to open the switch (i.e., isolating the qualifying facility’s generation system) without prior notice to the qualifying facility. To the extent practicable, however, prior notice shall be given.

Any of the following conditions shall be cause for disconnection:

1. Utility system emergencies and/or maintenance requirements;

2. Hazardous conditions existing on the qualifying facility’s generating or protective equipment as determined by the utility;

3. Adverse effects of the qualifying facility’s generation to the utility’s other electric consumers and/or system as determined by the utility;

4. Failure of the qualifying facility to maintain any required insurance; or

5. Failure of the qualifying facility to comply with any existing or future regulations, rules, orders or decisions of any governmental or regulatory authority having jurisdiction over the qualifying facility’s electric generating equipment or the operation of such equipment.

(b) Responsibility and Liability. The utility and the qualifying facility shall each be responsible for its own facilities. The utility and the qualifying facility shall each be responsible for ensuring adequate safeguards for other utility customers, utility and qualifying facility personnel and equipment, and for the protection of its own generating system. The utility and the qualifying facility shall each indemnify and save the other harmless from any and all claims, demands, costs, or expense for loss, damage, or injury to persons or property of the other caused by, arising out of, or resulting from:

1. Any act or omission by a party or that party’s contractors, agents, servants and employees in connection with the installation or operation of that party’s generation system or the operation thereof in connection with the other party’s system;

2. Any defect in, failure of, or fault related to a party’s generation system;

3. The negligence of a party or negligence of that party’s contractors, agents, servants or employees; or

4. Any other event or act that is the result of, or proximately caused by, a party.

For the purposes of this paragraph, the term party shall mean either utility or qualifying facility, as the case may be.

(c) Insurance. The qualifying facility shall deliver to the utility, at least fifteen days prior to the start of any interconnection work, a certificate of insurance certifying the qualifying facility’s coverage under a liability insurance policy issued by a reputable insurance company authorized to do business in the State of Florida naming the qualifying facility as named insured, and the utility as an additional named insured, which policy shall contain a broad form contractual endorsement specifically covering the liabilities accepted under this agreement arising out of the interconnection to the qualifying facility, or caused by operation of any of the qualifying facility’s equipment or by the qualifying facility’s failure to maintain the qualifying facility’s equipment in satisfactory and safe operating condition.

1. The policy providing such coverage for a standard offer contract shall provide public liability insurance, including property damage, in the amount of $1,000,000 for each occurrence.

2. The policy providing such coverage for a negotiated contract shall provide public liability insurance, including property damage, in an amount not less than $1,000,000 for each occurrence. The parties may negotiate the amount of insurance over $1,000,000.

3. The above required policy shall be endorsed with a provision requiring the insurance company to notify the utility thirty days prior to the effective date of cancellation or material change in the policy.

4. The qualifying facility shall pay all premiums and other charges due on said policy and keep said policy in force during the entire period of interconnection with the utility.

(6) Protection and Operation. It will be the responsibility of the qualifying facility to provide all devices necessary to protect the qualifying facility’s equipment from damage by the abnormal conditions and operations which occur on the utility system that result in interruptions and restorations of service by the utility’s equipment and personnel. The qualifying facility shall protect its generator and associated equipment from overvoltage, undervoltage, overload, short circuits (including ground fault condition), open circuits, phase unbalance and reversal, over or under frequency condition, and other injurious electrical conditions that may arise on the utility’s system and any reclose attempt by the utility.

The utility may reserve the right to perform such tests as it deems necessary to ensure safe and efficient protection and operation of the qualifying facility’s equipment.

(a) Loss of Source: The qualifying facility shall provide, or the utility will provide at the qualifying facility’s expense, approved protective equipment necessary to immediately, completely, and automatically disconnect the qualifying facility’s generation from the utility’s system in the event of a fault on the qualifying facility’s system, a fault of the utility’s system, or loss of source on the utility’s system. Disconnection must be completed within the time specified by the utility in its standard operating procedure for its electric system for loss of a source on the utility’s system.

This automatic disconnecting device may be of the manual or automatic reclose type and shall not be capable of reclosing until after service is restored by the utility. The type and size of the device shall be approved by the utility depending upon the installation. Adequate test data or technical proof that the device meets the above criteria must be supplied by the qualifying facility to the utility. The utility shall approve a device that will perform the above functions at minimal capital and operating costs to the qualifying facility.

(b) Coordination and Synchronization. The qualifying facility shall be responsible for coordination and synchronization of the qualifying facility’s equipment with the utility’s electrical system, and assumes all responsibility for damage that may occur from improper coordination or synchronization of the generator with the utility’s system.

(c) Electrical Characteristics. Single phase generator interconnections with the utility are permitted at power levels up to 20 KW. For power levels exceeding 20 KW, a three phase balanced interconnection will normally be required. For the purpose of calculating connected generation, 1 horsepower equals 1 kilowatt. The qualifying facility shall interconnect with the utility at the voltage of the available distribution or the transmission line of the utility for the locality of the interconnection, and shall utilize one of the standard connections (single phase, three phase, wye, delta) as approved by the utility.

The utility may reserve the right to require a separate transformation and/or service for a qualifying facility’s generation system, at the qualifying facility’s expense. The qualifying facility shall bond all neutrals of the qualifying facility’s system to the utility’s neutral, and shall install a separate driven ground with a resistance value which shall be determined by the utility and bond this ground to the qualifying facility’s system neutral.

(d) Exceptions. A qualifying facility’s generator having a capacity rating that can:

1. Produce power in excess of 1/2 of the minimum utility customer requirements of the interconnected distribution or transmission circuit; or

2. Produce power flows approaching or exceeding the thermal capacity of the connected utility distribution or transmission lines or transformers; or

3. Adversely affect the operation of the utility or other utility customer’s voltage, frequency or overcurrent control and protection devices; or

4. Adversely affect the quality of service to other utility customers; or

5. Interconnect at voltage levels greater than distribution voltages, will require more complex interconnection facilities as deemed necessary by the utility.

(7) Quality of Service. The qualifying facility’s generated electricity shall meet the following minimum guidelines:

(a) Frequency. The governor control on the prime mover shall be capable of maintaining the generator output frequency within limits for loads from no-load up to rated output. The limits for frequency shall be 60 hertz (cycles per second), plus or minus an instantaneous variation of less than 1%.

(b) Voltage. The regulator control shall be capable of maintaining the generator output voltage within limits for loads from no-load up to rated output. The limits for voltage shall be the nominal operating voltage level, plus or minus 5%.

(c) Harmonics. The output sine wave distortion shall be deemed acceptable when it does not have a higher content (root mean square) of harmonics than the utility’s normal harmonic content at the interconnection point.

(d) Power Factor. The qualifying facility’s generation system shall be designed, operated and controlled to provide reactive power requirements from 0.85 lagging to 0.85 leading power factor. Induction generators shall have static capacitors that provide at least 85% of the magnetizing current requirements of the induction generator field. (Capacitors shall not be so large as to permit self-excitation of the qualifying facility’s generator field.)

(e) DC Generators. Direct current generators may be operated in parallel with the utility’s system through a synchronous inverter. The inverter must meet all criteria in these rules.

(8) Metering. The actual metering equipment required, its voltage rating, number of phases, size, current transformers, potential transformers, number of inputs and associated memory is dependent on the type, size and location of the electric service provided. In situations where power may flow both in and out of the qualifying facility’s system, power flowing into the qualifying facility’s system will be measured separately from power flowing out of the qualifying facility’s system.

The utility will provide, at no additional cost to the qualifying facility, the metering equipment necessary to measure capacity and energy deliveries to the qualifying facility. The utility will provide, at the qualifying facility’s expense, the necessary additional metering equipment to measure energy deliveries by the qualifying facility to the utility.

(9) Cost Responsibility. The qualifying facility is required to bear all costs associated with the change-out, upgrading or addition of protective devices, transformers, lines, services, meters, switches, and associated equipment and devices beyond that which would be required to provide normal service to the qualifying facility if the qualifying facility were a non-generating customer. These costs shall be paid by the qualifying facility to the utility for all material and labor that is required. Prior to any work being done by the utility, the utility shall supply the qualifying facility with a written cost estimate of all its required materials and labor and an estimate of the date by which construction of the interconnection will be completed. This estimate shall be provided to the qualifying facility within 60 days after the qualifying facility supplies the utility with its final electrical plans. The utility shall also provide project timing and feasibility information to the qualifying facility.

(10) Each utility shall submit to the Commission, a standard agreement for interconnection by qualifying facilities as part of their standard offer contract or contracts required by subsection 25-17.0832(3), F.A.C.

Rulemaking Authority 366.051, 350.127(2) FS. Law Implemented 366.04(2)(c), (5) 366.051 FS. History–New 5-13-81, Amended 9-4-83, Formerly 25-17.87, Amended 10-25-90, 5-10-93, 1-31-00.

## 25-17.088 Transmission Service for Qualifying Facilities.

Rulemaking Authority 350.127(2), 366.051 FS. Law Implemented 366.04(3), 366.051, 366.055(3) FS. History–New 10-14-85, Formerly 25-17.88, Amended 2-3-87, Repealed 10-25-90.

## 25-17.0882 Transmission Service Not Required for Self-Service.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(3), 366.051, 366.055(3) FS. History–New 10-14-85, Formerly 25-17.882, Repealed 10-25-90.

## 25-17.0883 Conditions Requiring Transmission Service for Self-service.

Public utilities are required to provide transmission and distribution services to enable a retail customer to transmit electrical power generated at one location to the customer’s facilities at another location when the provision of such service and its associated charges, terms, and other conditions are not reasonably projected to result in higher cost electric service to the utility’s general body of retail and wholesale customers or adversely affect the adequacy or reliability of electric service to all customers. The determination of whether transmission service for self service is likely to result in higher cost electric service may be made by using cost effectiveness methodology employed by the Commission in evaluating conservation programs of the utility, adjusted as appropriate to reflect the qualifying facility’s contribution to the utility for standby service and wheeling charges, other utility program costs, the fact that qualifying facility self-service performance can be precisely metered and monitored, and taking into consideration the unique load characteristics of the qualifying facility compared to other conservation programs.

Rulemaking Authority 366.051, 350.127(2) FS. Law Implemented 366.051 FS. History–New 10-25-90.

## 25-17.0889 Transmission Service for Qualifying Facilities.

(1) Upon request by a qualifying facility, each electric utility in Florida shall provide, subject to the provisions of subsection (3) of this rule, transmission service to wheel as-available energy or firm energy and capacity produced by a Qualifying Facility from the Qualifying Facility to another electric utility.

(2) The rates, terms, and conditions for transmission services as described in subsection (1) and in Rule 25-17.0883, F.A.C., which are provided by an investor-owned utility shall be those approved by the Federal Energy Regulatory Commission.

(3) An electric utility may deny, curtail, or discontinue transmission service to a Qualifying Facility on a non-discriminatory basis if the provision of such service would adversely affect the safety, adequacy, reliability, or cost of providing electric service to the utility’s general body of retail and wholesale customers.

Rulemaking Authority 366.051, 350.127(2) FS. Law Implemented 366.04(2)(c), (5), 366.051, 366.055(3) FS. History–New 10-25-90.

## 25-17.089 Contractual Rights.

Rulemaking Authority 366.04(1), 366.05(1) FS. Law Implemented 366.82(6) FS. History–New 5-13-81, Formerly 25-17.89, Repealed 9-4-83.

## 25-17.091 Governmental Solid Waste Energy and Capacity.

(1) Definitions and Applicability:

(a) “Solid Waste Facility” means a facility owned or operated by, or on behalf of, local government, the purpose of which is to dispose of solid waste, as that term is defined in Section 403.703(13), F.S. (1988), and to generate electricity.

(b) A facility is owned by or operated on behalf of a local government if the power purchase agreement is between the local government and the electric utility.

(c) A solid waste facility shall include a facility which is not owned or operated by a local government but is operated on its behalf. When the power purchase agreement is between a non-governmental entity and an electric utility, the facility is operated by a private entity on behalf of a local government if:

1. One or more local governments have entered into a long-term agreement with the private entity for the disposal of solid waste for which the local governments are responsible and that agreement has a term at least as long as the term of the contract for the purchase of energy and capacity from the facility; and

2. The Commission determines there is no undue risk imposed on the electric ratepayers of the purchasing utility, based on:

a. The local government’s acceptance of responsibility for the private entity’s performance of the power purchase contract, or

b. Such other factors as the Commission deems appropriate, including, without limitation, the issuance of bonds by the local government to finance all, or a substantial portion, of the costs of the facility; the reliability of the solid waste technology; and the financial capability of the private owner and operator.

3. The requirements of subparagraph 2. shall be satisfied if a local government described in subparagraph 1. enters into an agreement with the purchasing utility providing that in the event of a default by the private entity under the power purchase contract, the local government shall perform the private entity’s obligations, or cause them to be performed, for the remaining term of the contract, and shall not seek to renegotiate the power purchase contract.

(d) This rule shall apply to all contracts for the purchase of energy or capacity from solid waste facilities entered into, or renegotiated as provided in subsection (3), after October 1, 1988.

(2) Except as provided in subsections (3) and (4) of this rule, the provisions of Rules 25-17.080 and 25-17.089, F.A.C., are applicable to contracts for the purchase of energy and capacity from a solid waste facility.

(3) Any solid waste facility which has an existing firm energy and capacity contract in effect before October 1, 1988, shall have a one-time option to renegotiate that contract to incorporate any or all of the provisions of subsections (2) and (4) into their contract. This renegotiation shall be based on the unit that the contract was designed to avoid but applying the most recent Commission-approved cost estimates of paragraph 25-17.0832(5)(a), F.A.C., for the same unit type and in-service year to determine the utility’s value of avoided capacity over the remaining term of the contract.

(4) Because Section 377.709(4), F.S., requires the local government to refund early capacity payments should a solid waste facility be abandoned, closed down or rendered illegal, a utility may not require risk-related guarantees as required in Rule 25-17.0832, F.A.C., paragraphs (2)(c), (2)(d) and subparagraphs (3)(e)8. and (3)(f)1. However, at its option, a solid waste facility may provide such risk related guarantee.

(5) Nothing in this rule shall preclude a solid waste facility from electing advance capacity payments authorized pursuant to Section 377.709(3)(b), F.S., which advanced capacity payments shall be in lieu of firm capacity payments otherwise authorized pursuant to this rule and Rule 25-17.0832, F.A.C. The provisions of subsection (4) are applicable to solid waste facilities electing advanced capacity payments.

Rulemaking Authority 350.127(2), 377.709(5) FS. Law Implemented 366.051, 366.055(3), 377.709 FS. History–New 8-8-85, Formerly 25-17.91, Amended 4-26-89, 10-25-90.

## 25-17.200 Application and Scope.

The purpose of these rules is to promote the development of renewable energy; protect the economic viability of Florida’s existing renewable energy facilities; diversify the types of fuel used to generate electricity in Florida; lessen Florida’s dependence on natural gas and fuel oil for the production of electricity; minimize the volatility of fuel costs; encourage investment within the state; improve environmental conditions; and, at the same time, minimize the costs of power supply to electric utilities and their customers. Unless otherwise stated, these rules apply to all investor-owned utilities.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.210 Definitions.

For purposes of these rules:

(1) “Renewable Generating Facility” means an electrical generating unit or group of units at a single site, interconnected for synchronous operation and delivery of electricity to an electric utility, where the primary energy in British Thermal Units (BTUs) used for the production of electricity is from one or more of the following sources: hydrogen produced from sources other than fossil fuels, biomass, solar energy, geothermal energy, wind energy, ocean energy, hydroelectric power, or waste heat from a commercial or industrial manufacturing process.

(2) “Biomass” means a fuel source that is comprised of, but not limited to, combustible residues or gases from forest products manufacturing, agricultural and orchard crops, waste products from livestock and poultry operations and food processing, urban wood waste, municipal solid waste, municipal liquid waste treatment operations, and landfill gas.

(3) “Full Avoided Costs,” as defined in Section 366.051, F.S., means the incremental costs to the purchasing utility of the electric energy or capacity, or both, which, but for the purchase from a renewable generating facility, such utility would generate itself or purchase from another source.

(4) “Investor-owned utility” shall have the same meaning as Section 366.02(1), F.S.

(5) “Electric utility” shall have the same meaning as Section 366.02(2), F.S.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.220 Qualifying Criteria.

For purposes of these rules, a renewable generating facility shall be deemed a qualifying facility pursuant to subsection 25-17.080(1), F.A.C., and shall have all the rights, privileges, and responsibilities specified in Rules 25-17.082 through 25-17.091, F.A.C.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.230 The Utility’s Obligation to Purchase and Sell.

(1) Each investor-owned utility shall purchase electricity produced and sold by renewable generating facilities at rates that have been agreed upon by the utility and renewable generating facility or at the utility’s published tariff. Each investor-owned utility shall file a tariff or tariffs and a standard offer contract or contracts for the purchase of energy or capacity, or both, from renewable generating facilities that reflects the provisions set forth in these rules.

(2) Each investor-owned utility’s tariff or standard offer contract shall specify the metering requirements for billing purposes in accordance with subsections 25-17.082(2) and (3), F.A.C.

(3) Each investor-owned utility shall interconnect with any renewable generating facility in accordance with Rule 25-17.087, F.A.C.

(4) Each investor-owned utility shall sell energy to renewable generating facilities in accordance with Rule 25-17.084, F.A.C.

(5) Each investor-owned utility shall provide, upon request by a renewable generating facility, transmission service to wheel as-available energy or firm energy and capacity produced by the renewable generating facility from the renewable generating facility to another electric utility in accordance with Rule 25-17.0889, F.A.C.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.240 Negotiated Contracts.

(1) Investor-owned utilities and renewable generating facilities are encouraged to negotiate contracts for the purchase of firm capacity and energy to avoid or defer construction of planned utility generating units and provide fuel diversity, fuel price stability, and energy security.

(2) Negotiated contracts will be considered prudent for cost recovery purposes if it is demonstrated by the investor-owned utility that the purchase of firm capacity and energy from the renewable generating facility pursuant to the rates, terms, and other conditions of the contract can reasonably be expected to contribute towards the deferral or avoidance of additional capacity construction or other capacity-related costs by the purchasing utility and provide fuel diversity, fuel price stability, and energy security at a cost to the utility’s ratepayers which does not exceed full avoided costs, giving consideration to the characteristics of the capacity and energy to be delivered by the renewable generating facility under the contract.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.250 Standard Offer Contracts.

(1) Standard Offer Contract. In addition to the requirements contained in Rules 25-17.082 through 25-17.091, F.A.C., each investor owned utility shall, by April 1 of each year, file with the Commission a standard offer contract or contracts for the purchase of firm capacity and energy from renewable generating facilities and small qualifying facilities with a design capacity of 100 kW or less. A separate standard offer contract shall be based on the next avoidable fossil fueled generating unit of each technology type identified in the utility’s Ten-Year Site Plan filed pursuant to Rule 25-22.071, F.A.C. Each standard offer contract based on each of the utility’s avoidable units shall be consistent with the requirements of subsections 25-17.0832(4), (5) and (6), F.A.C., except as modified by this rule. Each investor-owned utility with no planned generating unit identified in its Ten-Year Site Plan shall submit a standard offer based on avoiding or deferring a planned purchase.

(2) Continuous Offers.

(a) In order to ensure that each utility continuously offers a purchase contract to producers of renewable energy, each standard offer contract shall remain open until:

1. A request for proposals (RFP) pursuant to Rule 25-22.082, F.A.C., is issued for the utility’s planned generating unit; or

2. The utility files a petition for a need determination or commences construction for generating units not subject to Rule 25-22.082, F.A.C.

3. The generating unit upon which the standard offer contract was based is no longer part of the utility’s generation plan, as evidenced by a petition to that effect filed with the Commission or by the utility’s most recent Ten-Year Site Plan.

(b) Before a standard contract offering is closed, the utility shall file a petition for approval of a new standard offer contract based on the next unit of the same generating technology, if any, in its Ten-Year Site Plan. If no generating unit of the same technology is in the utility’s Ten-Year Site Plan, the utility shall notify the Director of the Division of Engineering prior to closing a standard offer.

(3) Term. At the election of the renewable generating facility, the term of each standard offer contract shall be for a minimum of 10 years from the in-service date of the avoided unit up to a maximum of the life of the avoided unit.

(4) Capacity Payment Options. In addition to the capacity payment options contained in paragraph 25-17.0832(4)(g), F.A.C., and subject to the provisions of paragraphs 25-17.0832(3)(a) through (d), F.A.C., a renewable generating facility may elect a payment stream for the capital component of the utility’s avoided unit, including front-end loaded capacity payments, that best meets the financing requirements of the renewable generating facility. Early capacity payments consisting of the capital component of the avoided unit may, at the election of the renewable generating facility, commence any time after the actual in-service date of the renewable generating facility and before the anticipated in-service date of the utility’s avoided unit. Regardless of the payment stream elected by the renewable generating facility, the cumulative present value of capital cost payments made to the renewable generating facility over the term of the contract shall not exceed the cumulative present value of the capital cost payments which would have been made to the renewable generating facility had such payments been made pursuant to subparagraph 25-17.0832(4)(g)1., F.A.C. Fixed operation and maintenance expense shall be calculated in conformance with subsection 25-17.0832(6), F.A.C.

(5) Content. Unless otherwise modified by these rules, the contents of each standard offer contract shall be in accordance with subsection 25-17.0832(4), F.A.C.

(6) Fixed Energy Payments. In order to facilitate third-party financing of renewable generating facilities and provide fuel price stability to electric ratepayers, upon request by a renewable generating facility, each investor-owned utility shall provide for the following fixed energy payment options:

(a) As-available energy payments. As-available energy payments made prior to the in-service date of the avoided unit shall be based on the utility’s year-by-year projection of system incremental fuel costs, prior to hourly economy energy sales to other utilities, based on normal weather and fuel market conditions plus a fuel market volatility risk premium mutually agreed upon by the utility and the renewable generating facility.

(b) Firm energy payments. Subsequent to the determination of full avoided cost and subject to the provisions of paragraphs 25-17.0832(3)(a) through (d), F.A.C., a portion of the base energy costs associated with the avoided unit, mutually agreed upon by the utility and renewable energy generator, shall be fixed and amortized on a present value basis over the term of the contract starting, at the election of the renewable generating facility, as early as the in-service date of the renewable generating facility. “Base energy costs associated with the avoided unit” means the energy costs of the avoided unit to the extent the unit would have been operated.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.260 Subscription Limits.

There shall be no preset subscription limits for the purchase of capacity and energy from renewable generating facilities. To the extent that the purchase of capacity and energy from a renewable generating facility is not needed for reliability or will increase costs to the general body of ratepayers above full avoided cost, the utility shall petition the Commission for relief. In any such proceeding, the Commission shall determine the need for power and the utility’s full avoided cost, including strategic benefits such as fuel diversity and energy security, that are in the best interests of the general body of ratepayers.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.270 Changes in Environmental and Governmental Regulations.

All contracts for the purchase of capacity and energy from a renewable generating facility shall include a provision to reopen the contract, at the election of either party, limited to changes affecting the utility’s full avoided costs of the unit on which the contract is based as a result of new environmental and other regulatory requirements enacted during the term of the contract.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.280 Tradable Renewable Energy Credits (TRECs).

Tradable renewable energy credits and tax credits shall remain the exclusive property of the renewable generating facility. A utility shall not reduce its payment of full avoided costs or place any other conditions upon such government incentives in a negotiated or standard offer contract, unless agreed to by the renewable generating facility.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.290 Imputed Debt Equivalent Adjustments.

An investor-owned utility shall not impose any imputed debt equivalent adjustments (equity adjustments) to reduce the avoided costs paid to a renewable generating facility unless the utility has demonstrated the need for the adjustment and obtained the prior approval of the Commission.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.81, 366.91, 366.92 FS. History–New 3-12-07.

## 25-17.300 Reporting.

Each electric utility shall report, by April first of each year, the following information, actual and projected:

(1) The total megawatts and percentage of each utility’s total capacity mix comprised of renewable generating capacity.

(2) The total megawatt-hours and percentage of each utility’s net energy for load and fuel mix of energy purchased from renewable generation.

(3) The total megawatts and megawatt-hours of self-service generation by renewable generation.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(5), 366.05(7) FS. History–New 3-12-07.

## 25-17.310 Dispute Resolution.

(1) The purpose of this rule is to establish an expedited process for resolution of disputes between renewable generating facilities and investor-owned utilities.

(2) To be considered for an expedited proceeding, the companies involved in the dispute must have attempted to resolve their dispute either through negotiation or by seeking mediation from an independent third party or Commission staff.

(3) Subject to subsection (2) of this rule, any party negotiating an agreement under this Part may, at any point in the negotiation, petition the Commission to resolve any differences arising in the course of the negotiation. The petition shall contain, at a minimum:

(a) An overview of the issues discussed and resolved by the parties;

(b) The unresolved issues;

(c) The position of each of the parties with respect to each unresolved issue;

(d) All relevant documentation concerning each unresolved issue.

(4) A party petitioning the Commission under subsection (1) shall provide a copy of the petition and any other documentation accompanying the petition to the other party or parties not later than the day on which the petition is filed with the Commission. A non-petitioning party may respond to the petition and provide additional information within 30 days after the petition is filed with the Commission.

(5) The Commission will require the petitioning party and the responding party to provide additional information if it determines the additional information is necessary for the Commission to reach a decision on the unresolved issues. If any party refuses or fails to respond on a timely basis to any request from the Commission, then the Commission shall proceed on the basis of the best information available to it from whatever source derived.

(6) The Commission will resolve each issue set forth in the petition and the response, if any, in an expedited manner, normally within 90 days unless waived by the parties or on the Commission’s own motion. The Commission shall base its decision on whether the provision in dispute will encourage the development of renewable generation in the State and is in the best interests of the purchasing utility’s general body of ratepayers pursuant to the provisions of this part.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.051, 366.076, 366.81, 366.91, 366.92 FS. History–New 3-12-07.