CHAPTER 25-18

UTILITY AND COMMUNICATIONS POLES

25-18.010	Pole Attachment Complaints

25-18.020	Pole Safety, Inspection, Maintenance, and Vegetation Management

25-18.010 Pole Attachment Complaints.

(1) A complaint filed with the Commission by a pole owner or attaching entity pursuant to Section 366.04(8), F.S., must contain:

(a) The name, address, email address, and telephone number of the complainant or complainant’s attorney or qualified representative;

(b) A statement describing the facts that give rise to the complaint;

(c) Names of the party or parties against whom the complaint is filed;

(d) A copy of the pole attachment agreement, if applicable, and identification of the pole attachment rates, charges, terms, conditions, voluntary agreements, or any denial of access relative to pole attachments that is the subject matter of the complaint;

(e) A statement of the disputed issues of material fact or a statement that there are no disputed issues of material fact;

(f) If the complaint requests the establishment of rates, charges, terms, or conditions for pole attachments and the complainant proposes the application of rates, terms, or conditions that are based upon Federal Communications Commission (FCC) rules, decisions, orders, or appellate decisions, the complainant must identify the specific applicable FCC rules, decisions, orders, or appellate decisions that the Commission should apply pursuant to Section 366.04(8)(e), F.S.; provided, however, that if the complainant requests an alternative cost-based rate, the complainant must identify the methodology and explain how the alternative cost-based rate is just and reasonable and in the public interest.

(g) If the complaint involves a dispute regarding rates or billing, a statement of the dollar amount in dispute, the dollar amount not in dispute, whether the amount not in dispute has been paid to the pole owner, and if not paid the reasons why not;

(h) A statement of the relief requested, including whether a Sections 120.569 and 120.57, F.S., evidentiary hearing is being requested to resolve the complaint; and

(i) A certificate of service that copies of the complaint have been furnished by email to the party or parties identified in paragraph (1)(c) of this rule.

(2) The filing date for the complaint is the date that a complaint is filed with the Commission Clerk containing all required information set forth in subsection (1) of this rule.

(3) The pole owner or attaching entity that is the subject of the complaint may file a response to the complaint.  The response must be filed with the Commission Clerk within 30 calendar days of the date the complaint was served on the respondent, unless the Prehearing Officer grants a motion for extension of time filed pursuant to Rule 28-106.204, or 28-106.303, F.A.C., as appropriate.

(4) A response filed under subsection (3) of this rule must include the following:

(a) A statement of whether a Sections 120.569 and 120.57, F.S., evidentiary hearing is being requested to resolve the complaint; and

(b) If the complaint requests the establishment of rates, charges, terms, or conditions for pole attachments and the respondent proposes the application of rates, terms, or conditions that are based upon FCC rules, decisions, orders, or appellate decisions, the respondent must identify the specific applicable FCC rules, decisions, orders, or appellate decisions that the Commission should apply pursuant to Section 366.04(8)(e), F.S.; provided, however, that if the respondent requests an alternative cost-based rate, the respondent must identify the methodology and explain how the alternative cost-based rate is just and reasonable and in the public interest.

(5) The Commission will take final action on a complaint concerning rates, charges, terms, conditions, and voluntary agreements relative to pole attachments at a Commission Conference no later than 360 days after the complaint’s filing date as set forth in subsection (2) of this rule.

(6) The Commission will take final action on a complaint limited to denial of access relative to pole attachments at a Commission Conference no later than 180 days after the complaint’s filing date as established under subsection (2) of this rule.

Rulemaking Authority 350.127(2), 366.04(8)(g) FS. Law Implemented 366.04(8) FS. History‒New 6-8-22.

25-18.020 Pole Safety, Inspection, Maintenance, and Vegetation Management.

(1) This rule applies to all communications services providers as defined in Section 366.02(3), F.S., that own poles as defined in Section 366.02(5), F.S. This rule does not apply to poles used solely to support wireless communications service facilities or poles with no public utility electrical overhead facilities attached. For the purposes of this rule, “overhead facilities” are defined as fixtures, conductors, wires, cables, and other devices owned by public utilities that are attached to poles owned by a communications services provider.

(2) Safety, Inspection, and Maintenance Standards. Each communications services provider must exercise due care to reduce hazards to which its employees, customers, and the public may be subjected by reason of its poles. Accordingly, all poles of communications services providers subject to the Commission’s jurisdiction under Section 366.04(9), F.S., must be constructed, installed, maintained, relocated, and inspected in accordance with the National Electrical Safety Code (NESC), which is incorporated by reference in Rule 25-6.0345, F.A.C.

(3) Inspection, Repair, and Replacement of Poles. Each communications services provider must conduct inspections of its poles at least every eight (8) years to ensure adherence to the strength and clearance standards of the NESC. Inspections must include visual checks to determine compliance with the strength and clearance standards of the NESC. Poles not in compliance with NESC standards must be repaired or replaced to meet those standards.

(4) Vegetation Management of Poles. Each communications services provider must ensure that the vegetation management of its poles meets the standards set forth in Part 2 of the NESC.

(5) Emergency Response and Storm Restoration Procedures and Protocols. Within six months of the effective date of this rule, each communications services provider must provide a copy of its emergency response and storm restoration procedures and protocols to the Division of Engineering.

(a) The procedures and protocols must include the following:

1. A description of the communications services provider’s procedures and protocols for communicating with federal, state, and local emergency operations officials;

2. A description of how the public can contact the communication services provider to report issues with its poles, such as broken poles, downed overhead facilities, or obstructive vegetation; and

3. A description of the communication services provider’s procedures to repair and replace damaged poles and overhead facilities, including protocols for coordinating with public utilities, through emergency response and storm restoration efforts.

(b) If the communication services provider makes changes to its emergency response and storm restoration procedures and protocols, the communication services provider must file the updated emergency response and storm restoration procedures and protocols with the Division of Engineering within 30 days of the change.

(c) Every three calendar years after the initial submission, each communication services provider must notify the Division of Engineering in writing that it has reviewed its emergency response and storm restoration procedures and protocols.

(6) Reporting Requirements. By June 1 of each year, each communications services provider must file with the Commission Clerk an Annual Report.

(a) The Annual Report must include the following information for the prior calendar year:

1. The number of poles owned in whole or in part by the communications services provider at the beginning and at the end of the calendar year;

2. The number of poles that were scheduled for inspection;

3. The number of poles actually inspected;

4. The number of poles that failed inspection;

5. The number of poles strength tested and the methods used to ensure compliance with the NESC strength requirements;

6. The number of poles that failed strength testing;

7. The number of poles repaired and a summary of the repairs;

8. The number of poles replaced and reason for replacement; and

9. The total miles of vegetation management conducted.

(b) The Annual Report must include the following information for the upcoming calendar year:

1. The number of poles to be inspected; and

2. The total miles for which vegetation management will be conducted.

(7) Penalties. A willful violation or refusal to comply with this rule will result in monetary penalties as follows:

(a) $500 for the first violation;

(b) $1,000 for the second violation;

(c) $1,500 for the third violation;

(d) $2,000 for the fourth violation; and

(e) $5,000 for the fifth and any subsequent violation.

Rulemaking Authority 350.127(2), 366.04(9)(b) FS. Law Implemented 366.04(9), 366.095 FS. History‒New 5-1-22.