# CHAPTER 40A-8

# MINIMUM FLOWS AND MINIMUM WATER LEVELS

# 40A-8.011	Policy and Purpose

# 40A-8.021	Definitions

# 40A-8.031	Minimum Flow for the St. Marks River Rise

# 40A-8.041	Minimum Flow for Wakulla Spring and Sally Ward Spring

## 40A-8.011 Policy and Purpose.

(1) This chapter establishes minimum flows and minimum water levels for surface waters, and minimum water levels for groundwater at specific locations within the Northwest Florida Water Management District.

(2) In establishing minimum flows and minimum water levels, the Governing Board shall use the best information available to establish limits at which further withdrawals would be significantly harmful to the water resources or ecology of the area.

(3) Minimum flows and minimum water levels prescribed in this chapter are used as a criteria for imposing limitations on withdrawals of groundwater and surface water and for reviewing proposed surface water management and storage systems and stormwater management systems.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.042, 373.0421 FS. History–New 6-12-19.

## 40A-8.021 Definitions.

(1) “Minimum flow” means the limit at which further withdrawals would be significantly harmful to the water resources or ecology of the area.

(2) “St. Marks River” means the riverine waterbody that originates in eastern Leon County and flows south discharging into Apalachee Bay in Wakulla County.

(3) “St. Marks River Near Newport, FL” means USGS Station 02326900 located on the St. Marks River in Wakulla County.

(4) “St. Marks River Near Woodville, FL Estimated Daily Flow” means the best available estimate by the District of the daily flow at USGS Station 02326885, District Station 9257, or its successor, located on the St. Marks River in Leon County.

(5) “St. Marks River Rise” means the first magnitude spring located within Leon County on the St. Marks River at 30 degrees 16 minutes 34 seconds north latitude and 84 degrees 8 minutes 56 seconds west longitude.

(6) “Average Daily Flow” means the arithmetic average of all discharge data points during a calendar day.

(7) “Wakulla Spring” means the first magnitude spring located within Wakulla County on the Wakulla River at 84 degrees 18 minutes 10.3 seconds north latitude and 30 degrees 14 minutes 6.7 seconds west longitude.

(8) “Sally Ward Spring” means the second magnitude spring located within Wakulla County at 84 degrees 18 minutes 38.9 seconds north latitude and 30 degrees 14 minutes 29.0 seconds west longitude.

(9) “Wakulla Spring Daily Flow” means the Average Daily Flow at District Station 749, or its successor. This data is incorporated by reference, effective May 18, 2021, and available at http://www.flrules.org/Gateway/reference.asp?No=Ref-13085 and upon request from the Northwest Florida Water Management District, 81 Water Management Drive, Havana, Florida, 32333.

(10) “Wakulla Spring Average Flow” means the average of the Wakulla Spring Daily Flow between October 23, 2004, and December 31, 2019.

(11) “Sally Ward Spring Average Flow” means the average of the manual flow measurements at District Station 774, or its successor, from October 23, 2004, through December 31, 2019. This data is incorporated by reference, effective May 18, 2021, and available at http://www.flrules.org/Gateway/reference.asp?No=Ref-13086 and upon request from the Northwest Florida Water Management District, 81 Water Management Drive, Havana, Florida, 32333.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.042 FS. History–New 6-12-19, Amended 5-18-21.

## 40A-8.031 Minimum Flow for the St. Marks River Rise.

The Governing Board hereby establishes the following minimum flow. The Governing Board finds that the following minimum flow is the limit at which further withdrawals would be significantly harmful to the water resources or ecology of the area.

The minimum flow for St. Marks River Rise is established as an allowable reduction of 33 cubic feet per second from the baseline period average daily spring flow. The baseline period is October 1, 1956 to November 27, 2017. The average daily spring flow is calculated as the difference between the surface water flow measured at St. Marks River Near Newport, FL and the St. Marks River Near Woodville, FL Estimated Daily Flow. The most recent 30-year period of average daily spring flows is used to evaluate whether the minimum flow is met.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.042, 373.0421, 373.103 FS. History–New 6-12-19.

## 40A-8.041 Minimum Flow for Wakulla Spring and Sally Ward Spring.

The Governing Board hereby establishes the following minimum flow. The Governing Board finds that the following minimum flow is the limit at which further withdrawals would be significantly harmful to the water resources or ecology of the area.

The minimum flow for Wakulla Spring and Sally Ward Spring, combined and undivided, is 539 cubic feet per second and is calculated as the sum of the Wakulla Spring Average Flow and the Sally Ward Spring Average Flow. The minimum flow of 539 cubic feet per second represents an allowable flow reduction of 9.9%, or 59 cubic feet per second, from the baseline period value of 598 cubic feet per second. The baseline period is October 23, 2004, to December 31, 2019.

The District will evaluate the minimum flow for Wakulla Spring and Sally Ward Spring every five years as part of the regional water supply planning process to determine the extent to which the sum of the Wakulla Spring Average Flow and the Sally Ward Spring Average Flow has been reduced due to withdrawals as of the date of each evaluation. Each evaluation will be completed using flows beginning on October 23, 2004, and include a review of:

(a) Flow data;

(b) Water withdrawals;

(c) Aquifer water levels; and

(d) Rainfall data.

Each evaluation is independent from and not a determination of water use permit compliance or environmental resource permit compliance. Permit compliance is a regulatory function that is not within the scope of this subsection.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.042, 373.0421, 373.103 FS. History‒New 5-18-21.