# CHAPTER 40D-2

# CONSUMPTIVE USE OF WATER

# 40D-2.011	Policy and Purpose

# 40D-2.021	Definitions

# 40D-2.031	Implementation (Repealed)

# 40D-2.041	Permits Required

# 40D-2.051	Exemptions

# 40D-2.091	Publications and Forms Incorporated by Reference

# 40D-2.101	Content of Application

# 40D-2.111	Notice of Application Form (Repealed)

# 40D-2.121	Notice and Hearing Requirements (Repealed)

# 40D-2.131	Times for Receiving Objections and for Hearing (Repealed)

# 40D-2.201	Permit Processing Fee (Repealed)

# 40D-2.301	Conditions for Issuance of Permits

# 40D-2.302	Reservations from Use

# 40D-2.311	Competing Applications (Repealed)

# 40D-2.321	Duration of Permits

# 40D-2.322	Population and Impact Analysis and Verification of 10-year Requirements (Repealed)

# 40D-2.331	Modification of Permits

# 40D-2.341	Revocation and Cancellation of Permits

# 40D-2.351	Transfer of Permits

# 40D-2.361	Renewal of Permits

# 40D-2.371	Ten Year Compliance Reporting

# 40D-2.381	Standard Permit Conditions

# 40D-2.401	Identification Tags

# 40D-2.441	Temporary Permits (Repealed)

# 40D-2.501	Permit Use Types

# 40D-2.511	Declaration of Water Shortage (Repealed)

# 40D-2.521	Change, Suspension or Restriction of Permits During Water Shortage (Repealed)

# 40D-2.531	Procedures Under Water Shortage (Repealed)

# 40D-2.541	Declaration of Emergency Due to Water Shortage (Repealed)

# 40D-2.621	Water-Conserving Credits

# 40D-2.801	Water Use Caution Areas

## 40D-2.011 Policy and Purpose.

The purpose of this chapter is to implement the provisions of Part II of Chapter 373, F.S., and the Water Resource Implementation Rule set forth in Chapter 62-40, F.A.C. Additional rules relating to water use are found in Chapter 40D-3, F.A.C., entitled Regulation of Wells, Chapter 40D-8, F.A.C., entitled Water Levels and Rates of Flow, Chapter 40D-80, F.A.C., entitled Prevention and Recovery Strategies for Minimum Flows and Levels, Chapter 40D-21, F.A.C., entitled Water Shortage Plan, and Chapter 40D-22, F.A.C., entitled Year-Round Water Conservation Measures.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.219 FS. History–New 10-5-74, Formerly 16J-2.01, Amended 10-1-89, 1-1-07.

## 40D-2.021 Definitions.

The following definitions shall apply Districtwide when used in this chapter and in the District’s Water Use Permit Applicant’s Handbook Part B, (WUP Applicant’s Handbook), (rev. 10/15), (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856), incorporated by reference in Rule 40D-2.091, F.A.C., except as specifically limited:

(1) “Alternative water supplies” and “alternative water supply” is defined in Section 373.019(1), F.S.

(2) “Annual Average” means the annual average quantities that is the total quantity authorized by the District from water sources in 1 year, divided by 365 days and expressed in gallons per day (gpd).

(3) “Change in Ownership or Control” with respect to Self-Relocation within the Southern Water Use Caution Area (SWUCA) and the Dover/Plant City Water Use Caution Area (D/PCWUCA) means a person other than the permittee that has been granted a real property interest or lease interest in the property subject to the permit; but does not include a person with a familial relationship to the permittee.

(4) “Common Area” means areas designated for common use or enjoyment including entranceways, parking lots, areas around buildings, areas within roadway right of ways, (e.g., road and sidewalk medians), open spaces, community areas and public parks.

(5) “Dover/Plant City WUCA” or “D/PCWUCA” means the Dover/Plant City Water Use Caution Area as described in paragraph 40D-2.801(3)(c), F.A.C.

(6) “Drought Annual Average” means the annual average quantities in the SWUCA that is the total quantity authorized by the District in 1 calendar year for irrigation based on a two-in-ten year drought, divided by 365 days and expressed in gallons per day (gpd).

(7) “MIA” means the Most Impacted Area within the Southern Water Use Caution Area located in Hillsborough, Manatee and Sarasota Counties as described in subparagraph 40D-2.801(3)(b)2., F.A.C.

(8) “Net Benefit” means activities or measures that will result in an improvement to a Minimum Flow or Level water body within the SWUCA or Dover/Plant City WUCA that more than offsets the impact of a proposed withdrawal.

(9) “New Quantities” means groundwater for annual average quantities and crop protection that is not currently authorized to be used for the intended use by the applicant. Within the SWUCA, means groundwater that is not currently authorized to be withdrawn by the applicant or not currently authorized to be used for the intended use by the applicant. Within the Dover/Plant City WUCA, “New Quantities” means groundwater for crop protection that is not currently authorized to be used by the applicant or not currently authorized to be used for the intended use by the applicant. This includes modifications of existing permits to increase quantities, and/or change the Permit Use Type (affecting only the modified portion), but does not include a full or partial permit transfer. A modification to change crops or plants grown under an Agricultural Use or to change withdrawal location or Use Type that is authorized by the terms of the permit or site certification at the time of issuance, is not a change in Permit Use Type provided that the quantities do not increase. In addition, when land is mined and the land will be returned to the Use Type operation authorized under the water use permit (WUP) that existed prior to mining, such activity does not constitute a change in Use Type or New Quantity.

(10) “Reclaimed Water” is defined in Section 373.019(17), F.S.

(11) “Ridge Lakes” means those lakes located within the area formerly known as the Highlands Ridge Water Use Caution Area as described in subparagraph 40D-2.801(3)(b)3., F.A.C.

(12) “Self-Relocation” means a permit modification that authorizes a permittee to move all or a portion of its withdrawal located within the SWUCA or D/PCWUCA to a new location or locations owned or controlled by the permittee within the SWUCA or D/PCWUCA, with no change in ownership, control, or Use Type as set forth in Rule 40D-2.501, F.A.C., and no increase in quantities. Self-Relocation does not include changes in withdrawal location or Use Type that are authorized by the terms of the existing permit.

(13) “SWUCA” means the Southern Water Use Caution Area as described in paragraph 40D-2.801(3)(b), F.A.C.

(14) “Upper Peace River” means that portion of the Peace River beginning at the confluence of Saddle Creek and the Peace Creek Canal, and extending southerly to the United States Geological Survey Zolfo Springs River Gage No. 02295637 and including the watershed contributing to that portion of the Peace River.

(15) “Water Use Permit” means a permit issued pursuant to Part II of Chapter 373, F.S. and Chapter 40D-2, F.A.C., which shall also be referred to as a “WUP”.

Rulemaking Authority 373.044, 373.113, 373.118, 373.171 FS. Law Implemented 373.036, 373.042, 373.0421, 373.116, 373.117, 373.118, 373.149, 373.171, 373.216, 373.219, 373.223, 373.229, 373.239, 373.243, 373.709 FS. History–New 1-1-07, Amended 12-30-08, 4-27-10, 6-16-11, 5-19-14, 9-29-15.

## 40D-2.031 Implementation.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.219, 373.223, 373.224, 373.226 FS. History–New 10-5-74, Amended 9-4-77, 10-16-78, Formerly 16J-2.03, Amended 3-23-81, 10-1-89, Repealed 5-19-14.

## 40D-2.041 Permits Required.

(1) The District issues two types of WUPs, a general WUP by rule issued pursuant to subsection (3) and an individual WUP issued pursuant to subsection (4). Unless expressly exempted by law or District rule, a WUP must be obtained from the District prior to any use, withdrawal or diversion of water.

(2) A water user shall obtain one permit for all withdrawals that are intended to serve contiguous property. Two or more properties represented to be separate properties shall be aggregated and treated as a single property for permitting purposes when the District determines that the properties are physically proximate and either (a) share the same irrigation infrastructure or (b) are operated as a common enterprise. However, when multiple use types, as defined in Rule 40D-2.501, F.A.C., are served by separate withdrawal facilities, the District is authorized to issue separate individual permits. This requirement to aggregate two or more properties shall not apply when the separate properties have existing individual permits that require metering for all withdrawals or the water user requests a permit modification to the permits to require metering for all withdrawals.

(3) A general WUP by rule is hereby established for withdrawals of water listed below that do not meet or exceed any permitting threshold. The Governing Board hereby grants a General Permit by Rule for all non-exempt withdrawals of water within the District that satisfy the following criteria:

(a) The withdrawal of water if the following thresholds are met:

1. Total withdrawal capacity from any source or combined sources is less than 1,000,000 gpd annual average quantities;

2. Annual average quantities from any source or combined sources is less than 100,000 gpd;

3. Withdrawal is from a well having an outside diameter of less than 6 inches;

4. Withdrawal is from a surface water body and the outside diameter of the withdrawal pipe or the sum of the outside diameters of the withdrawal pipes is less than 4 inches;

5. The withdrawal is not located within the MIA;

6. Are consistent with requirements of any applicable mandatory reuse zones; and

7. Does not exceed any of the specific thresholds identified in subsection (3) of this rule.

(b) Temporary uses for contamination cleanup, provided that:

1. The United States Environmental Protection Agency, the State of Florida Department of Environmental Protection, the State of Florida Department of Health and Rehabilitative Services and other agencies have been appropriately notified of the cleanup activity;

2. Well construction permits are obtained from the District, including an acceptable plan for abandonment of these wells; and

3. The quantities authorized do not exceed the quantities in subparagraphs 40D-2.041(3)(a)1. and 2., F.A.C.

(c) Temporary withdrawals from test wells, provided that an attendant testing program has been submitted to and approved by the District. A WUP must be obtained prior to converting a test well to a production well.

(d) Temporary dewatering for construction of buildings or other foundations and roadways or for installation of utility pipeline, cables, culverts, and catch basins.

(e) Water used strictly for fire fighting purposes.

The general permit by rule shall be subject to the standard conditions in Rule 40D-2.381, F.A.C., and any applicable special conditions for the use type.

(4) Unless expressly exempted by law or District rule, a WUP must be obtained from the District prior to any use, withdrawal, or diversion of water. An individual WUP must be obtained from the District prior to withdrawal of water if any of the following thresholds are met or exceeded:

(a) Total withdrawal capacity from any source or combined sources is greater than or equal to 1,000,000 gpd annual average quantities.

(b) Annual average quantities from any source or combined sources is greater than or equal to 100,000 gpd.

(c) Withdrawal is from a well having an outside diameter of 6 inches or greater at the surface.

(d) Withdrawal is from a surface water body and the outside diameter of the withdrawal pipe or the sum of the outside diameters of the withdrawal pipes is 4 inches or greater.

(e) In addition to the thresholds set forth in paragraphs (4)(a)-(d) above, a permit is required within the MIA as set forth in subparagraph 40D-2.801(3)(b)2., F.A.C., when withdrawal is from wells having a cumulative outside diameter greater than 6 inches at the surface, any of which wells is constructed after April 11, 1994. This paragraph (e) shall not apply to any proposed well less than 6 inches in diameter at the surface when it is of the same diameter or smaller than a well it replaces and an application to plug the replaced well in accordance with Rule 40D-3.531, F.A.C., is filed with the application to construct the replacement well in accordance with Rule 40D-3.041, F.A.C.

(5) WUP categories are based on the combined annual average quantities, defined as the total reasonable-beneficial water quantity necessary for the proposed water use, to be obtained during 1 year from ground water, surface water, alternative water supply, imported water or any other water source, divided by 365 days and expressed in gpd.

(6) Notwithstanding the criteria enumerated in subsection (3), an individual WUP is required for all withdrawals of water:

(a) When the use of water does not meet the criteria in subsection (3); or

(b) Evidence indicates the withdrawal is likely to cause adverse impacts to existing water or land uses or the water resources or the use is within an area that is experiencing or is projected to experience withdrawal-related adverse water resource or environmental impacts.

(7) Any person whose use otherwise meets the criteria for a general WUP as specified in subsection (3) may submit an application to obtain an individual WUP at their sole discretion.

(8) Upon the effective date of amendments defining WUPs as provided above, any permit issued which, as a result of such amendments, is thereafter defined as a different permit for which a higher fee is required shall be converted by the District to the applicable permit without any fee payment. If a submitted application for a permit is pending as of the effective date of amendments defining WUPs and, as result of such amendments, will be issued as a permit requiring a higher application fee payment, no additional fee payment shall be required in order for the application to be considered complete.

Rulemaking Authority 373.044, 373.113, 373.118, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.079(4)(a), 373.083(5), 373.219, 373.223, 373.224, 373.226 FS. History–New 10-5-74, Amended 12-31-74, 10-24-76, 9-4-77, 10-16-78, Formerly 16J-2.04(1), (2), (4), (5), Amended 9-1-84, 11-4-84, 10-1-89, 2-10-93, 4-11-94, 1-1-07, 12-30-08, 5-17-09, 11-2-09, 6-16-11, 5-19-14.

## 40D-2.051 Exemptions.

(1) No permit is required for the following uses:

(2) The domestic consumption of water by individual users. The District shall presume, unless otherwise shown to the contrary, that any use of water exceeding the quantities set forth in subsection 40D-2.041(3), F.A.C., is not limited to individual domestic consumption and is not exempt by this provision.

(3) Those certified uses defined in Chapter 62-17, F.A.C., entitled Electrical Power Plant Siting effective April 14, 1986.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.219, 373.223, 373.224, 373.226 FS., 76-243, Laws of Florida. History–New 10-5-74, Amended 12-31-74, 10-24-76, 9-4-77, 10-16-78, Formerly 16J-2.04(3), Amended 10-1-89, 2-24-03, 5-19-14.

## 40D-2.091 Publications and Forms Incorporated by Reference.

(1) The following publications are hereby incorporated by reference into this chapter, and are available from the District’s website at www.WaterMatters.org or from the District upon request:

(a) Water Use Permit Applicant’s Handbook Part B (also referred to as the WUP Applicant’s Handbook) (rev. 1/22), (https://www.flrules.org/Gateway/reference.asp?No=Ref-14003).

(b) Water Use Permit Applicant’s Handbook, Part D, “Requirements for the Estimation of Permanent and Temporal Service Area Populations” (1/09), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03840).

(2) The following forms for reporting information to the District are hereby incorporated by reference, and are available from the District upon request:

(a)	Flow Meter Accuracy Report Form, Form No. LEG-R.101.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03835).

(b) Irrigation Water Use Form – Annual Crops, Southern Water Use Caution Area, Form No. LEG-R.017.01 (9/12) (http://www.flrules.org/Gateway/reference.asp?No=Ref-01676).

(c) Irrigation Water Use Form – Annual Landscape/Recreation, Southern Water Use Caution Area, Form No. LEG-R.018.02 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03666).

(d) Irrigation Water Use Form – Summer/Fall Seasonal, Southern Water Use Caution Area, Form No. LEG-R.019.01 (9/12) (http://www.flrules.org/Gateway/reference.asp?No=Ref-01679).

(e) Irrigation Water Use Form – Winter/Spring Seasonal, Southern Water Use Caution Area, Form No. LEG-R.020.01 (9/12) (http://www.flrules.org/Gateway/reference.asp?No=Ref-01680).

(f) Annual Crop Summary Report, Form No. LEG-R.102.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03758).

(g) Public Supply Annual Report For Individual Permits Over 100,000 GPD Annual Average Quantities, Form No. LEG-R.103.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03662).

(h)	SWFWMD Annual Reclaimed Water Supplier Report, Form No. LEG-R.26.00 (09/09), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03841).

(i) University of Florida’s Institute of Food and Agricultural Science’s Department of Fisheries and Aquatic Sciences publication “Regulations Pertaining to Non-native Fish in Florida Aquaculture” (FA-121) (August 2013), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03844), incorporated in Section 2.4.3.3.3. of the Water Use Permit Applicant’s Handbook Part B.

(j)	Flow Meter Pre-Installation Information Work Sheet, Form No. LEG-R.052.00 (9/12), (http://www.flrules.org/Gateway/reference.asp?No=Ref-02198).

(k)	Flow Meter Post-Installation Information Reimbursement Form, Form No. LEG-R.053.00 (3/9/17), (http://www.flrules.org/Gateway/reference.asp?No=Ref-08067).

(l) Crop Protection Report Form, Form No. LEG-R.104.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03836).

(m)	Water Use/Pumpage Report Form, Form No. LEG-R.105.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03837).

(n) Water Quality Report Form, Form No. LEG-R.106.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03838).

(3) The following rules of the Florida Department of Environmental Protection: subsections 62-40.416(7) and 62-40.416(8), F.A.C., effective May 6, 2013, which are hereby incorporated by reference as of May 6, 2013.

Rulemaking Authority 373.044, 373.113, 373.118, 373.171 FS. Law Implemented 373.036, 373.0363, 373.042, 373.0421, 373.079(4)(a), 373.083(5), 373.116, 373.117, 373.1175, 373.118, 373.149, 373.171, 373.185, 373.216, 373.217, 373.219, 373.223, 373.227, 373.228, 373.229, 373.236, 373.239, 373.243, 373.250, 373.705, 373.709, 373.715 FS. History–New 10-1-89, Amended 11-15-90, 2-10-93, 3-30-93, 7-29-93, 4-11-94, 7-15-98, 7-28-98, 7-22-99, 12-2-99, 8-3-00, 9-3-00, 4-18-01, 4-14-02, 9-26-02, 1-1-03, 2-1-05, 10-19-05, 1-1-07, 8-23-07, 10-1-07, 10-22-07, 11-25-07, 12-24-07, 2-13-08, 2-18-08, 4-7-08, 5-12-08, 7-20-08, 9-10-08, 12-30-08, 1-20-09, 3-26-09, 7-1-09, 8-30-09, 10-26-09, 11-2-09, 1-27-10, 4-27-10, 5-26-10, 6-10-10, 6-30-10, 6-16-11, 12-12-11, 10-14-12, 2-7-13, 2-18-13, 5-19-14, 9-29-15, 4-2-17, 2-18-20, 11-24-21, 2-17-22.

## 40D-2.101 Content of Application.

(1) Application for a new or renewal of an existing Individual WUP shall be made using the Water Use Permit Application, Form No. LEG-R.100.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03739), incorporated by reference in paragraph 40D-1.659(1)(h), F.A.C. In order to obtain an individual WUP, an applicant shall file with the District a “Water Use Permit Application” form including the appropriate supplemental forms or attachments as may be required for water use or uses for which application is being made. The application shall consist of all completed forms and other documentation submitted in support of the application for the WUP, which shall constitute information sufficient to demonstrate what the water use meets the criteria and conditions established in Rule 40D-2.301, F.A.C. Applicants shall also submit one or more of the following Supplemental Forms as appropriate for each type of water use proposed in the permit application:

(a) Water Use Permit Application – Agricultural Use ‒ Supplemental Form A, Form No. LEG-R.030.02 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03740), incorporated by reference in paragraph 40D-1.659(1)(i), F.A.C.

(b) Water Use Permit Application – Industrial/Commercial Use ‒ Supplemental Form B, Form No. LEG-R.031.01 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03741), incorporated by reference in paragraph 40D-1.659(1)(j), F.A.C.

(c) Water Use Permit Application – Landscape/Recreation Use – Supplemental Form C, Form No. LEG-R.034.01 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03742), incorporated by reference in paragraph 40D-1.659(1)(k), F.A.C.

(d) Water Use Permit Application – Mining/Dewatering Use – Supplemental Form D, Form No. LEG-R.112.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03743), incorporated by reference in paragraph 40D-1.659(1)(l), F.A.C.

(e) Water Use Permit Application – Public Supply Use – Supplemental Form E, Form No. LEG-R.033.02 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03744), incorporated by reference in paragraph 40D-1.659(1)(m), F.A.C.

(f) Water Use Permit Application – Other Use – Supplemental Form F, Form No. LEG-R.109.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03745), incorporated by reference in paragraph 40D-1.659(1)(n), F.A.C.

(g) Water Use Permit Application – Institutional Use – Supplemental Form G, Form No. LEG-R.110.00 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03746), incorporated by reference in paragraph 40D-1.659(1)(o), F.A.C.

(2) For projects that require both a WUP and an environmental resource permit (ERP) pursuant to District rules, the Applicant must demonstrate that a completed ERP application has been submitted. If the District determines that a permit application involves an area where the WUP may not be granted because of water resource problems, the requirement for a complete ERP application may be waived by the District.

(3) The District may require additional information deemed necessary to protect the water resources and existing users.

(4) Optional Application Forms.

The following forms may be used by applicants in support of permit applications, are hereby incorporated by reference and are available from the District’s website at www.WaterMatters.org or from the District offices:

(a)	Proposed Well Construction Location and Design Form, Form No. LEG-R.006.01 (4/09), (https://www.flrules.org/gateway/reference.asp?No=Ref-03730); and

(b)	Agricultural Water Allotment Form, Form No. LEG-R.042.00 (4/09), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03845).

(5) Southern Water Use Caution Area Application Forms ‒

In addition to the permit application and forms identified above, all applications for permits in the Southern Water Use Caution Area (SWUCA) shall submit the “Supplemental Form – Southern Water Use Caution Area,” Form No. LEG-R.007.03 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03660), incorporated herein by reference. Applicants in the SWUCA shall also submit the following application and supplemental forms as appropriate for the intended water use type as described in the WUP Applicant’s Handbook Part B. The SWUCA application and supplemental information forms may be obtained from the District’s website at www.WaterMatters.org or from District offices:

(a) Net Benefit Supplemental Form – Southern Water Use Caution Area, Form No. LEG-R.010.02 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03964), incorporated herein by reference; and

(b) Southern Water Use Caution Area Ground Water Replacement Credit Application, Form No. LEG-R.011.03 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03661), incorporated herein by reference.

(6) Dover/Plant City Water Use Caution Area Application Forms – In addition to the permit application and forms identified above, all applicants for permits in the Dover/Plant City Water Use Caution Area shall submit the “Dover/Plant City Water Use Caution Area Supplemental Form” – Form No. LEG-R.050.02 (1/22), (http://www.flrules.org/Gateway/reference.asp?No=Ref-14002), incorporated herein by reference. Applicants in the Dover/Plant City WUCA shall also submit the “Net Benefit Supplemental Form Dover/Plant City Water Use Caution Area” – Form No. LEG-R.051.01 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03966), incorporated herein by reference, as appropriate for the intended water use as described in the WUP Applicant’s Handbook. All application and supplemental information forms may be obtained from the District’s website at www.WaterMatters.org or from District offices.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.0363, 373.116, 373.117, 373.1175, 373.216, 373.229, 373.236, 403.0877 FS. History–New 10-5-74, Amended 10-24-76, 1-6-82, 2-14-82, Formerly 16J-2.06, Amended 10-1-89, 10-23-89, 2-10-93, 7-15-99, 1-1-03, 1-1-07, 11-25-07, 9-10-08, 7-1-09, 8-30-09, 10-26-09, 1-27-10, 4-27-10, 6-16-11, 12-12-11, 10-14-12, 5-19-14, 2-17-22.

40D-2.111 Notice of Application Form.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.116, 373.229 FS. History–New 10-5-74, Amended 10-24-76, Formerly 16J-2.07, Repealed 10-1-84.

40D-2.121 Notice and Hearing Requirements.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.116, 373.229 FS. History–New 10-5-74, Amended 10-24-76, Formerly 16J-2.08, Amended 10-21-80, 6-30-81, Repealed 10-1-84.

40D-2.131 Times for Receiving Objections and for Hearing.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171 FS. Law Implemented 373.116, 373.229 FS. History–New 10-5-74, Formerly 16J-2.09, Amended 10-21-80, Repealed 10-1-84.

40D-2.201 Permit Processing Fee.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.109, 373.223 FS. History–New 10-5-74, Formerly 16J-2.10, Repealed 10-1-89.

## 40D-2.301 Conditions for Issuance of Permits.

(1) To obtain an individual WUP, renewal, or modification, an applicant must provide reasonable assurance that the proposed consumptive use of water, on an individual and cumulative basis:

(a) Is a reasonable-beneficial use;

(b) Will not interfere with any presently existing legal use of water; and

(c) Is consistent with the public interest.

(2) In order to provide reasonable assurances that the consumptive use is reasonable-beneficial, an applicant shall demonstrate that the consumptive use:

(a) Is a quantity that is necessary for economic and efficient use;

(b) Is for a purpose and occurs in a manner that is both reasonable and consistent with the public interest;

(c) Will utilize a water source that is suitable for the consumptive use;

(d) Will utilize a water source that is capable of producing the requested amount;

(e) Except when the use is for human food preparation or direct human consumption, will utilize the lowest quality water source that is suitable for the purpose and is technically, environmentally, and economically feasible;

(f) Will not cause harm to existing offsite land uses resulting from hydrologic alterations;

(g) Will not cause harm to the water resources of the area in any of the following ways:

1. Will not cause harmful water quality impacts to the water source resulting from the withdrawal or diversion;

2. Will not cause harmful water quality impacts from dewatering discharge to receiving waters;

3. Will not cause harmful saline water intrusion or harmful upconing;

4. Will not cause harmful hydrologic alterations to natural systems, including wetlands or other surface waters; and

5. Will not otherwise cause harmful hydrologic alterations to the water resources of the area.

(h) Is in accordance with any minimum flow or level and implementation strategy established pursuant to Sections 373.042 and 373.0421, F.S.; and

(i) Will not use water reserved pursuant to Section 373.223(4), F.S.

(3) For projects that require both an ERP and an individual WUP, an application for an ERP must be deemed complete prior to issuance of the individual WUP when the design of the surface water management system can affect the quantities developed from the project site and the quantities needed to supply project water demands. The applicant may submit an application for a Conceptual ERP to satisfy this requirement, provided that the application contains information from which supplemental irrigation demands, potable water demands, other water use demands, and water supply quantities derived from the surface water management system can be calculated. Otherwise, the applicant shall submit an application for an Individual or General ERP. Phosphate mining projects are not required to have complete ERPs prior to WUP issuance. If the District determines that a permit application involves an area where there are water resource problems and due to the quantity, type or location of the proposed withdrawal it is unlikely that a water use permit will be issued, the requirement for a complete ERP application shall be waived by the District. Where such waivers are granted, and if a WUP is issued, it shall specify that a well construction permit will not be issued and that withdrawals cannot commence until the appropriate ERP is issued.

(4)	The standards and criteria set forth in the WUP Applicant’s Handbook Part B, (rev. 10/15), (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856), shall be used to provide the reasonable assurances required in subsections 40D-2.301(1) and (2), F.A.C.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.219, 373.223, 373.229 FS. History–New 10-5-74, Amended 12-31-74, 2-6-78, 7-5-78, Formerly 16J-2.11, 16J-2.111, Amended 1-25-81, 10-1-89, 2-10-93, 8-3-00, 4-14-02, 1-1-07, 5-26-10, 6-30-10, 5-19-14, 9-29-15.

## 40D-2.302 Reservations from Use.

(1) All available water from the Morris Bridge Sink but not greater than 3.9 million gallons of water on any given day is reserved to be used to contribute to achieving or maintaining the Minimum Flows for the Lower Hillsborough River set forth in Rule 40D-8.041, F.A.C. The Morris Bridge Sink is located in Section 5, Township 28S, Range 20E, approximately 0.6 miles south of the Hillsborough River and 0.5 miles north of Cow House Creek in Hillsborough County, Florida.

(2) The Governing Board anticipates reserving from use water necessary to recover to, and protect, the Minimum Flows and Levels established for the Southern Water Use Caution Area as set forth in Chapter 40D-8, F.A.C. These reservations will be adopted through future rulemaking on a case-by-case basis, to address water that is developed through water resource development projects designed to achieve and maintain Minimum Flows and Levels. Adopted reservations will be incorporated into this Rule 40D-2.302, F.A.C.

(3) The Governing Board finds reserving from allocation and use by permit applicants the water stored in Lake Hancock at and below water elevation 100.0 feet NGVD (1929) is required for the protection of fish and wildlife. The Governing Board also finds reserving from allocation and use by permit applicants the water released from Lake Hancock to Lower Saddle Creek is required for the protection of fish and wildlife when any of the following flow thresholds in the Upper Peace River are not met:

(a) 17 cubic feet per second (“cfs”) at United States Geological Survey (“USGS”) Bartow Gage No. 02294650;

(b) 27 cfs at USGS Fort Meade Gage No. 02294898;

(c) 45 cfs at USGS Zolfo Springs Gage No. 02295637.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.0421, 373.223(4) FS. History–New 1-1-07, Amended 11-25-07, 5-27-20.

## 40D-2.311 Competing Applications.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.079(4)(a), 373.083(5), 373.233 FS. History–New 10-5-74, Formerly 16J-2.12, Amended 10-1-89, 11-2-09, Repealed by Section 3, Chapter 2012-31, Laws of Florida, 5-27-12.

## 40D-2.321 Duration of Permits.

(1) When requested by an applicant, a WUP shall have a duration of 20 years provided the applicant provides sufficient data to demonstrate reasonable assurance that the proposed use meets the conditions for issuance in Rule 40D-2.301, F.A.C., and the criteria in the WUP Applicant’s Handbook Part B, (rev. 10/15), (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856), for the requested duration.

(2) If there are pre-existing adverse impacts resulting from the permittee’s existing permit that are being addressed through a mitigation plan that includes a minimum flow and recovery strategy that must be eliminated by the tenth year of the permit, the water use permit shall have a duration of 10 years provided that the applicant provides sufficient data to demonstrate reasonable assurance that the proposed use meets the conditions for issuance in Rule 40D-2.301, F.A.C., and the criteria in the WUP Applicant’s Handbook Part B, (rev. 10/15), (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856), for the permit’s duration. Subsection (3) shall not apply to a permit required to have a 10 year duration pursuant to subsection 40D-2.321(2), F.A.C.

(3) Permits that do not qualify for a 20 year permit duration pursuant to subsection 40D-2.321(1), F.A.C., shall be issued for a shorter duration that reflects the period for which the applicant has provided sufficient data to demonstrate such reasonable assurances that the proposed use meets the conditions for issuance in Rule 40D-2.301, F.A.C., and the criteria in the WUP Applicant’s Handbook Part B, (rev. 10/15), (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856).

(4) The District is authorized to issue permits for a period up to 50 years in accordance with Section 373.236(3), F.S.

(5) Permits that are modified prior to renewal will maintain the original expiration date unless the applicant requests the modification be deemed by the District to be substantial as described in the WUP Applicant’s Handbook Part B Section 1.4.11, and treated as a renewal with modification. If the District determines that the criteria of the WUP Applicant’s Handbook Part B Section 1.4.11, are met, the application shall be processed as a renewal application with modification. Notwithstanding paragraph 40D-2.331(1)(b), F.A.C., a request for modification solely of the permit expiration date of a WUP issued from January 1, 2003 to December 31, 2012, shall be approved by letter, provided a Modification Short Form Application is submitted, the permit is in compliance with the criteria in Rule 40D-2.301, F.A.C. and all conditions of the permit, and the permit does not exceed the applicable permit duration provided in subsection 40D-2.321(1), F.A.C. or is a permit required to have a ten year duration pursuant to subsection 40D-2.321(2), F.A.C.

(6) Wholesale Public Supply Permits shall be issued with an expiration date that coincides with the expiration date of the supplier’s permit that provides the majority of the supply to the Wholesale Public Supply Permittee.

(7) The District is authorized to issue permits for a period up to 37 years in accordance with Section 373.236(5)(b), F.S.

Rulemaking Authority 373.044, 373.103, 373.113, 373.171 FS. Law Implemented 373.103, 373.171, 373.219, 373.223, 373.227, 373.236, 373.250 FS. History–New 10-5-74, Amended 12-31-74, 10-24-76, 1-6-82, 3-11-82, Formerly 16J-2.13, Amended 10-1-89, 7-28-98, 1-1-03, 1-1-07, 2-13-08, 12-30-08, 6-30-10, 1-1-13, 5-19-14, 9-29-15.

## 40D-2.322 Population and Impact Analysis and Verification of 10-year Requirements.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.103, 373.171, 373.219, 373.223, 373.227, 373.250 FS. History–New 6-30-10, Repealed 1-23-13.

## 40D-2.331 Modification of Permits.

(1) A permittee may seek modification of any of the terms and conditions of an unexpired permit except when the sole purpose is to modify the expiration date. Notwithstanding, a permittee may seek modification for the sole purpose of modifying the expiration date if it is pursuant to subsection 40D-2.321(5), F.A.C, or when a public water supply permittee achieves demonstrable savings attributable to implementation of a water conservation plan pursuant to Sections 2.4.8.6 and 2.4.8.7 of the Applicant’s Handbook. A permit expiration date may also be modified upon request and documentation by the permittee, if the modification application is deemed by the District to be substantial, as described in the WUP Applicant’s Handbook Part B Section 1.4.11, (rev. 10/15), resulting in the modification application to (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856), be processed as a renewal application with modification. A request for modification shall be reviewed in accordance with the rules in effect at the time the modification is filed.

(2) Modifications:

(a) Formal Modification – A Formal Modification may be requested through use of an individual application, using the same individual WUP Application Form and applicable Supplemental or Attachment Form(s) submitted for a new permit as incorporated in subsection 40D-2.101(1), F.A.C.; or

(b) Letter Modification – A Letter Modification may be requested through use of a Modification Short Form Application, Form No. LEG-R.035.02 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03747), incorporated herein by reference and available at any District office or through the District’s website at www.WaterMatters.org. A Modification Short Form Application may be submitted, provided the annual average quantities will not increase by more than 100,000 gpd or more than 10% of the total permitted quantity, the use of the water will not change, the modification does not cause the total annual average quantities to equal or exceed 500,000 gpd, the proposed changes would not cause impacts beyond those considered in the initial permit and is not a request to extend a permit term unless pursuant to subsection 40D-2.321(5), F.A.C. Within the SWUCA, except to reactivate standby quantities as provided in Section 2.2.4 of the WUP Applicant’s Handbook, a Modification Short Form Application shall not be used for modifications that include a request to Self-Relocate or to increase water withdrawals that impact or are projected to impact a water body with an established Minimum Flow or Level.

A Modification Short Form may be submitted to modify the permit to include or remove a project funded pursuant to Chapter 40D-26, F.A.C., and, if requested by permittee, extend the term of the permit for twenty years. The District shall not reduce permitted quantities conserved by the project funded pursuant to Chapter 40D-26, F.A.C., as long as the permittee operates the project and the conditions for issuance provided for in Chapter 373, F.S. and Chapter 40D-2, F.A.C., are met.

(3) The District shall modify any permit if it is shown that the use or disposition of water is detrimental to other water users or to the water resources or no longer meets the conditions for issuance identified in Rule 40D-2.301, F.A.C.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.079(4)(a), 373.083(5), 373.171, 373.219, 373.236, 373.239 FS. History–New 10-5-74, Formerly 16J-2.14(1), Amended 10-1-89, 2-10-93, 7-29-93, 1-1-07, 8-23-07, 7-1-09, 11-2-09, 7-10-13, 5-19-14, 9-29-15.

## 40D-2.341 Revocation and Cancellation of Permits.

(1) The Governing Board shall permanently or temporarily revoke a permit in whole or in part, at any time after notice and hearing, if it finds that the use is no longer reasonable beneficial or is no longer in the public interest.

(2) In determining whether the use is not reasonable beneficial or in the public interest, the Governing Board shall consider:

(a) Any material false statement in an application to continue, initiate, or modify a use, or any material false statement of fact required of the user pursuant to the provisions of this chapter;

(b) Any willful violation of the material terms or conditions of the permit;

(c) Any violation of any provision of this chapter which the permittee does not resolve;

(d) Nonuse of the water supply allowed by the permit for a period of 2 years or more unless the user can prove that the nonuse was due to extreme hardship caused by factors beyond the permittee’s control; or

(e) Whether the withdrawal causes significant adverse impacts to the water resources, environmental systems, or existing legal users, and the Permittee does not modify the activities or satisfactorily mitigate the impacts.

(3) The District may administratively cancel a permit when the permittee or permittee’s authorized agent requests the permit to be canceled or the permit has been abandoned, except as described in paragraph 40D-2.341(2)(d), F.A.C.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.171, 373.243 FS. History–New 10-5-74, Formerly 16J-2.15, Amended 10-1-89, 2-1-05, 10-19-05, 5-19-14.

## 40D-2.351 Transfer of Permits.

(1) Notwithstanding the provisions of Rule 40D-1.6105, F.A.C., persons who wish to continue an existing, permitted water use and who have acquired ownership or legal control of permitted water withdrawal facilities or the land on which the facilities are located must apply to transfer the permit to themselves within 45 days of acquiring ownership or legal control of such water withdrawal facilities or such land. The applicant shall request such transfer using the “Application to Transfer a Water Use Permit,” Form No. LEG-R.002.005 (5/14), (http://www.flrules.org/Gateway/reference.asp?No=Ref-03759), incorporated herein by reference. Copies of the form can be obtained from the District’s website at www.WaterMatters.org or from District offices. The District will transfer the permit provided all aspects of the permit except for ownership remain the same. All terms and conditions of the permit shall become binding on the transferee.

(2) Until the permit is transferred or a new permit obtained, the party subsequently controlling the permitted water withdrawal facilities will be in violation of these rules for making any withdrawals without the required permit.

(3) Persons who apply to transfer a permit under subsection (1) above and who propose to change the source, use or withdrawal quantities from those specified on the existing permit must also submit an application to modify the permit with the application to transfer the permit.

(4) Applications for partial transfers of permits shall be made in accordance with the WUP Applicant’s Handbook Part B, (rev. 10/15), (https://www.flrules.org/Gateway/reference.asp?No=Ref-05856), Section 1.4.9.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.219 FS. History–New 10-1-89, Amended 2-10-93, 3-30-93, 2-1-05, 10-19-05, 11-25-07, 8-30-09, 10-14-12, 5-19-14, 9-29-15.

## 40D-2.361 Renewal of Permits.

(1) Applications for renewal of permits shall be made no earlier than 1 year and should be made no later than 90 days prior to the expiration date of the permit. Application for a permit renewal is timely only if actually received by the District not later than the expiration date of the existing permit. Mailing the application does not constitute receipt by the District.

(2)(a) Subsection (1) above shall be applicable to those permits that are not extended pursuant to subsection 40D-2.321(5), F.A.C., based on the expiration date on the face of the permit.

(b) Subsection (1) above shall be applicable to those permits that are extended pursuant to subsection 40D-2.321(5), F.A.C., based on the revised expiration date assigned to the permit.

Rulemaking Authority 373.044, 373.103, 373.113, 373.118, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.103, 373.239 FS. History– New 10-5-74, Formerly 16J-2.14(2), Amended 9-1-84, 10-1-89, 7-28-98, 4-7-08, 5-19-14.

## 40D-2.371 Ten Year Compliance Reporting.

(1) Except for permits issued pursuant to Section 373.236(6), F.S., permits issued for a duration of 20 years or longer shall require submittal of a compliance report under Section 373.236(4), F.S., once every ten years, when necessary to maintain reasonable assurances that the conditions for issuance can continue to be met. Permits issued for greater than 20 years pursuant to Section 373.236(6), F.S., shall require submittal of a compliance report once every five years.

(2) The report shall include sufficient information to maintain reasonable assurance that the permittee’s use can continue, for the remaining duration of the permit, to meet the conditions for issuance set forth in the rules existing when the District issued the permit. After reviewing this report, the District will modify the permit, if required to ensure that the use of water authorized by the permit can continue to meet the conditions for issuance set forth in the rules existing when the District issued the permit. As required by Sections 120.569 and 120.60, F.S., the District shall provide notice of intent to modify the permit.

(3) For all water use classes, when economic conditions or population growth rates result in the actual water use being lower than permitted water use, a modification to reduce the permitted allocation shall only be made by the District when there is no reasonable likelihood that the allocation will be needed during the permit term. For agricultural WUPs for irrigation, reductions in actual use compared to permitted withdrawal that are due to weather events, crop diseases, nursery stock availability, or changes in crop type shall not result in a permit modification by the District to reduce the permitted allocation during the term of the permit.

(4) Additionally, in order to incentivize conservation of water, if actual water use is less than permitted water use due to documented implementation of water conservation measures, the permitted allocation shall not be modified by the District due to these circumstances during the term of the permit.

(5) Nothing in this subsection shall be construed to alter the District’s authority to reduce permitted withdrawals under circumstances not addressed by this section, nor be construed to alter the water conservation requirements of the permit for the duration of the permit.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.236 FS. History–New 5-19-14.

## 40D-2.381 Standard Permit Conditions.

(1) WUPs shall be conditioned, as necessary, to ensure that the permitted withdrawal continues to meet the conditions for issuance in Rule 40D-2.301, F.A.C. There are two categories of permit conditions that will be applied to WUPs. Standard conditions contain general information and operational constraints that generally apply to all water uses unless waived or modified by the District upon a determination that the conditions are inapplicable to the use authorized by the WUP. Special conditions vary among use classes, source classes, and geographic locations, and may be project-specific.

(2) Every permit acquired under this Chapter shall include standard terms which describe the following information:

(a) Permittee’s name and address,

(b) Permit number,

(c) Date permit application filed,

(d) Date permit granted,

(e) Permit expiration date,

(f) Water source classification,

(g) Water use classification,

(h) Property location,

(i) Quantity permitted, and

(j) Withdrawal locations.

(3) Every WUP acquired under this chapter shall include the following standard conditions which impose certain limitations on the permitted water withdrawal:

(a) All withdrawals authorized by this WUP shall be implemented as conditioned by this permit, including any documents submitted as part of the permit application incorporated by reference in a permit condition. This permit is subject to review and modification, enforcement action, or revocation, in whole or in part, pursuant to Section 373.136 or 373.243, F.S.

(b) This permit is issued based on information provided by the Permittee demonstrating that the use of water is reasonable and beneficial, consistent with the public interest, and will not interfere with any existing legal use of water. If, during the term of the permit, it is determined by the District that a statement in the application and in the supporting data is found to be materially false or inaccurate, the use is not reasonable and beneficial, in the public interest, or does impact an existing legal use of water, the Governing Board shall modify this permit or shall revoke this permit following notice and hearing, pursuant to Section 373.136 or 373.243, F.S. The Permittee shall immediately notify the District in writing of any previously submitted information that is later discovered to be inaccurate.

(c) A Permittee may seek modification of any term of an unexpired permit. The Permittee is advised that Section 373.239, F.S., and Rule 40D-2.331, F.A.C., are applicable to permit modifications.

(d) Nothing in this permit should be construed to limit the authority of the District to declare a water shortage and issue orders pursuant to Chapter 373, F.S. In the event of a declared water shortage, the Permittee must adhere to the water shortage restrictions, as specified by the District. The Permittee is advised that during a water shortage, reports shall be submitted as required by District rule or order.

(e) With advance notice to the Permittee, District staff with proper identification shall have permission to enter, inspect, collect samples, take measurements, observe permitted and related facilities, and collect and document any information deemed necessary to determine compliance with the approved plans, specifications and conditions of this permit. The Permittee shall either accompany District staff onto the property or make provision for access onto the property.

(f) This permit does not convey to the Permittee any property rights or privileges other than those specified herein, nor relieve the permittee from complying with any applicable local government, state, or federal law, rule, or ordinance.

(g) The Permittee shall cease or reduce surface water withdrawal as directed by the District if water levels in lakes fall below the applicable minimum water level established in Chapter 40D-8, F.A.C., or rates of flow in streams fall below the minimum levels established in Chapter 40D-8, F.A.C.

(h) The Permittee shall cease or reduce withdrawal as directed by the District if water levels in aquifers fall below the minimum levels established by the Governing Board.

(i) The Permittee shall practice water conservation to increase the efficiency of transport, application, and use, as well as to decrease waste and to minimize runoff from the property. At such time as the Governing Board adopts specific conservation requirements for the Permittee’s water use classification, this permit shall be subject to those requirements upon notice and after a reasonable period for compliance.

(j) The District may establish special regulations for Water-Use Caution Areas. At such time as the Governing Board adopts such provisions, this permit shall be subject to them upon notice and after a reasonable period for compliance.

(k) The Permittee shall mitigate any adverse impact to existing legal uses caused by withdrawals. When adverse impacts occur or are imminent, the District may require the Permittee to mitigate the impacts. Adverse impacts include:

1. A reduction in water levels which impairs the ability of a well to produce water;

2. Significant reduction in levels or flows in water bodies such as lakes, impoundments, wetlands, springs, streams or other watercourses; or

3. Significant inducement of natural or manmade contaminants into a water supply or into a usable portion of an aquifer or water body.

(l) The Permittee shall mitigate any adverse impact to environmental features or offsite land uses as a result of withdrawals. When adverse impacts occur or are imminent, the District shall require the Permittee to mitigate the impacts. Examples of adverse impacts include the following:

1. Significant reduction in levels or flows in water bodies such as lakes, impoundments, wetlands, springs, streams, or other watercourses;

2. Damage to crops and other vegetation causing financial harm to the owner.

3. Damage to the habitat of endangered or threatened species.

(m) When necessary to analyze impacts to the water resource or existing users, the District shall require the Permittee to install flow metering or other measuring devices to record withdrawal quantities and submit the data to the District.

(n) A District identification tag shall be prominently displayed at each withdrawal point that is required by the District to be metered or for which withdrawal quantities are required to be reported to the District, by permanently affixing the tag to the withdrawal facility.

(o) Permittee shall notify the District in writing within 30 days of any sale, transfer, or conveyance of ownership or any other loss of permitted legal control of the Project and/or related facilities from which the permitted withdrawal is made. Where Permittee’s control of the land subject to the permit was demonstrated through a lease, the Permittee must either submit documentation showing that it continues to have legal control or transfer control of the permitted system/project to the new landowner or new lessee. All transfers of ownership are subject to the requirements of Rule 40D-1.6105, F.A.C. Alternatively, the Permittee may surrender the WUP to the District, thereby relinquishing the right to conduct any activities under the permit.

(p) All permits are contingent upon continued ownership or legal control of all property on which pumps, wells, diversions or other water withdrawal facilities are located.

(q) Within the Southern Water Use Caution Area, if the District determines that significant water quantity or quality changes, impacts to existing legal uses, or adverse environmental impacts are occurring, the District, upon reasonable notice to the permittee, including a statement of facts upon which the District based its determination, may reconsider the quantities permitted or other conditions of the permit as appropriate to address the change or impact, but only after an opportunity for the permittee to resolve or mitigate the change or impact or to request a hearing.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.079(4)(a), 373.083(5), 373.219, 373.223, 373.244 FS. History–New 6-7-78, Amended 9-9-80, 10-21-80, Formerly 16J-2.112, Amended 10-1-89, 2-10-93, 5-2-93, 4-14-02, 1-1-03, 10-19-05, 7-20-08, 11-2-09, 6-16-11, 5-19-14.

## 40D-2.401 Identification Tags.

(1) When an individual WUP is issued, the Governing Board will issue a permanent tag bearing a use identification number for each withdrawal facility that is required by the District to be metered or for which withdrawal quantities are required to be reported to the District, which tag shall be prominently displayed at the site of withdrawal by permanently affixing such tag to the pump, headgate, valve, or other withdrawal facility. If the WUP covers several facilities such as a well field, a tag will be issued for each facility.

(2) Failure to display a permit tag as prescribed herein shall constitute a violation of these rules and may be grounds for suspension or revocation of the permit. The permittee shall be allowed 10 days after notice to obtain a replacement tag. Upon failure of the permittee to display such tag within 10 days, the Governing Board may cause the replacement of such tag and charge the permittee One hundred dollars ($100) for such service.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.219, 373.223, 373.224, 373.226 FS. History–New 10-5-74, Formerly 16J-2.05, Amended 10-1-89, 7-20-08, 5-19-14.

40D-2.441 Temporary Permits.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171 FS. Law Implemented 373.229, 373.244 FS. History–New 11-6-79, Formerly 16J-2.25, Amended 10-1-89, Repealed 3-30-93.

## 40D-2.501 Permit Use Types.

Each individual WUP shall authorize water use for as many of the following use types as are applicable, and shall be classified according to the use type for which the greatest use of quantities are authorized. Permit use types are as follows:

(1) Public Supply Use,

(2) Landscape/Recreation Use,

(3) Agricultural,

(4) Industrial/Commercial,

(5) Mining/Dewatering Use,

(6) Other Use, and

(7) Institutional Use.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.216, 373.219, 373.246 FS. History–New 10-5-74, Amended 12-31-74, Formerly 16J-2.16, Amended 11-4-84, 10-1-89, 1-1-03, 12-30-08, 5-19-14.

## 40D-2.511 Declaration of Water Shortage.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.246 FS. History–New 10-5-74, Formerly 16J-2.20, 16J-2.21, Amended 11-4-84, Repealed by Section 3, Chapter 2012-31, Laws of Florida, 5-27-12.

40D-2.521 Change, Suspension or Restriction of Permits During Water Shortage.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.246 FS. History–New 10-5-74, Amended 10-24-76, Formerly 16J-2.23, Amended 11-4-84, Repealed 10-1-89.

40D-2.531 Procedures Under Water Shortage.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.246 FS. History–New 10-5-74, Formerly 16J-2.22, Amended 11-4-84, Repealed 10-1-89.

40D-2.541 Declaration of Emergency Due to Water Shortage.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.246 FS. History–New 10-5-74, Formerly 16J-2.24, Amended 11-4-84, Repealed 10-1-89.

## 40D-2.621 Water-Conserving Credits.

(1) Permittees with an individual WUP authorizing a water withdrawal within the SWUCA for irrigation may earn Water-Conserving Credits to withdraw additional quantities of ground water for use at the site at which they were earned and for the source for which they were earned. Water-Conserving Credits are earned if less than the allowable amount of groundwater is applied to actual planted acreage as set forth in the WUP Applicant’s Handbook Part B Chapter 3,

(2) Withdrawals under the Water-Conserving Credits shall meet the Conditions for Issuance set forth in Rule 40D-2.301, F.A.C.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.171, 373.216, 373.219, 373.223, 373.239 FS. History–New 1-1-03, Amended 1-1-07, 12-30-08, 5-19-14.

## 40D-2.801 Water Use Caution Areas.

(1) When the Governing Board determines that regional action is necessary to address cumulative water withdrawals that are causing or may cause adverse impacts to the water and related natural resources or the public interest, it shall declare, delineate, or modify Water Use Caution Areas (WUCAs). The Governing Board shall declare a WUCA by adopting a rule or issuing an order imposing special requirements for existing water users and permit applicants to prevent or remedy impacts to water and related natural resources or the public interest.

(2) In determining whether an area should be declared a WUCA, the Governing Board shall consider the following factors:

(a) The quantity of water available for use from groundwater sources, surface water sources, or both.

(b) The quality of water available for use from groundwater sources, surface water sources, or both, including impacts such as saline water intrusion, mineralized water upconing, or pollution.

(c) Environmental systems, such as wetlands, lakes, streams, estuaries, fish and wildlife, or other natural resources.

(d) Lake stages or surface water rates of flow.

(e) Offsite land uses.

(f) Other resources as deemed appropriate by the Governing Board.

(3) The regions described in this rule have been declared WUCAs by the District Governing Board. This rule reaffirms the declaration of WUCAs and creates conditions to be applied to water users in those areas.

(a) Northern Tampa Bay Water Use Caution Area.

To address groundwater withdrawals that have resulted in lowering of lake levels, destruction or deterioration of wetlands, reduction in streamflow and salt water intrusion, the Governing Board declared portions of northern Hillsborough County, southwestern Pasco County and all of Pinellas County a WUCA on June 28, 1989, pursuant to Resolution Number 934. The Governing Board approved expansion of the boundaries of the WUCA in June 2007.

1. The boundary for the Northern Tampa Bay Water Use Caution Area is as follows:

All of Pinellas County;

All of Pasco County; and

That portion of Hillsborough County within the following sections; (all Townships are South; all Ranges are East);

Township 27, Range 17: All Sections;

Township 27, Range 18: All Sections;

Township 27, Range 19: All Sections;

Township 27, Range 20: All Sections;

Township 27, Range 21: All Sections;

Township 27, Range 22: All Sections;

Township 28, Range 17: All Sections;

Township 28, Range 18: All Sections;

Township 28, Range 19: All Sections;

Township 28, Range 20: All Sections;

Township 28, Range 21: All Sections;

Township 28, Range 22: All Sections;

Township 29, Range 17: All Sections;

Township 29, Range 18: All Sections;

Township 30, Range 17: All Sections;

Township 30, Range 18: All Sections;

Township 30, Range 19: Section 5 West of the Hillsborough Bay Westerly Shoreline;

Township 30, Range 19: Section 6:

Township 29, Range 22: All Sections North of State Road 60;

Township 29, Range 21: All Sections North of State Road 60;

Township 29, Range 20: All Sections North of State Road 60;

Township 29, Range 19: Sections 1 through 20, 30 and 31, Section 21 West of the Hillsborough Bay Westerly Shoreline, Section 24 North of State Road 60, Section 29 West of the Hillsborough Bay Westerly Shoreline and Section 32 West of the Hillsborough Bay Westerly Shoreline.

2. Regulations specifically applicable to this WUCA are set forth in the WUP Applicant’s Handbook Part B Section 3.9.3 and are in addition to all other regulations set forth in Chapter 40D-2, F.A.C., and the WUP Applicant’s Handbook Parts B and D.

3. All WUPs within the WUCA are hereby modified to conform with this Rule, and applicable permit conditions specified in Section 7.3, of the WUP Basis of Review, incorporated by reference in Rule 40D-2.091, F.A.C., are incorporated into all WUPs within the WUCA.

4. The Northern Tampa Bay Water Use Caution Area is a water resource caution area for purposes of Chapter 403, F.S. and Chapter 62-40, F.A.C.

(b) Southern Water Use Caution Area (SWUCA). To address lowered lake levels, stream flows and ground water levels, water quality degradation and adverse impacts to water users, the Governing Board declared all or portions of Manatee, Sarasota, DeSoto, Hardee, Charlotte, Highlands, Hillsborough and Polk Counties within the District’s boundaries a WUCA on October 26, 1992, pursuant to Resolution Number 92-10.

1. As shown in Figure 2-1, the boundary for the Southern Water Use Caution Area is as follows:

All of Manatee, Sarasota, Charlotte, Hardee, DeSoto, and Highlands Counties within the boundaries of the Southwest Florida Water Management District, and that portion of Hillsborough County within the following sections (all Townships are South; all Ranges are East):

Township 29, Range 19: Section 21 East of the Hillsborough Bay Easterly Shoreline, Sections 22 and 23, Section 24 South of State Road 60, Sections 25 through 28, Section 29 East of the Hillsborough Bay Easterly Shoreline, Section 32 East of the Hillsborough Bay Easterly Shoreline and Sections 33 through 36;

Township 29, Range 20: All whole or partial Sections South of State Road 60;

Township 29, Range 21: All whole or partial Sections South of State Road 60;

Township 29, Range 22: All whole or partial Sections South of State Road 60;

Township 30, Range 19: Sections 1 through 4, Section 5 East of the Hillsborough Bay Easterly Shoreline and Section 7 through 36;

Township 30, Range 20: All Sections;

Township 30, Range 21: All Sections;

Township 30, Range 22: All Sections;

Township 31, Range 18: All Sections;

Township 31, Range 19: All Sections;

Township 31, Range 20: All Sections;

Township 31, Range 21: All Sections;

Township 31, Range 22: All Sections;

Township 32, Range 17: Section 36;

Township 32, Range 18: All Sections;

Township 32, Range 19: All Sections;

Township 32, Range 20: All Sections;

Township 32, Range 21: All Sections;

Township 32, Range 22: All Sections;

Township 33, Range 15: All Sections;

Township 33, Range 16: All Sections;

and that portion of Polk County within the Southwest Florida Water Management District and within the following sections:

Township 26, Range 25: Section 36 South of Interstate 4;

Township 26, Range 26: All whole or partial Sections 28, 29, 31 and 32 South of Interstate 4, and All of Section 33;

Township 27, Range 23: All whole or partial Sections South of Interstate 4;

Township 27, Range 24: All whole or partial Sections South of Interstate 4;

Township 27, Range 25: All whole or partial Sections South of Interstate 4;

Township 27, Range 26: Sections 4 through 9, Sections 16 through 21, Sections 28 through 36, and Partial Sections 25 through 27 South of State Road 600 (US Route 17/92);

Township 27, Range 27: Sections 25 through 28, Partial Sections 29 and 30 South of State Road 600 (US Route 17/92), and Sections 31 through 36;

Township 28, Range 23: All Sections;

Township 28, Range 24: All Sections;

Township 28, Range 25: All Sections;

Township 28, Range 26: All Sections;

Township 28, Range 27: All Sections;

Township 28, Range 28: All Sections;

Township 29, Range 23: All Sections;

Township 29, Range 24: All Sections;

Township 29, Range 25: All Sections;

Township 29, Range 26: All Sections;

Township 29, Range 27: All Sections;

Township 29, Range 28: All Sections;

Township 29, Range 29: Sections 19, 30, 31;

Township 30, Range 23: All Sections;

Township 30, Range 24: All Sections;

Township 30, Range 25: All Sections;

Township 30, Range 26: All Sections;

Township 30, Range 27: All Sections;

Township 30, Range 28: All Sections;

Township 30, Range 29: Sections 5, 6, 7, 8, 18, 19, 30, 31;

Township 31, Range 23: All Sections;

Township 31, Range 24: All Sections;

Township 31, Range 25: All Sections;

Township 31, Range 26: All Sections;

Township 31, Range 27: All Sections;

Township 31, Range 28: All Sections;

Township 31, Range 29: Section 6;

Township 32, Range 23: All Sections;

Township 32, Range 24: All Sections;

Township 32, Range 25: All Sections;

Township 32, Range 26: All Sections;

Township 32, Range 27: All Sections;

Township 32, Range 28: All Sections;

2. As shown in Figure 2-1, the area for the MIA of the Southern Water Use Caution Area is as follows:

Township 30, Range 19, Sections 2 through 36;

Township 30, Range 20, Sections 17 through 22; and 27 through 36;

Township 31, Range 18, All Sections;

Township 31, Range 19, All Sections;

Township 31, Range 20, All Sections;

Township 31, Range 21, Sections 6 through 8; 17 through 20; and 29 through 32;

Township 32, Range 17: Section 36;

Township 32, Range 18, All Sections;

Township 32, Range 19, All Sections;

Township 32, Range 20, All Sections;

Township 32, Range 21, Sections 5 through 7;

Township 33, Range 17, All Sections;

Township 33, Range 18, All Sections;

Township 33, Range 19, All Sections;

Township 33, Range 20, All Sections;

Township 33, Range 21, Sections 19, 30, 31;

Township 34, Range 15: All Sections;

Township 34, Range 16, All Sections;

Township 34, Range 17, All Sections;

Township 34, Range 18, All Sections;

Township 34, Range 19, All Sections;

Township 34, Range 20, All Sections;

Township 34, Range 21, Sections 6 through 8; 17 through 20; and 29 through 32;

Township 35, Range 16, All sections;

Township 35, Range 17, All Sections;

Township 35, Range 18, All Sections;

Township 35, Range 19, All Sections;

Township 35, Range 20, All Sections;

Township 35, Range 21, Sections 5 through 8; 17 through 20; and 30;

Township 36, Range 17, All Sections;

Township 36, Range 18, All Sections;

Township 36, Range 19, Sections 1 through 24; and 27 through 32;

Township 36, Range 20, Sections 2 through 10; and 17 and 18;

Township 37, Range 17, Sections 1 through 18;

Township 37, Range 18, Sections 1 through 10; and 17 and 18.

3. The Ridge Lakes are those lakes located anywhere within Highlands County and Polk County within the boundaries of the Southwest Florida Water Management District within the following Sections:

All of Highlands County within the boundaries of the Southwest Florida Water Management District, and that portion of Polk County within the Southwest Florida Water Management District and within the following sections (all Townships are South; all Ranges are East):

Township 26, Range 25: Partial Section 36 South of Interstate 4;

Township 26, Range 26: Partial Sections 28, 29, 31, and 32 South of Interstate 4 and whole Section 33;

Township 27, Range 25: Partial Sections 1, 2, 7, and 8 South of Interstate 4 and whole Sections 9 through 29, and 32 through 36;

Township 27, Range 26: Sections 4 through 9, 16 through 21, and 25 through 36;

Township 27, Range 27: Sections 25 through 36;

Township 27, Range 28: Section 31;

Township 28, Range 25: Sections 1 through 4, 9 through 15, 22 through 26, 35 through 36;

Township 28, Range 26: All Sections;

Township 28, Range 27: All Sections;

Township 28, Range 28: Sections 6 through 7, 17 through 22, 27 through 32, and Section 34;

Township 29, Range 25: Sections 1, 2, and 11 through 14;

Township 29, Range 26: Sections 1 through 18, and 23 through 24;

Township 29, Range 27: All Sections;

Township 29, Range 28: Sections 6 though 7, and 18 through 36;

Township 29, Range 29: Sections 19, 30, 31;

Township 30, Range 27: All Sections;

Township 30, Range 28: All Sections;

Township 30, Range 29: Sections 5 through 8, 18, 19, 30, 31;

Township 31, Range 27: All Sections;

Township 31, Range 28: All Sections;

Township 31, Range 29: Section 6;

Township 32, Range 27: All Sections;

Township 32, Range 28: All Sections.

4. Regulations applicable to this WUCA are specified in this Chapter and in the WUP Applicant’s Handbook Part B Section 3.9.2, and are in addition to all other regulations set forth in Chapter 40D-2, F.A.C., and the WUP Applicant’s Handbook Parts B and D. Those amendments and regulations relating to SWUCA effective on January 1, 2003, and January 1, 2007, are not intended to affect, and shall not be construed to affect, any WUP that does not have a withdrawal point within the SWUCA.

5. Any permit with a withdrawal point located within the boundaries of the SWUCA is deemed to be within the SWUCA. Permits with permitted withdrawals in more than one (1) WUCA shall be subject to the conservation and reporting requirements of the WUCA within which the majority of permitted quantities are withdrawn, or projected to be withdrawn, in addition to all other rule criteria, including MFL requirements, as set forth in Chapter 40D-2, F.A.C., and the WUP Applicant’s Handbook Part B.

6. All WUPs with withdrawal points within the SWUCA are hereby modified to conform with this paragraph 40D-2.801(3)(b), F.A.C., except as provided in subparagraph 5., above, and the applicable SWUCA criteria specified in the WUP Applicant’s Handbook Part B, are incorporated into all such WUPs.

7. The SWUCA is a water resource caution area for purposes of Chapter 403, F.S., and Chapter 62-40, F.A.C.

(c) Dover/Plant City Water Use Caution Area. To address adverse impacts to water users and offsite land uses due to groundwater withdrawals during frost/freeze events, the Governing Board has established portions of Hillsborough and Polk Counties as a WUCA effective as of 6-16-11.

Figure 2-1

Figure 2-2

1. As shown in Figure 2-3, the boundary for the Dover/Plant City WUCA is as follows:

The portions of Hillsborough and Polk Counties within the following sections (all Townships are South; all Ranges are East):

Township 27, Range 20: Sections 25, 26, 35 and 36;

Township 27, Range 21: Sections 25 through 36;

Township 27, Range 22: Sections 25 through 36;

Township 27, Range 23: Sections 29 through 32;

Township 28, Range 20: Sections 1, 2, 11 through 14, 23 through 26, 35 and 36;

Township 28, Range 21: All Sections;

Township 28, Range 22: All Sections;

Township 28, Range 23: Sections 5 through 8, 17 through 20, and 29 through 32;

Township 29, Range 20: Sections 1, 2, 11 through 14, 23 through 26, 35 and 36;

Township 29, Range 21: All Sections;

Township 29, Range 22: All Sections;

Township 29, Range 23: Sections 5 through 8, 17 through 20, and 29 through 32;

Township 30, Range 20: Sections 1, 2, 11 and 12;

Township 30, Range 21: Sections 1 through 12;

Township 30, Range 22: Sections 1 through 12;

Township 30, Range 23: Sections 5 through 8.

2. Regulations applicable to this WUCA are specified in this chapter and in the WUP Applicant’s Handbook Part B Section 3.9.4, and are in addition to all other regulations set forth in Chapter 40D-2, F.A.C., and the WUP Applicant’s Handbook Parts B and D.

3. The permitting criteria and conditions set forth in Chapter 40D-2, F.A.C., the WUP Applicant’s Handbook Part B, and subsection 40D-8.626(3), F.A.C. shall apply, as specified therein, to the following existing, new, renewal and modification applications for:

a. Frost/freeze quantities to be withdrawn from groundwater when at least one withdrawal point is within the Dover/Plant City WUCA.

b. Quantities of 100,000 gpd annual average or greater from groundwater when at least one withdrawal point is within the Dover/Plant City WUCA.

c. A permit with at least one withdrawal point within the Dover/Plant City WUCA for groundwater quantities to provide frost/freeze quantities authorized to be used or withdrawn from any combination of sources that if withdrawn from groundwater alone would have the potential to impact the Minimum Aquifer Level Protection Zone established for the Dover/Plant City WUCA.

d. A permit with at least one withdrawal point within the Dover/Plant City WUCA for groundwater quantities to provide supplemental irrigation for a use that typically requires frost/freeze protection and where such protection could be achieved through groundwater withdrawals but alternative protection methods are proposed.

4. Any permit with a withdrawal point located within the boundaries of the Dover/Plant City WUCA is deemed to be within the Dover/Plant City WUCA. Permits with permitted withdrawals in more than one WUCA shall be subject to the conservation and reporting requirements, if any, of the WUCA within which the majority of permitted quantities are withdrawn, or projected to be withdrawn, in addition to all other rule criteria, including MFL requirements, as set forth in Chapter 40D-2, F.A.C., and the WUP Applicant’s Handbook Part B. However, the Dover/Plant City WUCA provisions shall supersede any other rule criteria that creates conflicting or more stringent requirements.

5. All water use permits with withdrawal points within the Dover/Plant City WUCA are hereby modified to conform with the provisions of paragraph 40D-2.801(3)(c), F.A.C., except as provided in subparagraph 40D-2.801(3)(c)4., F.A.C., above, and the applicable Dover/Plant City WUCA criteria specified in the WUP Applicant’s Handbook Part B, are incorporated into all such WUPs.

6. The Dover/Plant City WUCA is a water resource caution area for purposes of Chapter 403, F.S., and Chapter 62-40, F.A.C.

Figure 2-3 Dover/Plant City Water Use Caution Area

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.042, 373.0421, 373.171, 373.216, 373.219, 373.223 FS. History–New 10-5-74, Formerly 16J-3.30, Amended 10-1-89, 11-15-90, 3-1-91, 7-29-93, 1-1-03, 1-1-07, 10-1-07, 2-13-08, 4-7-08, 5-26-10, 6-16-11, 10-14-12, 5-19-14, 11-24-21, 2-17-22.